## 2019-2020 Parameters
2019-2020 RPM Base Residual Auction Planning Parameters | [5 empty] | 2016-06-07
Updated on 6/7/2016 to add Post Clearing BRA Credit Rates. **
Doc#7333988 | RTO | Notes:
Installed Reserve Margin (IRM) | 16.5% | 2015 IRM Study
Pool-Wide Average EFORd | 6.6% | 2015 IRM Study
Forecast Pool Requirement (FPR) | 1.0881 | 2015 IRM Study
Preliminary Forecast Peak Load | 157188.5 | Load data: from 2016 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | -6930 | 1580 | 3920 | 5590 | 2280 | 1230 | 2870 | 4490 | 3390 | 610 | 4060 | -170
CETL | NA | 7385 | 8856 | 9400 | 7856 | 3827 | 1898 | 6985 | 9212 | 5501 | 5160 | 6234.7 | 6168
Reliability Requirement | 171036.8 | 67662 | 37633 | 15883 | 12174 | 6375 | 3060 | 8074 | 15742 | 5979 | 26509 | 8401 | 10565
Total Peak Load of FRR Entities | 12815.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 13944.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 157092.4 | 67662 | 37633 | 15883 | 12174 | 6375 | 3060 | 8074 | 15742 | 5979 | 26509 | 8401 | 10565
Net CONE, $/MW-Day (UCAP Price) | 299.3 | 262.02 | 283.63 | 229.93 | 303.3 | 303.3 | 262.27 | 244.23 | 264.06 | 264.06 | 328.44 | 215.62 | 277.74
EE Addback (ICAP), MW | 1738.3 | 609.6 | 204.7 | 307.6 | 46.8 | 9.2 | 1.2 | 121.5 | 49.5 | 0.5 | 666.4 | 186.1 | 56.6
EE Addback (UCAP), MW | 1891.4 | 663.3 | 222.7 | 334.7 | 50.9 | 10 | 1.3 | 132.2 | 53.9 | 0.5 | 725.1 | 202.5 | 61.6
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 448.95 | 393.03 | 425.45 | 392.87 | 454.95 | 454.95 | 393.41 | 392.87 | 396.09 | 396.09 | 492.66 | 392.87 | 416.61
Point (b) UCAP Price, $/MW-Day | 224.48 | 196.52 | 212.72 | 172.45 | 227.48 | 227.48 | 196.7 | 183.17 | 198.05 | 198.05 | 246.33 | 161.72 | 208.31
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 158714.1 | 68209.1 | 37791.1 | 16190.4 | 12204 | 6374.1 | 3056 | 8192.3 | 15768.9 | 5969.2 | 27188.6 | 8589.1 | 10608.5
Point (b) UCAP Level, MW | 162894.3 | 70009.6 | 38792.5 | 16613.1 | 12527.9 | 6543.7 | 3137.5 | 8407.2 | 16187.8 | 6128.3 | 27894 | 8812.6 | 10889.6
Point (c) UCAP Level, MW | 170850 | 73436.2 | 40698.4 | 17417.4 | 13144.5 | 6866.5 | 3292.4 | 8816.1 | 16985 | 6431.1 | 29236.5 | 9238.1 | 11424.6
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | 65.7 | NA
Post-Clearing BRA Credit Rate (LMT), $/MW
Post-Clearing BRA Credit Rate (ES), $/MW
Post-Clearing BRA Credit Rate (ANL), $/MW
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97% | 85.3% | 45.3% | 40.2% | NA | NA | NA | 47.6% | NA | 89.8% | NA | NA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2015 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load
RTO | NA | NA | NA | 150518.2 | 157188.5 | NA | 12815.4 | 144373.1
AE | 520 | >598 | > 115% | 2450 | 2445 | 0.99796 | 0 | 2445
AEP | 740 | >851 | > 115% | 22290 | 22901 | 1.0274 | 11947.5 | 10953.5
APS | 2680 | >3082 | > 115% | 8350 | 8891 | 1.0648 | 0 | 8891
ATSI | 4490 | 9212 | 205.2% | 12640 | 12617 | 0.99818 | 0 | 12617
ATSI-CLEVELAND | 3390 | 5501 | 162.3% | NA | 4221.6 | NA | 0 | 4221.6
BGE | 4060 | 6234.7 | 153.6% | 6490 | 6758 | 1.0413 | 0 | 6758
COMED | 610 | 5160 | 845.9% | 20900 | 21855 | 1.0457 | 0 | 21855
DAYTON | 1290 | >1484 | > 115% | 3170 | 3344 | 1.0549 | 0 | 3344
DEOK | 3540 | >4071 | > 115% | 5080 | 5374 | 1.0579 | 848.5 | 4525.5
DLCO | 1630 | >1875 | > 115% | 2780 | 2827 | 1.0169 | 0 | 2827
DOM | -2360 | * | * | 18350 | 20104 | 1.0956 | 0 | 20104
DPL | 960 | >1104 | > 115% | 3750 | 3916 | 1.0443 | 0 | 3916
DPL SOUTH | 1230 | 1898 | 154.3% | NA | 2279.5 | NA | 0 | 2279.5
EKPC | 750 | >863 | > 115% | 2053.2 | 2138.5 | 1.0415 | 19.4 | 2119.1
JCPL | 2670 | >3071 | > 115% | 5740 | 5891 | 1.0263 | 0 | 5891
METED | 1220 | >1403 | > 115% | 2800 | 2937 | 1.0489 | 0 | 2937
PECO | 2780 | >3197 | > 115% | 8060 | 8497 | 1.0542 | 0 | 8497
PENLC | 140 | >161 | > 115% | 2870 | 2779 | 0.96829 | 0 | 2779
PEPCO | 2870 | 6985 | 243.4% | 5910 | 6387 | 1.0807 | 0 | 6387
PL (incl. UGI) | -170 | 6168 | * | 6960 | 7266 | 1.044 | 0 | 7266
PS | 5590 | 7856 | 140.5% | 9490 | 9868 | 1.0398 | 0 | 9868
PS NORTH | 2280 | 3827 | 167.9% | NA | 4921.2 | NA | 0 | 4921.2
RECO | NA | NA | NA | 385 | 393 | 1.0208 | 0 | 393
EMAAC | 1580 | 8856 | 560.5% | NA | 31010 | NA | 0
SWMAAC | 3920 | 9400 | 239.8% | NA | 13145 | NA | 0
Western MAAC | -8310 | * | * | NA | 12982 | NA | 0
MAAC | -6930 | 7385 | * | NA | 57137 | NA | 0
Western PJM | 2050 | >2358 | > 115% | NA | 79947.5 | NA | 12815.4
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal/ Keeney - Rock Springs 500 kV line
EMAAC | Thermal/ Keeney - Rock Springs 500 kV line
SWMAAC | Voltage/ Voltage Collapse
PS | Thermal/ Roseland - Williams Pipeline 230 kV
PSNORTH | Thermal/ Roseland - Williams Pipeline 230 kV
DPLSOUTH | Thermal/ Red Lion - Cedar Creek 230 kV line
PEPCO | Voltage/ Voltage Collapse
ATSI | Thermal/ South Canton - Harmon 345 kV line
ATSI-CLEVELAND | Thermal/ Black River-US Steel 138 kV line
COMED | Voltage/ Voltage Collapse
BGE | Thermal / Pumphrey 230/115 kV transformer
PL | Thermal / Wescoville 500/138 kV transformer
** Initial Planning Parameters posted on 2/1/2016. Updated on 4/15/2016 to reflect FRR elections and inclusion of 65.7 MW BGE LDA ICTRs.
Updated on 5/9/2016 to reflect adjustments for (1) total quantity of EE Resources for which PJM accepted an EE M&V Plan submitted for the auction, and (2) final value of approved CIL exceptions and confirmed NEDTS.

## Net CONE
RPM CONE and E&AS Values for 2019/2020 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price / (1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2018/2019 |  |  |  | 6.6%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Dominion, Duquesne (DLCo), EKPC
CONE Area 4: MetEd, Penelec, PPL
Zone/LDA | 2018/2019 BRA CONE: Levelized Revenue Requirement, $/MW-Year | BLS Composite Index: 2014/2013 Escalation | 2019/2020 BRA CONE: Levelized Revenue Requirement, $/MW-Year | Gross CONE, $/MW-Day, UCAP Price | Historic (2013-2015) Net Energy Revenue Offset, $/MW-Year | Ancillary Services Offset, $/MW-Year per Tariff | Net CONE, $/MW-Day, ICAP Price | Net CONE, $/MW-Day, UCAP Price | VRR Curve Point (a) UCAP Price, $/MW-Day * | LDA Modeled with VRR Curve
CONE Area 1 | 132200 | 1.0086 | 133332.1198 | 390.04
AE |  |  |  | 390.04 | 28735 | 2199 | 279.7763 | 299.55
DPL |  |  |  | 390.04 | 41479 | 2199 | 244.9566 | 262.27 | 393.41 | DPL SOUTH
JCPL |  |  |  | 390.04 | 41454 | 2199 | 245.0249 | 262.34
PE |  |  |  | 390.04 | 36208 | 2199 | 259.3583 | 277.69
PSEG |  |  |  | 390.04 | 27453 | 2199 | 283.279 | 303.3 | 454.95 | PS, PSEG NORTH
RECO |  |  |  | 390.04 | 29730 | 2199 | 277.0577 | 296.64
EMAAC | [6 empty] | 264.91 | 283.63 | 425.45 | EMAAC
CONE Area 2 | 130300 | 1.0307 | 134299.0885 | 392.87
BGE |  |  |  | 392.87 | 58390 | 2199 | 201.3937 | 215.62 | 392.87 | BGE
PEPCO |  |  |  | 392.87 | 48611 | 2199 | 228.1123 | 244.23 | 392.87 | PEPCO
SWMAAC | [6 empty] | 214.75 | 229.93 | 392.87 | SWMAAC
CONE Area 4 | 130300 | 1.0308 | 134310.9379 | 392.9
METED |  |  |  | 392.9 | 36923 | 2199 | 260.0791 | 278.46
PENELEC |  |  |  | 392.9 | 75902 | 2199 | 153.5791 | 164.43
PPL |  |  |  | 392.9 | 37169 | 2199 | 259.4069 | 277.74 | 416.61 | PPL
MAAC |  |  |  | 391.33 |  |  | 244.73 | 262.02 | 393.03 | MAAC
CONE Area 3 | 128900 | 1.0292 | 132664.7723 | 388.09
AEP |  |  |  |  | 33276 | 2199 | 265.5458 | 284.31
APS |  |  |  |  | 45011 | 2199 | 233.483 | 249.98
ATSI |  |  |  |  | 40200 | 2199 | 246.6278 | 264.06 | 396.09 | ATSI, ATSI CLEVELAND
COMED |  |  |  |  | 18189 | 2199 | 306.7671 | 328.44 | 492.66 | COMED
DAYTON |  |  |  |  | 35657 | 2199 | 259.0404 | 277.35
DEOK |  |  |  |  | 32209 | 2199 | 268.4611 | 287.43
DLCO |  |  |  |  | 32492 | 2199 | 267.6879 | 286.6
DOM |  |  |  |  | 28567 | 2199 | 278.4119 | 298.09
EKPC |  |  |  |  | 37658 | 2199 | 253.5731 | 271.49
RTO | 130425 |  | 133651.7296 | 390.97 | 29138 | 2199 | 279.5484 | 299.3 | 448.95 | RTO
* VRR Curve Point (a) UCAP Price is the higher of 1.5 Net CONE or Gross CONE.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2019/2020 Model
Upgrade ID | Description | Transmission Owner
b2027.1 | Tidd - Collier (OP): SAG study mitigation work | AEP
b2027.2 | Tidd - Collier (WP): SAG study mitigation work | AEP
b2588 | Install a 36.6 MVAR 115 kV capacitor at North Bangor substation | ME
b2590 | Install two 75 MVAR 230 kV capacitors at Sewaren station | PSEG
b2634 | Convert Miami Fort 345 kV substation to a ring bus terminating Feeder 4504, TB 9 and TB10 in separate ring positions | DEOK
b2634.1 | Replace metering BCT on Tanners Creek CB T2 with a slip over CT with higher thermal rating in order to remove 1193 MVA limit on facility (Miami Fort-Tanners Creek 345 kV line) | AEP
b2644 | Install a 28.8 MVAR 115 kV capacitor at the Mountain substation | ME
b2687.1 | Install a +/- 450 MVAR SVC at Jacksons Ferry 765 kV substation | AEP
b2688.1 | Lincoln Substation: Upgrade the bus conductor and replace CTs. | ME
b2688.2 | Germantown Substation: Replace 138/115 kV transformer with a 135/180/224 MVA bank. Replace Lincoln 115 kV breaker, install new 138 kV breaker, upgrade bus conductor and adjust/replace CTs. | ME
b2690 | Reconductor two spans of the Graceton - Safe Harbor 230 kV transmission line. Incldues termination point upgrades | PPL
b2691 | Reconductor three spans limiting Brunner Island - Yorkana 230 kV line, add 2 breakers to Brunner Island switchyard, upgrade associated terminal equipment | PPL
b2692.1 | Replace station equipment at Nelson, ESS H-471 and Quad Cities | ComEd
b2692.2 | Upgrade conductor ratings of Cordova - Nelson, Quad Cities - ESS H-471 and ESS H-471 - Nelson 345 kV lines and mitigating sag limitations | ComEd
b2694 | Increase ratings of Peach Bottom 500/230 kV transformer to 1479 MVA normal/1839 MVA emergency | PECO
b2698 | Replace relays at AEP's Cloverdale and Jackson's Ferry substations to improve the thermal capacity of Cloverdale - Jackson's Ferry 765 kV line | AEP
b2721 | Goodings Grove – Balance Station Load (swap bus positions for 345 kV lines 1312 & 11620 and 345 kV lines 11604 & 11622) and replace 138 kV bus tie 2-3 | ComEd
b2728 | Mitigate sag limitations on Loretto - Wilton Center 345 kV Line and replace station conductor at Wilton Center | ComEd
s0855 | Rebuild AEP's portion (less than 2 miles) of Bunsonville - Eugene 345 kV tie line with Ameren | AEP
s0864 | Build approx. 6 miles of 2nd circuit on existing Alburtis-Breinigsville; Reconfigure Wescosville 500 kV station to double breaker arrangement; Install new Wescosville 230/138 kV transformer | PPL
s0880 | Reconductor 9.5 miles of 345 kV line 1311 from Goodings Grove to Crawford | ComEd
s0943 | Build new 20.2 mi. Brunner Island-Williams Grove 230 kV line: break existing 16 mi. Brunner Island-West Shore #1 line outside West Shore, extend 4.2 mi. to Williams Grove by rebuilding West Shore-Williams Grove 230 kV line as double circuit tower line | PPL
s0948.1 | Rebuild Hummelstown - Middletown Junction #1 230 kV line (7 mi) | PPL
s0948.2 | Rebuild Hummelstown - Steelton 230 kV line (6.8 mi) | PPL
s1006 | Perform a clearance study on the Marysville - Tangy 345 kV, Hyatt (Op) - Marysville 345 kV and Hyatt - Tangy 345 kV circuits | AEP
Key Transmission Upgrades included for 2018/2019 model but not included for 2019/2020 model
Upgrade ID | Description | Transmission Owner
None

## Base Capacity Constraints
2019/2020 Base Capacity Constraints
Forecast Pool Requirement | 1.0881
Pool-Wide Average EFORd for 2018/2019 including OMC outages | 6.6%
Locational Deliverability Area
Quantities are in Unforced Capacity Megawatts | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Preliminary Peak Load Forecast | 157188.5 | 57137 | 31010 | 13145 | 9868 | 4921.2 | 2279.5 | 6387 | 12617 | 4221.6 | 21855 | 6758 | 7266
FRR Peak Load | 12815.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary Peak Load Forecast adjusted for FRR | 144373.1 | 57137 | 31010 | 13145 | 9868 | 4921.2 | 2279.5 | 6387 | 12617 | 4221.6 | 21855 | 6758 | 7266
EE Addback to Peak Load Forecast | 1738.3 | 609.6 | 204.7 | 307.6 | 46.8 | 9.2 | 1.2 | 121.5 | 49.5 | 0.5 | 666.4 | 186.1 | 56.6
Base Capacity DR Constraint
Percent of Preliminary Forecast Peak Load | 8.7% | 18.8% | 16.4% | 6.7% | 10.8% | 4.1% | 8.2% | 6.7% | 14.7% | 26.4% | 13.6% | 6.3% | 21.7%
Base Capacity DR Constraint as Unforced Capacity | 13831.5918 | 11812.8062 | 5570.2133 | 980.7309 | 1165.1357 | 219.9555 | 203.4936 | 474.4872 | 2026.0155 | 1212.8337 | 3332.7528 | 476.0201 | 1728.9955
Base Capacity Constraint
Percent of Preliminary Forecast Peak Load | 19.9% | 30.9% | 44.9% | 20.2% | 46.8% | 36.1% | 15.4% | 22.2% | 27.8% | 33.7% | 53.5% | 15.8% | 24.1%
Base Capacity Constraint as Unforced Capacity | 26998.6063 | 16614.7825 | 13041.068 | 2502.4657 | 4318.9209 | 1659.7111 | 327.9812 | 1333.1894 | 3283.9468 | 1328.926 | 11019.3399 | 1010.0488 | 1648.8973
DR Constraints for FRR Load (ICAP as % of peak load)
Base Capacity DR Constraint | 8.7% | 18.8% | 16.4% | 6.7% | 10.8% | 4.1% | 8.2% | 6.7% | 14.7% | 26.4% | 13.6% | 6.3% | 21.7%
Base Capacity Constraint | 19.9% | 30.9% | 44.9% | 20.2% | 46.8% | 36.1% | 15.4% | 22.2% | 27.8% | 33.7% | 53.5% | 15.8% | 24.1%

## Cap Import Limits
2019/2020 Capacity Import Limits in Megawatts
External Source Zone
| Simultaneous | North | West 1 | West 2 | South 1 | South 2
First Contingency Total Transfer Capability (FCTTC) | 8211 | 51 | 2639.9 | 4193.1 | 704 | 623
Capacity Benefit Margin (CBM) | 3500 | 21.7 | 1125.3 | 1787.3 | 300.1 | 265.6
Confirmed NEDTS * | 13017 | 788 | 3787 | 5424 | 2092 | 926
Approved CIL Exception Requests ** | 4973.3 | 0 | 1916 | 2139 | 482.3 | 436
Capacity Import Limit (CIL) for use in BRA *** | 0 | 29.3 | 0 | 266.8 | 0 | 0
Notes:
* Confirmed NEDTS are as of 5/4/2016.
** The quantities of approved CIL exception requests are as of 5/4/16.
*** In addition to ensuring that the CIL used in the auction plus the granted exceptions to not exceed the granted Network External Designated (NED) transmission service less the CBM, PJM is also ensuring that the CIL used in the auction plus the granted exceptions does not exceed the FCTTC less the CBM. Because the simultaneous limit is zero, no imports will be cleared in the auction other than those for which a CIL exception was granted.

## Credit Rate
2019-2020 Pre-Clearing BRA Credit Rates
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Net CONE, $/MW-Day (UCAP Price) | 299.3 | 262.02 | 283.63 | 229.93 | 303.3 | 303.3 | 262.27 | 244.23 | 264.06 | 264.06 | 328.44 | 215.62 | 277.74
Base Capacity DR/EE Resources Credit Rate, $/MW | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14
Base Capacity Resources Credit Rate, $/MW | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14 | 32863.14
Capacity Performance Resources Credit Rate, $/MW | 54771.9 | 47949.66 | 51904.29 | 42077.19 | 55503.9 | 55503.9 | 47995.41 | 44694.09 | 48322.98 | 48322.98 | 60104.52 | 39458.46 | 50826.42
2019-2020 Post-Clearing BRA Credit Rates
Pool-Wide Average EFORd | 6.6%
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Net CONE, $/MW-Day (UCAP Price) | 299.3 | 262.02 | 283.63 | 229.93 | 303.3 | 303.3 | 262.27 | 244.23 | 264.06 | 264.06 | 328.44 | 215.62 | 277.74
Base Capacity DR/EE Resources
Resource Clearing Price, $/MW-Day | 80 | 80 | 99.77 | 80 | 99.77 | 99.77 | 99.77 | 0.01 | 80 | 80 | 182.77 | 80.3 | 80
Post-Clearing Credit Rate, $/MW | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 13378.76 | 7320 | 7320
Base Capacity Resources
Resource Clearing Price, $/MW-Day | 80 | 80 | 99.77 | 80 | 99.77 | 99.77 | 99.77 | 80 | 80 | 80 | 182.77 | 80.3 | 80
Post-Clearing Credit Rate, $/MW | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 13378.76 | 7320 | 7320
Capacity Performance Resources
Resource Clearing Price, $/MW-Day | 100 | 100 | 119.77 | 100 | 119.77 | 119.77 | 119.77 | 100 | 100 | 100 | 202.77 | 100.3 | 100
Post-Clearing Credit Rate, $/MW | 54771.9 | 47949.66 | 51904.29 | 42077.19 | 55503.9 | 55503.9 | 47995.41 | 44694.09 | 48322.98 | 48322.98 | 60104.52 | 39458.46 | 50826.42