## PJM Buy Bids-Sell Offers
Configuration of 2nd Incremental Auction for 2019/2020 Delivery Year | [5 empty] | 2018-07-23
PJM Buy Bids & Sell Offers
#76452146
Price Points for PJM Buy Bids and PJM Sell Offers **
Location | Rest of LDA PJM Buy Bid (MW) * | Capacity Type | Point 1 x-axis (MW) | Point 1 y-axis ($/MW-Day) | Point 2 x-axis (MW) | Point 2 y-axis ($/MW-Day) | Point 3 x-axis (MW) | Point 3 y-axis ($/MW-Day)
RTO (Rest of) | -253.1929 | BaseGen | 0 | 20.74 | 253.1929 | 27.99 | -- | --
MAAC (Rest of) | -452 | BaseGen | 0 | 0 | 309.7 | 0 | 452 | 8.38
EMAAC (Rest of) | -682.2 | BaseGen | 0 | 0 | 175.9 | 0 | 682.2 | 57.97
SWMAAC (Rest of) | 0 | -- | -- | -- | -- | -- | -- | --
PS (Rest of) | -10 | BaseGen | 0 | 0 | 5.3 | 0 | 10 | 1.79
PS NORTH | -289.7 | BaseGen | 0 | 0 | 153.56 | 0 | 289.7 | 103.15
DPL SOUTH | -141 | BaseGen | 0 | 0 | 54.2 | 0 | 141 | 114.15
PEPCO | 0 | -- | -- | -- | -- | -- | -- | --
ATSI (Rest of) | 0 | -- | -- | -- | -- | -- | -- | --
ATSI-CLEVELAND | -14 | BaseGen | 0 | 63.74 | 14 | 72.97 | -- | --
COMED | -475 | BaseGen | 0 | 112.73 | 475 | 200.45 | -- | --
BGE | -33.9 | BaseGen | 0 | 3.31 | 33.9 | 16.66 | -- | --
PL | -124.7 | BaseGen | 0 | 43.28 | 124.7 | 92.39 | -- | --
TOTAL | -2475.6929
* A PJM Sell Offer is indicated by a negative PJM Buy Bid.
** The price of a PJM buy bid is based on the Updated VRR Curve Increment which is the portion of the Updated VRR Curve remaining beyond the point representing all capacity already procured in prior auctions for the Delivery Year. The price of a PJM Sell Offer is based on the Updated VRR Curve Decrement which is the portion of the Updated VRR Curve to the left of the point representing all capacity already procured in prior auctions for the Delivery Year.
Revision 1 (7/2/2018) - Updated Capacity Import Limits.
Revision 2 (7/23/2018) - Added post-clearing credit rates.

## 2nd IA Configuration
2019-2020 2nd Incremental Auction Configuration
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C | COMED | BGE | PL
2nd IA Reliability Requirement | 152919.8443 | 65146 | 36260 | 15436 | 11628 | 5858 | 2919 | 8184 | 15728 | 5864 | 26034 | 8016 | 10323
1st IA Reliability Requirement | 154613.0372 | 66350 | 37023 | 15548 | 11823 | 6043 | 3023 | 8046 | 15693 | 5870 | 26305 | 8154 | 10310
Change in Reliability Requirement (1) * | -1693.1929 | -1204 | -763 | -112 | -195 | -185 | -104 | 138 | 35 | -6 | -271 | -138 | 13
Change in CETL | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Import Limit Margin ** | NA | 455.4 | 0 | 2592.9 | 715.4 | 566.3 | 284.8 | 3857.7 | 3057.4 | 1416.4 | 425.3 | 108.9 | 4904
Uncleared PJM Buy Bids from 1st IA (2) | -782.5 | -529.5 | -359.9 | -31.9 | -104.7 | -104.7 | -37 | -28 | -49 | -49 | -204 | -3.9 | -137.7
Additional Buy Bids ** (3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net of (1), (2), and (3) | -2475.6929 | -1733.5 | -1122.9 | -143.9 | -299.7 | -289.7 | -141 | 110 | -14 | -55 | -475 | -141.9 | -124.7
PJM Buy Bid Quantity *** | -2475.6929 | -1733.5 | -1122.9 | -33.9 | -299.7 | -289.7 | -141 | 0 | -14 | -14 | -475 | -33.9 | -124.7
Rest of LDA PJM Buy Bid Quantity | -253.1929 | -452 | -682.2 | 0 | -10 | -289.7 | -141 | 0 | 0 | -14 | -475 | -33.9 | -124.7
* As per Section 5.4.(c) of the PJM OATT, the reliability requirement for the RTO and each LDA will be updated since the change in reliability requirement for the RTO and each LDA or parent of the LDA exceeds the lesser of the 500 MW or 1% threshold.
** Capacity Import Limit Margin indicates the capacity import capability remaining into the LDA.
** Additional Buy Bids to account for election of Non-Viable MWs related to Prior CIL Exception External Resources which were deemed not Operationally Deliverable for the Delivery Year to be requested for 3rd Incremental Auction.
*** In determining the PJM sell offer quantity by location, the quantity determined in the row above has been adjusted in some cases for LDAs wholly located within a larger LDA to take into account impacts on the larger LDA. PEPCO Buy Bid of 110 MW is netted with SWMAAC Sell Offer 143.9 MW and BGE Sell Offer is adjusted down not to exceed SWMAAC Sell Offer of 33.9 MW.

## 2nd IA Parameters
2019-2020 RPM Second Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.9% | 2017 IRM Study
Pool-Wide Average EFORd | 5.99% | 2017 IRM Study
Forecast Pool Requirement (FPR) | 1.0896 | 2017 IRM Study
Preliminary Forecast Peak Load | 152760.7 | Load data: from 2018 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | -8510 | 2210 | 2780 | 5710 | 2460 | 1130 | 1500 | 4550 | 3500 | -640 | 4470 | -590
CETL | NA | 7385 | 8856 | 9400 | 7856 | 3827 | 1898 | 6985 | 9212 | 5501 | 5160 | 6234.7 | 6168
Reliability Requirement | 166448.1 | 65146 | 36260 | 15436 | 11628 | 5858 | 2919 | 8184 | 15728 | 5864 | 26034 | 8016 | 10323
Total Peak Load of FRR Entities | 12415.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Updated FRR Obligation | 13528.2557 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 152919.8443 | 65146 | 36260 | 15436 | 11628 | 5858 | 2919 | 8184 | 15728 | 5864 | 26034 | 8016 | 10323
Net CONE, $/MW-Day (UCAP Price) | 297.3579 | 260.3198 | 281.7896 | 228.4381 | 301.332 | 301.332 | 260.5682 | 242.6453 | 262.3466 | 262.3466 | 326.3089 | 214.2209 | 275.9378
EE Addback to Reliability Requirement (NA for this IA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 446.0369 | 390.4798 | 422.6894 | 390.3208 | 451.998 | 451.998 | 390.8573 | 390.3208 | 393.5199 | 393.5199 | 489.4633 | 390.3208 | 413.9068
Point (b) UCAP Price, $/MW-Day | 223.02 | 195.24 | 211.34 | 171.33 | 226 | 226 | 195.43 | 181.98 | 196.76 | 196.76 | 244.73 | 160.67 | 206.95
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 152656 | 65033.6 | 36197.4 | 15409.4 | 11607.9 | 5847.9 | 2914 | 8169.9 | 15700.9 | 5853.9 | 25989.1 | 8002.2 | 10305.2
Point (b) UCAP Level, MW | 156746.1 | 66776.1 | 37167.3 | 15822.2 | 11919 | 6004.6 | 2992 | 8388.8 | 16121.5 | 6010.7 | 26685.4 | 8216.6 | 10581.3
Point (c) UCAP Level, MW | 164530.7 | 70092.4 | 39013.1 | 16608 | 12510.9 | 6302.8 | 3140.6 | 8805.4 | 16922.2 | 6309.2 | 28010.7 | 8624.6 | 11106.8
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | 65.7 | NA
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## 1st IA Parameters
2019-2020 RPM First Incremental Auction Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 16.6% | 2016 IRM Study
Pool-Wide Average EFORd | 6.59% | 2016 IRM Study
Forecast Pool Requirement (FPR) | 1.0892 | 2016 IRM Study
Preliminary Forecast Peak Load | 154510 | Load data: from 2017 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | -9020 | 2600 | 2530 | 5790 | 2580 | 1230 | 1420 | 3870 | 3510 | 270 | 4180 | -750
CETL | NA | 7385 | 8856 | 9400 | 7856 | 3827 | 1898 | 6985 | 9212 | 5501 | 5160 | 6234.7 | 6168
Reliability Requirement | 168292.3 | 66350 | 37023 | 15548 | 11823 | 6043 | 3023 | 8046 | 15693 | 5870 | 26305 | 8154 | 10310
Total Peak Load of FRR Entities | 12559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Updated FRR Obligation | 13679.2628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 154613.0372 | 66350 | 37023 | 15548 | 11823 | 6043 | 3023 | 8046 | 15693 | 5870 | 26305 | 8154 | 10310
Net CONE, $/MW-Day (UCAP Price) | 299.268 | 261.9919 | 283.5996 | 229.9054 | 303.2675 | 303.2675 | 262.2419 | 244.2039 | 264.0317 | 264.0317 | 328.4048 | 215.5969 | 277.7103
EE Addback to Reliability Requirement (NA for this IA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 448.9019 | 392.9879 | 425.4045 | 392.8279 | 454.9013 | 454.9013 | 393.3679 | 392.8279 | 396.0476 | 396.0476 | 492.6073 | 392.8279 | 416.5654
Point (b) UCAP Price, $/MW-Day | 224.45 | 196.49 | 212.7 | 172.43 | 227.45 | 227.45 | 196.68 | 183.15 | 198.02 | 198.02 | 246.3 | 161.7 | 208.28
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 154347.8 | 66236.2 | 36959.5 | 15521.3 | 11802.7 | 6032.6 | 3017.8 | 8032.2 | 15666.1 | 5859.9 | 26259.9 | 8140 | 10292.3
Point (b) UCAP Level, MW | 158458.5 | 68000.2 | 37943.8 | 15934.7 | 12117.1 | 6193.3 | 3098.2 | 8246.1 | 16083.3 | 6016 | 26959.2 | 8356.8 | 10566.4
Point (c) UCAP Level, MW | 166281.9 | 71357.5 | 39817.2 | 16721.4 | 12715.3 | 6499.1 | 3251.2 | 8653.2 | 16877.4 | 6313 | 28290.3 | 8769.4 | 11088.1
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | 65.7 | NA
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA

## BRA Parameters
2019-2020 RPM Base Residual Auction Planning Parameters | [5 empty] | 2016-06-07
Updated on 6/7/2016 to add Post Clearing BRA Credit Rates. **
Doc#7333988 | RTO | Notes:
Installed Reserve Margin (IRM) | 16.5% | 2015 IRM Study
Pool-Wide Average EFORd | 6.6% | 2015 IRM Study
Forecast Pool Requirement (FPR) | 1.0881 | 2015 IRM Study
Preliminary Forecast Peak Load | 157188.5 | Load data: from 2016 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | -6930 | 1580 | 3920 | 5590 | 2280 | 1230 | 2870 | 4490 | 3390 | 610 | 4060 | -170
CETL | NA | 7385 | 8856 | 9400 | 7856 | 3827 | 1898 | 6985 | 9212 | 5501 | 5160 | 6234.7 | 6168
Reliability Requirement | 171036.8 | 67662 | 37633 | 15883 | 12174 | 6375 | 3060 | 8074 | 15742 | 5979 | 26509 | 8401 | 10565
Total Peak Load of FRR Entities | 12815.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 13944.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 157092.4 | 67662 | 37633 | 15883 | 12174 | 6375 | 3060 | 8074 | 15742 | 5979 | 26509 | 8401 | 10565
Net CONE, $/MW-Day (UCAP Price) | 299.3 | 262.02 | 283.63 | 229.93 | 303.3 | 303.3 | 262.27 | 244.23 | 264.06 | 264.06 | 328.44 | 215.62 | 277.74
EE Addback (ICAP), MW | 1738.3 | 609.6 | 204.7 | 307.6 | 46.8 | 9.2 | 1.2 | 121.5 | 49.5 | 0.5 | 666.4 | 186.1 | 56.6
EE Addback (UCAP), MW | 1891.4 | 663.3 | 222.7 | 334.7 | 50.9 | 10 | 1.3 | 132.2 | 53.9 | 0.5 | 725.1 | 202.5 | 61.6
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 448.95 | 393.03 | 425.45 | 392.87 | 454.95 | 454.95 | 393.41 | 392.87 | 396.09 | 396.09 | 492.66 | 392.87 | 416.61
Point (b) UCAP Price, $/MW-Day | 224.48 | 196.52 | 212.72 | 172.45 | 227.48 | 227.48 | 196.7 | 183.17 | 198.05 | 198.05 | 246.33 | 161.72 | 208.31
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 158714.1 | 68209.1 | 37791.1 | 16190.4 | 12204 | 6374.1 | 3056 | 8192.3 | 15768.9 | 5969.2 | 27188.6 | 8589.1 | 10608.5
Point (b) UCAP Level, MW | 162894.3 | 70009.6 | 38792.5 | 16613.1 | 12527.9 | 6543.7 | 3137.5 | 8407.2 | 16187.8 | 6128.3 | 27894 | 8812.6 | 10889.6
Point (c) UCAP Level, MW | 170850 | 73436.2 | 40698.4 | 17417.4 | 13144.5 | 6866.5 | 3292.4 | 8816.1 | 16985 | 6431.1 | 29236.5 | 9238.1 | 11424.6
Participant-Funded ICTRs Awarded | NA | 892 | NA | NA | NA | NA | 72 | NA | NA | NA | NA | 65.7 | NA
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 97% | 85.3% | 45.3% | 40.2% | NA | NA | NA | 47.6% | NA | 89.8% | NA | NA
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2015 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load
RTO | NA | NA | NA | 150518.2 | 157188.5 | NA | 12815.4 | 144373.1
AE | 520 | >598 | > 115% | 2450 | 2445 | 0.99796 | 0 | 2445
AEP | 740 | >851 | > 115% | 22290 | 22901 | 1.0274 | 11947.5 | 10953.5
APS | 2680 | >3082 | > 115% | 8350 | 8891 | 1.0648 | 0 | 8891
ATSI | 4490 | 9212 | 205.2% | 12640 | 12617 | 0.99818 | 0 | 12617
ATSI-CLEVELAND | 3390 | 5501 | 162.3% | NA | 4221.6 | NA | 0 | 4221.6
BGE | 4060 | 6234.7 | 153.6% | 6490 | 6758 | 1.0413 | 0 | 6758
COMED | 610 | 5160 | 845.9% | 20900 | 21855 | 1.0457 | 0 | 21855
DAYTON | 1290 | >1484 | > 115% | 3170 | 3344 | 1.0549 | 0 | 3344
DEOK | 3540 | >4071 | > 115% | 5080 | 5374 | 1.0579 | 848.5 | 4525.5
DLCO | 1630 | >1875 | > 115% | 2780 | 2827 | 1.0169 | 0 | 2827
DOM | -2360 | * | * | 18350 | 20104 | 1.0956 | 0 | 20104
DPL | 960 | >1104 | > 115% | 3750 | 3916 | 1.0443 | 0 | 3916
DPL SOUTH | 1230 | 1898 | 154.3% | NA | 2279.5 | NA | 0 | 2279.5
EKPC | 750 | >863 | > 115% | 2053.2 | 2138.5 | 1.0415 | 19.4 | 2119.1
JCPL | 2670 | >3071 | > 115% | 5740 | 5891 | 1.0263 | 0 | 5891
METED | 1220 | >1403 | > 115% | 2800 | 2937 | 1.0489 | 0 | 2937
PECO | 2780 | >3197 | > 115% | 8060 | 8497 | 1.0542 | 0 | 8497
PENLC | 140 | >161 | > 115% | 2870 | 2779 | 0.96829 | 0 | 2779
PEPCO | 2870 | 6985 | 243.4% | 5910 | 6387 | 1.0807 | 0 | 6387
PL (incl. UGI) | -170 | 6168 | * | 6960 | 7266 | 1.044 | 0 | 7266
PS | 5590 | 7856 | 140.5% | 9490 | 9868 | 1.0398 | 0 | 9868
PS NORTH | 2280 | 3827 | 167.9% | NA | 4921.2 | NA | 0 | 4921.2
RECO | NA | NA | NA | 385 | 393 | 1.0208 | 0 | 393
EMAAC | 1580 | 8856 | 560.5% | NA | 31010 | NA | 0
SWMAAC | 3920 | 9400 | 239.8% | NA | 13145 | NA | 0
Western MAAC | -8310 | * | * | NA | 12982 | NA | 0
MAAC | -6930 | 7385 | * | NA | 57137 | NA | 0
Western PJM | 2050 | >2358 | > 115% | NA | 79947.5 | NA | 12815.4
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal/ Keeney - Rock Springs 500 kV line
EMAAC | Thermal/ Keeney - Rock Springs 500 kV line
SWMAAC | Voltage/ Voltage Collapse
PS | Thermal/ Roseland - Williams Pipeline 230 kV
PSNORTH | Thermal/ Roseland - Williams Pipeline 230 kV
DPLSOUTH | Thermal/ Red Lion - Cedar Creek 230 kV line
PEPCO | Voltage/ Voltage Collapse
ATSI | Thermal/ South Canton - Harmon 345 kV line
ATSI-CLEVELAND | Thermal/ Black River-US Steel 138 kV line
COMED | Voltage/ Voltage Collapse
BGE | Thermal / Pumphrey 230/115 kV transformer
PL | Thermal / Wescoville 500/138 kV transformer
** Initial Planning Parameters posted on 2/1/2016. Updated on 4/15/2016 to reflect FRR elections and inclusion of 65.7 MW BGE LDA ICTRs.
Updated on 5/9/2016 to reflect adjustments for (1) total quantity of EE Resources for which PJM accepted an EE M&V Plan submitted for the auction, and (2) final value of approved CIL exceptions and confirmed NEDTS.

## Base Capacity Constraints
2019/2020 Base Capacity Constraints
Forecast Pool Requirement | 1.0896
Pool-Wide Average EFORd | 5.99%
Locational Deliverability Area
Quantities are in Unforced Capacity Megawatts | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Updated Peak Load Forecast | 152760.7 | 55463 | 30089 | 12671 | 9505 | 4740.1 | 2202.1 | 6196 | 12471 | 4172.8 | 21441 | 6475 | 7056
FRR Peak Load | 12415.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Updated Peak Load Forecast adjusted for FRR | 140344.9 | 55463 | 30089 | 12671 | 9505 | 4740.1 | 2202.1 | 6196 | 12471 | 4172.8 | 21441 | 6475 | 7056
EE Addback to Peak Load Forecast (NA for this IA) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base Capacity DR Constraint
Percent of Preliminary Forecast Peak Load | 6.5% | 22.5% | 17.2% | 9.3% | 10.9% | 4.6% | 6.3% | 7.6% | 14.4% | 30.2% | 17% | 6.1% | 27.6%
Base Capacity DR Constraint as Unforced Capacity | 9939.7872 | 13597.3091 | 5639.0156 | 1283.9879 | 1128.8746 | 237.5814 | 151.1627 | 513.0883 | 1956.7298 | 1373.0982 | 3971.5593 | 430.3648 | 2121.9481
Base Capacity Constraint
Percent of Preliminary Forecast Peak Load | 16.1% | 36.8% | 47.1% | 23.7% | 47.2% | 40.2% | 11.8% | 25.5% | 27.3% | 38.5% | 53.1% | 15.2% | 30.6%
Base Capacity Constraint as Unforced Capacity | 21242.0567 | 19187.802 | 13323.0211 | 2823.1457 | 4217.627 | 1791.3795 | 244.2829 | 1485.3392 | 3200.6485 | 1510.297 | 10703.1993 | 925.2464 | 2029.8038
DR Constraints for FRR Load (ICAP as % of peak load)
Base Capacity DR Constraint | 6.5% | 22.5% | 17.2% | 9.3% | 10.9% | 4.6% | 6.3% | 7.6% | 14.4% | 30.2% | 17% | 6.1% | 27.6%
Base Capacity Constraint | 16.1% | 36.8% | 47.1% | 23.7% | 47.2% | 40.2% | 11.8% | 25.5% | 27.3% | 38.5% | 53.1% | 15.2% | 30.6%

## Cap Import Limits
2019/2020 Capacity Import Limits in Megawatts
External Source Zone
| Simultaneous | North | West 1 | West 2 | South 1 | South 2
First Contingency Total Transfer Capability (FCTTC) | 8211 | 51 | 2639.9 | 4193.1 | 704 | 623
Capacity Benefit Margin (CBM) | 3500 | 21.7 | 1125.3 | 1787.3 | 300.1 | 265.6
Confirmed NEDTS * | 9655 | 0 | 2487 | 5157 | 1091 | 920
Approved CIL Exception Requests ** | 4932.4 | 0 | 1916 | 2261 | 490.4 | 265
Capacity Import Limit (CIL) for use in 2nd IA *** | 0 | 0 | 0 | 144.8 | 0 | 92.4
Notes:
* Confirmed NEDTS are as of 7/2/2018.
** The quantities of approved CIL exception requests are as of 7/2/2018.
*** In addition to ensuring that the CIL used in the auction plus the granted exceptions to not exceed the granted Network External Designated (NED) transmission service less the CBM, PJM is also ensuring that the CIL used in the auction plus the granted exceptions does not exceed the FCTTC less the CBM. Because the simultaneous limit is zero, no imports will be cleared in the auction other than those for which a CIL exception was granted.

## Credit Rate
2019-2020 Pre-Clearing 2nd IA Credit Rates
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Net CONE, $/MW-Day (UCAP Price) | 297.3579 | 260.3198 | 281.7896 | 228.4381 | 301.332 | 301.332 | 260.5682 | 242.6453 | 262.3466 | 262.3466 | 326.3089 | 214.2209 | 275.9378
BRA Base Capacity DR/EE Resource Clearing Price, $/MW-day | 80 | 80 | 99.77 | 80 | 99.77 | 99.77 | 99.77 | 0.01 | 80 | 80 | 182.77 | 80.3 | 80
BRA Base Capacity Resource Clearing Price, $/MW-day | 80 | 80 | 99.77 | 80 | 99.77 | 99.77 | 99.77 | 80 | 80 | 80 | 182.77 | 80.3 | 80
Base Capacity DR/EE Resources Credit Rate, $/MW | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9
Base Capacity Resources Credit Rate, $/MW | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9 | 32649.9
Capacity Performance Resources Credit Rate, $/MW | 54416.5 | 47638.53 | 51567.5 | 41804.16 | 55143.75 | 55143.75 | 47683.98 | 44404.08 | 48009.43 | 48009.43 | 59714.52 | 39202.43 | 50496.62
2019-2020 Post-Clearing 2nd IA Credit Rates
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Net CONE, $/MW-Day (UCAP Price) | 297.3579 | 260.3198 | 281.7896 | 228.4381 | 301.332 | 301.332 | 260.5682 | 242.6453 | 262.3466 | 262.3466 | 326.3089 | 214.2209 | 275.9378
Net CONE, $/MW-Day (ICAP Price) | 279.5462 | 244.7267 | 264.9104 | 214.7546 | 283.2822 | 283.2822 | 244.9602 | 228.1108 | 246.632 | 246.632 | 306.763 | 201.3891 | 259.4092
2nd IA Base Capacity DR/EE Resource Clearing Price, $/MW-day | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 32.14 | 10.01
2nd IA Base Capacity Resource Clearing Price, $/MW-day | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 10.01 | 32.14 | 10.01
2nd IA Capacity Performance Resource Clearing Price, $/MW-day | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 32.87 | 55 | 32.87
Base Capacity DR/EE Resources Credit Rate, $/MW | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320
Base Capacity Resources Credit Rate, $/MW | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320 | 7320
Capacity Performance Resources Credit Rate, $/MW | 54416.5 | 47638.53 | 51567.5 | 41804.16 | 55143.75 | 55143.75 | 47683.98 | 44404.08 | 48009.43 | 48009.43 | 59714.52 | 39202.43 | 50496.62