## PJM Buy Bids-Sell Offers
Configuration of 2nd Incremental Auction for 2020/2021 Delivery Year |  |  |  |  | 2019-08-14
PJM Buy Bids & Sell Offers
CERA#86581913
Price Points for PJM Buy Bids and PJM Sell Offers **
Location | Rest of LDA PJM Buy Bid (MW) * | Point 1 x-axis (MW) | Point 1 y-axis ($/MW-Day) | Point 2 x-axis (MW) | Point 2 y-axis ($/MW-Day) | Point 3 x-axis (MW) | Point 3 y-axis ($/MW-Day)
RTO (Rest of) | -194.5 | 0 | 8.26 | 194.5 | 13.77 | -- | --
MAAC (Rest of) | 0 | -- | -- | -- | -- | -- | --
EMAAC (Rest of) | -162.2 | 0 | 125.99 | 162.2 | 144.55 | -- | --
SWMAAC (Rest of) | 0 | -- | -- | -- | -- | -- | --
PS (Rest of) | -180.4 | 0 | 110.96 | 180.4 | 181.01 | -- | --
PS NORTH | 0 | -- | -- | -- | -- | -- | --
DPL SOUTH | -80 | 0 | 79.32 | 80 | 181.67 | -- | --
PEPCO | 0 | -- | -- | -- | -- | -- | --
ATSI (Rest of) | -230 | 0 | 18.44 | 230 | 75.99 | -- | --
ATSI-CLEVELAND | -127 | 0 | 13.57 | 127 | 98.47 | -- | --
COMED | -664 | 0 | 37.61 | 664 | 163.11 | -- | --
BGE | -31 | 0 | 63.18 | 31 | 73.45 | -- | --
PL | -99.8 | 0 | 44.95 | 99.8 | 84.52 | -- | --
DAYTON | -122.1 | 0 | 0 | 49.6 | 0 | 122.1 | 74.88
DEOK | -47.7 | 0 | 95.11 | 47.7 | 123.05 | -- | --
TOTAL | -1938.7
* A PJM Sell Offer is indicated by a negative PJM Buy Bid.
** The price of a PJM buy bid is based on the Updated VRR Curve Increment which is the portion of the Updated VRR Curve remaining beyond the point representing all capacity already procured in prior auctions for the Delivery Year. The price of a PJM Sell Offer is based on the Updated VRR Curve Decrement which is the portion of the Updated VRR Curve to the left of the point representing all capacity already procured in prior auctions for the Delivery Year.
Revision (7/12/2019) - Updated PJM Buy Bids to reflect revised IRM, Pool-Wide Average EFORd, and FPR.
Revision (8/13/2019) - Updated with Post-Auction Credit Rates included in "2nd IA Parameters".

## 2nd IA Configuration
2020-2021 2nd Incremental Auction Configuration
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-C | COMED | BGE | PL | DAYTON | DEOK
2nd IA Reliability Requirement | 151615.1 | 65055 | 36239 | 15277 | 11578 | 6142 | 2919 | 8114 | 15289 | 5722 | 25560 | 7887 | 9877 | 3874 | 7065.5749
1st IA Reliability Requirement | 152768.3 | 65097 | 36164 | 15309 | 11522 | 5812 | 2917 | 8086 | 15646 | 5849 | 25967 | 7967 | 9980 | 3979 | 7113.2854
Change in Reliability Requirement * (1) | -1153.2 | -42 | 75 | -32 | 56 | 330 | 2 | 28 | -357 | -127 | -407 | -80 | -103 | -105 | -47.7105
Change in CETL from 1st IA to 2nd IA | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Import Limit Margin remaining after 1st IA | NA | 398.5 | 146.7 | 3249.8 | 727.1 | 942.1 | 500.2 | 4605.4 | 1883.8 | 1544.1 | 480.5 | 445 | 6953.6 | 739 | 5.4
Uncleared PJM Buy Bids from Previous IA (2) | -785.5 | -511.4 | -511.4 | 0 | -236.4 | -172.4 | -82 | 0 | 0 | 0 | -257 | 0 | 0 | -17.1 | 0
Additional Buy Bids ** (3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net of (1), (2), and (3) | -1938.7 | -553.4 | -436.4 | -32 | -180.4 | 157.6 | -80 | 28 | -357 | -127 | -664 | -80 | -103 | -122.1 | -47.7105
Total PJM Buy Bid Quantity *** | -1938.7 | -553.4 | -436.4 | -32 | -180.4 | 157.6 | -80 | 0 | -357 | -127 | -664 | -52 | -103 | -122.1 | -47.7
Adjusted Buy Bid Quantity **** | -1938.7 | -553.4 | -422.6 | -31 | -180.4 | 0 | -80 | 0 | -357 | -127 | -664 | -31 | -99.8 | -122.1 | -47.7
Rest of LDA PJM Buy Bid Quantity | -194.5 | 0 | -162.2 | 0 | -180.4 | 0 | -80 | 0 | -230 | -127 | -664 | -31 | -99.8 | -122.1 | -47.7
* As per Section 5.4.(c) of the PJM OATT, the reliability requirement for the RTO and each LDA will be updated since the change in reliability requirement for the RTO and each LDA or parent of the LDA exceeds the lesser of the 500 MW or 1% threshold.
** Additional Buy Bids to account for election of Non-Viable MWs related to Prior CIL Exception External Resources which were deemed not Operationally Deliverable for the Delivery Year to be requested for 3rd Incremental Auction.
*** PEPCO Buy Bid of 28 MW is netted with BGE Sell Offer.
**** In determining the PJM sell offer quantity by location, the quantity determined in the row above has been adjusted in some cases for LDAs wholly located within a larger LDA to take into account impacts on the larger LDA.

## 2nd IA Parameters
2020-2021 2nd IA Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.9% | 2018 IRM Study
Pool-Wide Average EFORd | 6.04% | 2018 IRM Study
Forecast Pool Requirement (FPR) | 1.089 | 2018 IRM Study
Preliminary Forecast Peak Load | 151155.1 | Load data: from 2019 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -6950 | 2980 | 3400 | 5560 | 2700 | 1070 | 1770 | 5840 | 3310 | -1020 | 4780 | -920 | 2320 | 2880
CETL | NA | 3829 | 8593 | 9975 | 8001 | 4264 | 1872 | 7600 | 9889 | 5605 | 4064 | 6180 | 7084 | 3401 | 5072
Reliability Requirement | 164607.9 | 65055 | 36239 | 15277 | 11578 | 6142 | 2919 | 8114 | 15289 | 5722 | 25560 | 7887 | 9877 | 3874 | 7441
Total Peak Load of FRR Entities | 11930.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 826.7
Uodated FRR Obligation | 12992.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 900.3
Reliability Requirement adjusted for FRR | 151615.1 | 65055 | 36239 | 15277 | 11578 | 6142 | 2919 | 8114 | 15289 | 5722 | 25560 | 7887 | 9877 | 3874 | 7065.5749
Gross CONE, $/MW-Day (UCAP Price) | 392.1212 | 392.2405 | 391.6241 | 398.6925 | 391.6241 | 391.6241 | 391.6241 | 398.6925 | 389.0095 | 389.0095 | 389.0095 | 398.6925 | 389.1586 | 389.0095 | 389.0095
Net CONE, $/MW-Day (UCAP Price) | 291.2352 | 250.9226 | 281.4429 | 201.2451 | 305.1234 | 305.1234 | 253.4775 | 225.204 | 259.6412 | 259.6412 | 327.8794 | 177.2861 | 265.7652 | 271.5412 | 280.8066
EE Addback (UCAP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Resource Requirement Curve without PRD:
Point (a) UCAP Price, $/MW-Day | 436.85 | 392.24 | 422.16 | 398.69 | 457.69 | 457.69 | 391.62 | 398.69 | 389.46 | 389.46 | 491.82 | 398.69 | 398.65 | 407.31 | 421.21
Point (b) UCAP Price, $/MW-Day | 218.43 | 188.19 | 211.08 | 150.93 | 228.84 | 228.84 | 190.11 | 168.9 | 194.73 | 194.73 | 245.91 | 132.96 | 199.32 | 203.66 | 210.6
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 151353.5 | 64942.7 | 36176.5 | 15250.6 | 11558 | 6131.4 | 2914 | 8100 | 15262.6 | 5712.1 | 25515.9 | 7873.4 | 9860 | 3867.3 | 7053.4
Point (b) UCAP Level, MW | 155408.7 | 66682.8 | 37145.8 | 15659.3 | 11867.7 | 6295.7 | 2992 | 8317 | 15671.6 | 5865.2 | 26199.6 | 8084.3 | 10124.1 | 3970.9 | 7242.4
Point (c) UCAP Level, MW | 163126.9 | 69994.5 | 38990.5 | 16436.9 | 12457.1 | 6608.3 | 3140.6 | 8730.1 | 16449.9 | 6156.5 | 27500.7 | 8485.8 | 10626.9 | 4168.1 | 7602
Nominated PRD Value Committed in BRA, MW | 558 | 558 | 58 | 500 | 0 | 0 | 27 | 170 | 0 | 0 | 0 | 330 | 0 | 0 | 0
VRR Curve adjusted for PRD Committed:
Point (a1) UCAP Price, $/MW-Day | 436.85 | 392.24 | 422.16 | 398.69 | 457.69 | 457.69 | 391.62 | 398.69 | 389.46 | 389.46 | 491.82 | 398.69 | 398.65 | 407.31 | 421.21
Point (b1) UCAP Price, $/MW-Day | 218.43 | 188.19 | 211.08 | 150.93 | 228.84 | 228.84 | 190.11 | 168.9 | 194.73 | 194.73 | 245.91 | 132.96 | 199.32 | 203.66 | 210.6
Point (c1) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a1) UCAP Level, MW | 150745.8 | 64335 | 36113.3 | 14706.1 | 11558 | 6131.4 | 2884.6 | 7914.9 | 15262.6 | 5712.1 | 25515.9 | 7514 | 9860 | 3867.3 | 7053.4
Point (b1) UCAP Level, MW | 154801 | 66075.1 | 37082.6 | 15114.8 | 11867.7 | 6295.7 | 2962.6 | 8131.9 | 15671.6 | 5865.2 | 26199.6 | 7724.9 | 10124.1 | 3970.9 | 7242.4
Point (c1) UCAP Level, MW | 162519.2 | 69386.8 | 38927.3 | 15892.4 | 12457.1 | 6608.3 | 3111.2 | 8545 | 16449.9 | 6156.5 | 27500.7 | 8126.4 | 10626.9 | 4168.1 | 7602
Pre-Auction Credit Rate, $/MW | 53150.42 | 45793.37 | 51363.32 | 36727.22 | 55685.03 | 55685.03 | 46259.65 | 41099.73 | 47384.52 | 47384.52 | 59838 | 32354.72 | 48502.14 | 49556.26 | 51247.21
Post-Auction Credit Rate, $/MW | 53150.42 | 45793.37 | 51363.32 | 36727.22 | 55685.03 | 55685.03 | 46259.65 | 41099.73 | 47384.52 | 47384.52 | 59838 | 32354.72 | 48502.14 | 49556.26 | 51247.21
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 41 | 21 | 72 | NA | NA | NA | NA | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 84.8% | 38.9% | 34.8% | NA | NA | NA | NA | NA | 94% | 24.6% | NA | NA | 41.7%
Revision (7/12/2019) - Revised IRM, Pool-Wide Average EFORd, and FPR.
Revision (8/13/2019) - Updated with Post-Auction Credit Rates.

## 1st IA Parameters
2020-2021 1st IA Planning Parameters
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.9% | 2017 IRM Study
Pool-Wide Average EFORd | 5.97% | 2017 IRM Study
Forecast Pool Requirement (FPR) | 1.0898 | 2017 IRM Study
Preliminary Forecast Peak Load | 152245.4 | Load data: from 2018 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -8750 | 1690 | 2910 | 5630 | 2410 | 1090 | 1560 | 4850 | 3470 | -770 | 4520 | -910 | 2460 | 3070
CETL | NA | 3829 | 8593 | 9975 | 8001 | 4264 | 1872 | 7600 | 9889 | 5605 | 4064 | 6180 | 7084 | 3401 | 5072
Reliability Requirement | 165917 | 65097 | 36164 | 15309 | 11522 | 5812 | 2917 | 8086 | 15646 | 5849 | 25967 | 7967 | 9980 | 3979 | 7516
Total Peak Load of FRR Entities | 12065.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 875.7
Preliminary FRR Obligation | 13148.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 954.3
Reliability Requirement adjusted for FRR | 152768.3 | 65097 | 36164 | 15309 | 11522 | 5812 | 2917 | 8086 | 15646 | 5849 | 25967 | 7967 | 9980 | 3979 | 7113.2854
Gross CONE, $/MW-Day (UCAP Price) | 391.8293 | 391.9485 | 391.3326 | 398.3957 | 391.3326 | 391.3326 | 391.3326 | 398.3957 | 388.7199 | 388.7199 | 388.7199 | 398.3957 | 388.8689 | 388.7199 | 388.7199
Net CONE, $/MW-Day (UCAP Price) | 291.0184 | 250.7358 | 281.2333 | 201.0952 | 304.8963 | 304.8963 | 253.2888 | 225.0363 | 259.4479 | 259.4479 | 327.6354 | 177.1542 | 265.5673 | 271.339 | 280.5976
EE Addback (UCAP) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Resource Requirement Curve without PRD:
Point (a) UCAP Price, $/MW-Day | 436.53 | 391.95 | 421.85 | 398.4 | 457.34 | 457.34 | 391.33 | 398.4 | 389.17 | 389.17 | 491.45 | 398.4 | 398.35 | 407.01 | 420.9
Point (b) UCAP Price, $/MW-Day | 218.26 | 188.05 | 210.93 | 150.82 | 228.67 | 228.67 | 189.97 | 168.78 | 194.59 | 194.59 | 245.73 | 132.87 | 199.18 | 203.5 | 210.45
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 152504.7 | 64984.7 | 36101.6 | 15282.6 | 11502.1 | 5802 | 2912 | 8072 | 15619 | 5838.9 | 25922.2 | 7953.3 | 9962.8 | 3972.1 | 7101
Point (b) UCAP Level, MW | 156590.8 | 66725.8 | 37068.9 | 15692.1 | 11810.3 | 5957.4 | 2990 | 8288.3 | 16037.5 | 5995.4 | 26616.7 | 8166.3 | 10229.7 | 4078.6 | 7291.3
Point (c) UCAP Level, MW | 164367.6 | 70039.7 | 38909.8 | 16471.4 | 12396.8 | 6253.3 | 3138.5 | 8699.9 | 16834 | 6293.1 | 27938.6 | 8571.9 | 10737.8 | 4281.1 | 7653.4
Nominated PRD Value Committed in BRA, MW | 558 | 558 | 58 | 500 | 0 | 0 | 27 | 170 | 0 | 0 | 0 | 330 | 0 | 0 | 0
VRR Curve adjusted for PRD Committed:
Point (a1) UCAP Price, $/MW-Day | 436.53 | 391.95 | 421.85 | 398.4 | 457.34 | 457.34 | 391.33 | 398.4 | 389.17 | 389.17 | 491.45 | 398.4 | 398.35 | 407.01 | 420.9
Point (b1) UCAP Price, $/MW-Day | 218.26 | 188.05 | 210.93 | 150.82 | 228.67 | 228.67 | 189.97 | 168.78 | 194.59 | 194.59 | 245.73 | 132.87 | 199.18 | 203.5 | 210.45
Point (c1) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a1) UCAP Level, MW | 151896.6 | 64376.6 | 36038.4 | 14737.7 | 11502.1 | 5802 | 2882.6 | 7886.7 | 15619 | 5838.9 | 25922.2 | 7593.7 | 9962.8 | 3972.1 | 7101
Point (b1) UCAP Level, MW | 155982.7 | 66117.7 | 37005.7 | 15147.2 | 11810.3 | 5957.4 | 2960.6 | 8103 | 16037.5 | 5995.4 | 26616.7 | 7806.7 | 10229.7 | 4078.6 | 7291.3
Point (c1) UCAP Level, MW | 163759.5 | 69431.6 | 38846.6 | 15926.5 | 12396.8 | 6253.3 | 3109.1 | 8514.6 | 16834 | 6293.1 | 27938.6 | 8212.3 | 10737.8 | 4281.1 | 7653.4
Pre-Auction Credit Rate, $/MW | 53110.86 | 45759.28 | 51325.08 | 36699.88 | 55643.57 | 55643.57 | 46225.21 | 41069.13 | 47349.25 | 47349.25 | 59793.45 | 32330.63 | 48466.04 | 49519.37 | 51209.05
Post-Auction Credit Rate, $/MW | 53110.86 | 45759.28 | 51325.08 | 36699.88 | 55643.57 | 55643.57 | 46225.21 | 41069.13 | 47349.25 | 47349.25 | 59793.45 | 32330.63 | 48466.04 | 49519.37 | 51209.05
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 41 | 21 | 72 | NA | NA | NA | NA | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 84.8% | 38.9% | 34.4% | NA | NA | NA | NA | NA | 94.1% | 25.4% | NA | NA | 42.2%

## BRA Parameters
2020-2021 RPM Base Residual Auction Planning Parameters | [5 empty] | 2017-05-23
| RTO | Notes:
Installed Reserve Margin (IRM) | 16.6% | 2016 IRM Study
Pool-Wide Average EFORd | 6.59% | 2016 IRM Study
Forecast Pool Requirement (FPR) | 1.0892 | 2016 IRM Study
Preliminary Forecast Peak Load | 153915 | Load data: from 2017 Load Report with adjustments due to load served outside PJM.
Locational Deliverability Area
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL | DAYTON | DEOK
CETO | NA | -7000 | 3650 | 2900 | 5900 | 2620 | 1230 | 1540 | 4660 | 3540 | 640 | 4410 | -1010 | 2550 | 3650
CETL | NA | 4218 | 8800 | 9802 | 8001 | 4264 | 1872 | 7625 | 9889 | 5605 | 4064 | 6244 | 7084 | 3401 | 5072
Reliability Requirement | 167644.2 | 66385 | 36921 | 15486 | 11797 | 6023 | 2999 | 7978 | 15610 | 5865 | 26224 | 8132 | 9829 | 4027 | 7500
Total Peak Load of FRR Entities | 12200.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 875.5
Preliminary FRR Obligation | 13288.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 953.6
Reliability Requirement adjusted for FRR | 154355.3 | 66385 | 36921 | 15486 | 11797 | 6023 | 2999 | 7978 | 15610 | 5865 | 26224 | 8132 | 9829 | 4027 | 7102.3488
Gross CONE, $/MW-Day (UCAP Price) | 394.43 | 394.55 | 393.93 | 401.04 | 393.93 | 393.93 | 393.93 | 401.04 | 391.3 | 391.3 | 391.3 | 401.04 | 391.45 | 391.3 | 391.3
Net CONE, $/MW-Day (UCAP Price) | 292.95 | 252.4 | 283.1 | 202.43 | 306.92 | 306.92 | 254.97 | 226.53 | 261.17 | 261.17 | 329.81 | 178.33 | 267.33 | 273.14 | 282.46
EE Addback (UCAP) | 2432.8 | 775.3 | 416.9 | 273 | 127.9 | 25.5 | 11 | 95 | 47.2 | 0.6 | 830.3 | 178 | 49.1 | 47.1 | 84.4
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 439.43 | 394.55 | 424.65 | 401.04 | 460.38 | 460.38 | 393.93 | 401.04 | 391.76 | 391.76 | 494.72 | 401.04 | 401 | 409.71 | 423.69
Point (b) UCAP Price, $/MW-Day | 219.71 | 189.3 | 212.33 | 151.82 | 230.19 | 230.19 | 191.23 | 169.9 | 195.88 | 195.88 | 247.36 | 133.75 | 200.5 | 204.86 | 211.85
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Point (a) UCAP Level, MW | 156523.3 | 67046.4 | 37274.6 | 15732.4 | 11904.7 | 6038.2 | 3004.9 | 8059.3 | 15630.4 | 5855.5 | 27009.3 | 8296.1 | 9861.2 | 4067.2 | 7174.6
Point (b) UCAP Level, MW | 160627.1 | 68811.4 | 38256.2 | 16144.2 | 12218.3 | 6198.3 | 3084.6 | 8271.4 | 16045.4 | 6011.5 | 27706.5 | 8512.3 | 10122.6 | 4174.3 | 7363.4
Point (c) UCAP Level, MW | 168437.6 | 72170.5 | 40124.4 | 16927.8 | 12815.2 | 6503.1 | 3236.3 | 8675.1 | 16835.3 | 6308.2 | 29033.5 | 8923.7 | 10619.9 | 4378 | 7722.8
Nominated PRD Value, MW | 558 | 558 | 58 | 500 | 0 | 0 | 27 | 170 | 0 | 0 | 0 | 330 | 0 | 0 | 0
VRR Curve adjusted for PRD:
Point (a1) UCAP Price, $/MW-Day | 439.43 | 394.55 | 424.65 | 401.04 |  |  | 393.93 | 401.04 |  |  |  | 401.04
Point (b1) UCAP Price, $/MW-Day | 219.71 | 189.3 | 212.33 | 151.82 |  |  | 191.23 | 169.9 |  |  |  | 133.75
Point (prd1) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (prd2) UCAP Price, $/MW-Day | 0.01 | 0.01 | 0.01 | 0.01 |  |  | 0.01 | 0.01 |  |  |  | 0.01
Point (c) UCAP Price, $/MW-Day | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  | 0
Point (a1) UCAP Level, MW | 155915.5 | 66438.6 | 37211.4 | 15187.8 |  |  | 2975.5 | 7874.1 |  |  |  | 7936.7
Point (b1) UCAP Level, MW | 160019.3 | 68203.6 | 38193 | 15599.6 |  |  | 3055.2 | 8086.2 |  |  |  | 8152.9
Point (prd1) UCAP Level, MW | 167829.4 | 71562.5 | 40061.1 | 16383.1 |  |  | 3206.9 | 8489.9 |  |  |  | 8564.3
Point (prd2) UCAP Level, MW | 168437.2 | 72170.3 | 40124.3 | 16927.7 |  |  | 3236.3 | 8675.1 |  |  |  | 8923.7
Point (c) UCAP Level, MW | 168437.6 | 72170.5 | 40124.4 | 16927.8 |  |  | 3236.3 | 8675.1 |  |  |  | 8923.7
Pre-Auction Credit Rate, $/MW | 53463.38 | 46063 | 51665.75 | 36943.48 | 56012.9 | 56012.9 | 46532.03 | 41341.73 | 47663.53 | 47663.53 | 60190.33 | 32545.23 | 48787.73 | 49848.05 | 51548.95
Post-Auction Credit Rate, $/MW | 53463.375 | 46063 | 51665.75 | 36943.475 | 56012.9 | 56012.9 | 46532.025 | 41341.725 | 47663.525 | 47663.525 | 60190.325 | 32545.225 | 48787.725 | 49848.05 | 51548.95
Participant-Funded ICTRs Awarded | NA | 1557 | 40 | NA | 41 | 21 | 72 | NA | NA | NA | NA | 65.7 | NA | NA | 155
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 100% | 85% | 40.6% | 36.1% | NA | NA | NA | NA | NA | 94.2% | 26.4% | NA | NA | 41.7%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and FRR load.
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2016 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load
RTO | NA | NA | NA | 150313.4 | 153915 | NA | 12200.6 | 141714.4
AE | 1140 | >1311 | > 115% | 2460 | 2368 | 0.9626 | 0 | 2368
AEP | -170 | * | * | 22320 | 22313 | 0.99969 | 11305.7 | 11007.3
APS | 2020 | >2323 | > 115% | 8440 | 8617 | 1.021 | 0 | 8617
ATSI | 4660 | 9889 | 212.2% | 12660 | 12508 | 0.98799 | 0 | 12508
ATSI-CLEVELAND | 3540 | 5605 | 158.3% | NA | 4185.2 | NA | 0 | 4185.2
BGE | 4410 | 6244 | 141.6% | 6330 | 6566 | 1.0373 | 0 | 6566
COMED | 640 | 4064 | 635% | 20560 | 21589 | 1.05 | 0 | 21589
DAYTON | 2550 | 3401 | 133.4% | 3270 | 3305 | 1.0107 | 0 | 3305
DEOK | 3650 | 5072 | 139% | 5020 | 5343 | 1.0643 | 875.5 | 4467.5
DLCO | 1530 | >1760 | > 115% | 2750 | 2771 | 1.0076 | 0 | 2771
DOM | -3010 | * | * | 18450 | 19428 | 1.053 | 0 | 19428
DPL | 910 | >1047 | > 115% | 3740 | 3844 | 1.0278 | 0 | 3844
DPL SOUTH | 1230 | 1872 | 152.2% | NA | 2237.6 | NA | 0 | 2237.6
EKPC | 560 | >644 | > 115% | 2108.4 | 2132 | 1.0112 | 19.4 | 2112.6
JCPL | 3430 | >3945 | > 115% | 5650 | 5815 | 1.0292 | 0 | 5815
METED | 770 | >886 | > 115% | 2850 | 2865 | 1.0053 | 0 | 2865
PECO | 2690 | >3094 | > 115% | 8120 | 8305 | 1.0228 | 0 | 8305
PENLC | -210 | * | * | 2770 | 2771 | 1.0004 | 0 | 2771
PEPCO | 1540 | 7625 | 495.1% | 6030 | 6278 | 1.0411 | 0 | 6278
PL (incl. UGI) | -1010 | 7084 | * | 6870 | 7071 | 1.0293 | 0 | 7071
PS | 5900 | 8001 | 135.6% | 9530 | 9641 | 1.0116 | 0 | 9641
PS NORTH | 2620 | 4264 | 162.7% | NA | 4808 | NA | 0 | 4808
RECO | NA | NA | NA | 385 | 385 | 1 | 0 | 385
EMAAC | 3650 | 8800 | 241.1% | NA | 30358 | NA | 0
SWMAAC | 2900 | 9802 | 338% | NA | 12844 | NA | 0
Western MAAC | -10140 | * | * | NA | 12707 | NA | 0
MAAC | -7000 | 4218 | * | NA | 55909 | NA | 0
Western PJM | 2350 | >2703 | > 115% | NA | 78578 | NA | 12200.6
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal/Sandy Spring "2334" - High Ridge 230 kV for loss of Sandy Spring "2314" - Burtonsville 230 kV
EMAAC | Voltage/Low Voltage at Cochranville 230 kV for loss of Keeney - Rock Springs 500 kV; low voltage at Hopatcong & Roseland 500 kV for loss of Branchburg - Hopatcong 500 kV
SWMAAC | Thermal/Graceton - Bagley 230 kV CKT #1 and #2 for the loss of the one or the other
PS | Thermal/Voltage/Roseland - Cedar Grove 230 kV for loss of Roseland - Williams Pipeline 230 kV/ Low voltage at Hopatcong & Roseland 500 kV for loss of Branchburg - Hopatcong 500 kV
PSNORTH | Thermal/Voltage/Roseland - Cedar Grove 230 kV for loss of Roseland - Williams Pipeline 230 kV/ Low voltage at Hopatcong & Roseland 500 kV for loss of Branchburg - Hopatcong 500 kV
DPLSOUTH | Thermal/Red Lion - Cedar Creek 230 kV for the loss of Cartanza - Milford 230 kV
PEPCO | Voltage/Voltage drop at High Ridge 230 kV station for the loss of Burches Hill - Possum Point 500 kV line
ATSI | Thermal/South Canton - Harmon 345kV line for the loss of the Hanna - Canton Central 345kV line
ATSI-CLEVELAND | Voltage/Low Voltage at Hayes for the loss of the Hayes - Davis Besse 345kV line
COMED | Thermal/Eugene - Dequin 345kV line for the loss of the Greentown - Jefferson 765kV line
BGE | Thermal/Pumphrey - Howard 230 kV line pre-contingency (Basecase)
PL | Thermal/Wescosville 500/138 kV transformer pre-contingency (Basecase)
DAYTON | Thermal/Sugar Creek - OHH 138 kV line for loss of OHH - College Corner 138 kV
DEOK | Thermal/Tanner - Miami Fort 345 kV line for the loss of the Terminal - South Bend 345 kV line
Planning Parameters initially posted on 2/1/2017. Updated on 2/13/2017: Limiting facilities updated for BGE, PL, DAYTON, and DEOK; PL CETL revised from 8285 MW to 7,226 MW; Added s1106 to the Key Transmission Upgrades. Updated on 4/13/2017: Added FRR load adjustments; updated CETL values for all LDAs except PEPCO and ATSI-Cleveland (and updated Limiting Facilitites for LDAs where applicable); updated CETO and Reliability Requirement for DAYTON LDA. Updated 5/9/2017: VRR Curve updated to reflect adjustments for total quantity of EE Resources for which PJM accepted an EE M&V Plan submitted for the auction. Updated 5/23/2017: Updated EE Add-backs to reflect cleared EE MW quantity of first-pass BRA solution times the threshold in accordance with Section 2.4.5 of Manual 18. Updated DEOK Reliability Requirement to adjust for FRR Minimum Internal Resource Requirement. Added Post-Auction Credit Rates for cleared resources.