## Summary
MOPR Floor Offer Prices for 2018/2019 BRA (UCAP Price $/MW-Day)
CONE Area 1 includes the following Transmission Zones: AE, DPL, JCPL, PECO, PSEG, RECO
CONE Area 2 includes the following Transmission Zones: BGE, PEPCO
CONE Area 3 includes the following Transmission Zones: AEP, APS, ATSI, COMED, DAYTON, DEOK, DOMINION, DUQUESNE, EKPC.
CONE Area 4 includes the following Transmission Zones: METED, PENELEC, PPL.
Resource Type | Cone Area 1 | Cone Area 2 | Cone Area 3 | Cone Area 4
Combustion Turbine | 256.57 | 233.99 | 263.37 | 223.52
Combined Cycle | 237.73 | 181.59 | 252.47 | 194.86
Integrated Gasification Combined Cycle | 1291.99 | 1198.82 | 1269.51 | 1227.42

## MOPR Price Calculations
MOPR Floor Offer Prices for 2018/2019 RPM Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price/(1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2018/2019 |  | 5.71%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, COMED, DAYTON, DEOK, DOMINION, DUQUESNE, EKPC
CONE Area 4: METED, PENELEC, PPL
Combustion Turbine
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4
2018/2019 BRA CONE: Levelized Revenue Requirement, $/MW-Year | 132200 | 130300 | 128900 | 130300
Zone in the CONE Area with highest energy revenue | DPL | BGE | APS | PENELEC
Historic (2012-2014) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 41700.8702 | 47570.7399 | 36061.5368 | 51175.4083
Ancillary Services Offset, $/MW-Year per Tariff | 2199 | 2199 | 2199 | 2199
Net CONE, $/MW-Day, ICAP Price | 241.9182 | 220.6308 | 248.3273 | 210.755
Net CONE, $/MW-Day, UCAP Price | 256.57 | 233.99 | 263.37 | 223.52
MOPR Floor Offer Price for Combustion Turbine: 100% Net CONE, $/MW-Day, UCAP Price | 256.57 | 233.99 | 263.37 | 223.52
Combined Cycle
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4
2018/2019 BRA CONE: Levelized Revenue Requirement, $/MW-Year | 185700 | 176000 | 172600 | 179400
Zone in the CONE Area with highest energy revenue | DPL | BGE | APS | PENELEC
Historic (2012-2014) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 100685.9279 | 110307.0972 | 82511.9925 | 109138.8815
Ancillary Services Offset, $/MW-Year per Tariff | 3198 | 3198 | 3198 | 3198
Net CONE, $/MW-Day, ICAP Price | 224.1536 | 171.2189 | 238.0548 | 183.7346
Net CONE, $/MW-Day, UCAP Price | 237.73 | 181.59 | 252.47 | 194.86
MOPR Floor Offer Prices for Combined Cycle: 100% Net CONE, $/MW-Day, UCAP Price | 237.73 | 181.59 | 252.47 | 194.86
Integrated Gasification Combined Cycle (IGCC)
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4
2018/2019 BRA CONE: Levelized Revenue Requirement, $/MW-Year | 582042 | 558486 | 547240 | 537306
Zone in the CONE Area with highest energy revenue | DPL | BGE | DOMINION | MetEd
Historic (2012-2014) Net Energy Revenue Offset for the Zone with highest energy revenues in the CONE Area, $/MW-Year | 134195.3381 | 142705.3756 | 107130.777 | 111680.5167
Ancillary Services Offset, $/MW-Year per Tariff | 3198 | 3198 | 3198 | 3198
Net CONE, $/MW-Day, ICAP Price | 1218.2155 | 1130.3634 | 1197.017 | 1157.3356
Net CONE, $/MW-Day, UCAP Price | 1291.99 | 1198.82 | 1269.51 | 1227.42
MOPR Floor Offer Prices for IGCC: 100% Net CONE, $/MW-Day, UCAP Price | 1291.99 | 1198.82 | 1269.51 | 1227.42