## Sheet1
| Percentage of correct off-cost operations projections June 2000: |  |  |  |  | 96.2% (25/26 4 days - no forecast given on OASIS)
Off-Cost Operations - Projection History June 2000
Date | Projected | Occurred |  | Facility | Contingency |  | Duration
2000-06-01 | Yes | Yes | Easton - Trappe Tap 6716 69kV |  | Indian River AT-20 230/138kV xfmr |  | thru-0001
|  |  | Talbot - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | 0618-thru 2340(Saturday)
|  |  | Erie West #1 345/115kV xfmr |  | Erie East-South Ripley 230kV line |  | 0841-1355
2000-06-02 | Yes | Yes | Talbot - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | 0646-1750
|  |  | Erie West #1 345/115kV xfmr |  | Erie East-South Ripley 230kV line |  | 0733-1046; 1956-2218
|  |  | Western Transfers |  | Reactive |  | 1332-1416
|  |  | Milford-South Harrington 13774 138kV |  | Indian River - Milford 23069 230kV |  | 1405-1531
|  |  | Hunterstown #2 230/115kV xfmr |  | Actual |  | 1630-1919
|  |  | Dauphin - Juniata 1087 230kV |  | Cumberland - Juniata 2335 230kV |  | 1700-1927
2000-06-03 | Yes | Yes | Talbot - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | thru-2340
|  |  | Branchburg #2 500/230kV xfmr |  | Branchburg-Deans 5019 + Deans #1 500/230kV xfmr |  | 1014-1917
2000-06-04 | N/A | Yes | Buckingham-Pleasant Valley 220-12 |  | Elroy-Branchburg 5017 + Elroy #1 500/138kV xfmr |  | 1030-1247
|  |  | Deans #2 500/230kV xfmr |  | Deans-Smithburg 5020 + Deans 500-3 xfmr
|  |  | Tanyard - Preston 6716 69kV |  | Indian River - Milford 23069 230kV |  | 1446-2010
2000-06-05 | N/A | No
2000-06-06 | N/A | Yes | Bridgeville-Greenwood 6738 69kV |  | North Seaford-South Harrington 13771 138kV |  | 2131-2244
2000-06-07 | Yes | Yes | Oak Hall-Pocomoke 6787 69kV |  | Oakhall - Piney Grove 138kV |  | 0751-0838;0842-1025
|  |  | Oak Hall-Pocomoke 6787 69kV |  | New Church - Piney Grove 13764 138kV |  | 1025-1400
|  |  | Church - I.B. Corners 6710 69kV |  | Church - Steele 13701 138kV |  | 1430-1916
2000-06-08 | Yes | Yes | Easton - Steele 13712 138kV |  | Surrogate - voltage |  | 1130-1446
|  |  | Church - I.B. Corners 6710 69kV |  | Church - Steele 13701 138kV |  | 1446-1852
2000-06-09 | Yes | Yes | Vienna - Vienna Local 6702 69kV |  | Easton AT-1 138/69kV xfmr |  | 0906-1346
|  |  | Wyemills - Centreville 6710 69kV |  | Surrogate - Voltage |  | 1317-thru(0042)
|  |  | Eastern Transfers |  | Reactive |  | 1427-1648
2000-06-10 | Yes | Yes | Wyemills AT-2 138/69kV xfmr |  | Steele - Milford 23076 230kV |  | 0855-2200
|  |  | Eastern Transfers |  | Reactive |  | 0930-2116
|  |  | Cedar Creek - Red Lion 23030 230kV |  | Steele - Milford 23076 230kV |  | 0945-1324
|  |  | Western Transfers (Volt) |  | Reactive |  | 1422-1751
2000-06-11 | Yes | Yes | Talbot - Tanyard 6716 69kV |  | Church - Steele 13701 138kV |  | 0820-1021
|  |  | Western Transfers (Volt) |  | Reactive |  | 0908-1641; 1904-2155
|  |  | Vienna - Vienna Local 6702 69kV |  | Church - Steele 13701 138kV |  | 0934-1240;1406-2235
|  |  | Eastern Transfers |  | Reactive |  | 1007-2138
|  |  | Lewis - Motts 69kV |  | Sands Point - Cedar 0777 69kV |  | 1056-2205
|  |  | Talbot - Trappe Tap 6716 69kV |  | Steele - Milford 23076 230kV |  | 1217-2238
2000-06-12 | Yes | Yes | Vienna - Vienna Local 6702 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0720-1100
|  |  | Western Transfers |  | Voltage |  | 0821-1013
|  |  | Deans #3 500/230kV xfmr |  | Actual |  | 0902-1007
|  |  | DPL South |  | Reactive |  | 0942-1058
|  |  | Church - I.B. Corners 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 1058-2359
|  |  | Eastern Transfers |  | Reactive |  | 1058-1422
|  |  | Dickerson - Doubs 23102 230kV |  | Dickerson - Doubs 23101 230kV |  | 1423-1947
2000-06-13 | No | Yes | Hummelstown - Middletown Jct 230kV |  | Middletown Jct #2 230/115kV |  | 1042-thru 0029
|  |  | Deans-EWindsor-Salem 5022/1 500kV |  | Remove from service |  | 1908-2151
2000-06-14 | Yes | Yes | Hummelstown - Middletown Jct 230kV |  | Middletown Jct #1 230/115kV |  | 0744-1450
|  |  | Carrls Corner - Sherman 0739 69kV |  | Newport - S Millville 0762 69kV |  | 0834-1150
|  |  | Adams - Bennetts Lane X-2224 230kV |  | Branchburg-Deans 5019 + Deans #1 500/230kV xfmr |  | 0856-1210;1324-2245
2000-06-15 | Yes | Yes | Todd - Vienna 6702 69kV |  | Easton - Wyemills 6707 69kV |  | 1013-thru 0105
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1405-thru 0301
2000-06-16 | Yes | Yes | Eastern Transfers |  | Reactive |  | 0715-0807
|  |  | Vienna - Vienna Local 6702 69kV |  | Easton - Easton Tap 6707 69kV |  | 0751-1421
|  |  | Western Transfers |  | Reactive |  | 0817-2022
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0905-1132
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1132-2022
|  |  | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV |  | 1200-2336
|  |  | Centreville-Wyemills 6710 (reactive) |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 1421-thru 0156
|  |  | Cedar - Motts 0702 69kV |  | Sands Point - Cedar 0777 69kV + Cedar #1 xfmr |  | 1510-2004
2000-06-17 | Yes | Yes | Eastern Transfers |  | Reactive |  | 0743-2008
|  |  | Vienna - Vienna Local 6702 69kV |  | Easton - Easton Tap 6707 69kV |  | 0805-thru 0035
|  |  | Western Transfers |  | Reactive |  | 0857-1037
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1226-thru 0055
2000-06-18 | Yes | Yes | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0900-thru 0018
|  |  | Peach Bottom - Keeney 5014 500kV |  | Salem #1 Unit |  | 0949-1351
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1046-thru 0018
2000-06-19 | Yes | Yes | Centreville-Wyemills 6710 69kV |  | Church - Steele 13701 138kV |  | 0942-2145
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1038-2315
|  |  | Talbot - Tanyard 6716 69kV |  | Steele - Vienna 23085 230kV |  | 2145-2230
2000-06-20 | Yes | Yes | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 0921-1713
|  |  | Vienna - Vienna Local 6702 69kV |  | Church - Steele 13701 138kV |  | 1202-2321
|  |  | DPL South |  | Reactive |  | 1835-2026
2000-06-21 | Yes | Yes | Centreville-Wyemills 6710 69kV |  | Church - Steele 13701 138kV |  | 0647-0754
|  |  | Centreville-Church Hill 6710 69kV |  | Church - Steele 13701 138kV |  | 0754-0851
|  |  | Talbot - Tanyard 6716 69kV |  | Vienna AT-20 230/138kV transformer |  | 0806-1437
|  |  | Eastern Transfers |  | Reactive |  | 0921-1602
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 0929-2003
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0935-2333
|  |  | Deans #2 500/230kV xfmr |  | Deans #3 500/230kV xfmr |  | 1251-1909
|  |  | N Philadelphia-Waneeta 220-49 230kV |  | Plymouth Mtg-Whitemarsh-Pulaski 220-41 230kV |  | 1301-2138
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1422-thru 0029
2000-06-22 | Yes | Yes | Western Transfers |  | Reactive |  | 0807-0905
|  |  | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0822-thru 0028
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1016-1551
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1037-thru 0006
|  |  | Western Voltage |  | Reactive |  | 1152-1541
|  |  | N Philadelphia-Waneeta 220-49 230kV |  | Plymouth Mtg-Whitemarsh-Pulaski 220-41 230kV |  | 1406-2013
|  |  | Church - New Meredith 6704 69kV |  | Steele - Milford 23076 230kV |  | 2305-2337
2000-06-23 | Yes | Yes | Deans #2 500/230kV xfmr |  | Deans-Smithburg 5020 + Smithburg xfmr |  | 0825-2015
|  |  | Vienna - Vienna Local 6702 69kV |  | Church - Steele 13701 138kV |  | 0830-thru 0127
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0942-thru 0127
|  |  | Wanetta - Wayne Jct 220-42 230kV |  | N Philadelphia-Waneeta 220-49 230kV |  | 0945-1716
|  |  | Eastern Transfers |  | Reactive |  | 0953-1321
|  |  | Blairsville East - Social Hall 115kV |  | Keystone - Shelocta - Homer City 230kV |  | 1941-thru 0059
2000-06-24 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0834-thru 0315
|  |  | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0901-thru 0126
|  |  | Western Voltage |  | Reactive |  | 1120-1345
|  |  | Blairsville East - Social Hall 115kV |  | Keystone - Shelocta - Homer City 230kV |  | 1141-thru 0011
|  |  | Homer City - Shelocta 230kV |  | Johnstown #2 230/115kV xfmr |  | 1205-1522
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 1700-2215
2000-06-25 | N/A | Yes | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0840-1344
|  |  | Blairsville East - Social Hall 115kV |  | Keystone - Shelocta - Homer City 230kV |  | 0934-1853
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1041-1344
|  |  | Western Voltage |  | Reactive |  | 1126-2128
|  |  | Eastern Transfers |  | Reactive |  | 1201-2155
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 1229-thru 0017
|  |  | Vienna - Vienna Local 6702 69kV |  | Church - Steele 13701 138kV |  | 1405-thru 0017
|  |  | Center - Westport 115kV |  | Pumphrey - Westport 115kV |  | 1413-1843
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1933-2224
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 2214-thru 0017
2000-06-26 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0444-1547; 1613-2225
|  |  | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 138kV |  | 0649-0803
|  |  | Centreville-Church Hill 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0803-1542;1611-2354
|  |  | Vienna - Vienna Local 6702 69kV |  | Hillsboro - Steele 13761 138kV |  | 0823-0909
|  |  | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 0835-1028
|  |  | Eastern Transfers |  | Reactive |  | 0917-1554; 1657-2018
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0958-1412
|  |  | Western Transfers |  | Reactive |  | 1013-1227;1409-2117
|  |  | Church - I.B. Corners 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 1120-2354
|  |  | Dauphin - Juniata 1087 230kV |  | Cumberland-Juniata 2335 + Cumb #2 230/69kV xfmr |  | 1718-1930
|  |  | Eastville - Kellam 6750 69kV |  | Actual |  | 2310-2354
2000-06-27 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0129-thru 0139
|  |  | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 138kV |  | 0616-thru 0134
|  |  | Western Voltage |  | Reactive |  | 0805-1215
|  |  | Eastern Transfers |  | Reactive |  | 0905-1907
|  |  | Vienna - Vienna Local 6702 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 1014-1151
|  |  | Dickerson - Doubs 23101 230kV |  | Dickerson - Doubs 23102 230kV |  | 1527-1550
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1601-0003
2000-06-28 | Yes | Yes | Alburtis - Hosensack 230kV |  | Alburtis - Branchburg 5016 500kV |  | 0422-1111
|  |  | Centreville-Wyemills 6710 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 0712-thru 0037
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0716-thru 0119
|  |  | Eastern Transfers |  | Reactive |  | 0930-1805
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1408-2110
2000-06-29 | Yes | Yes | Edison - Brunswick H-1360 138kV |  | Sewaren - Deans S-2219 230kV |  | 0641-2145
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 0918-2358
|  |  | Indian River - Nelson 13703 138kV |  | Piney Grove AT20 230/138kV xfmr |  | 0949-2204
|  |  | Vienna - Vienna Local 6702 69kV |  | Church-Steele 13701 + Steele AT-20 230/138kV xfmr |  | 1041-2358
|  |  | Deans 500-2 500/230kV xfmr |  | Deans - Smithburg 5020 + Smithburg 500/230kV xfmr |  | 1220-1800
2000-06-30 | Yes | Yes | Talbot - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | 0811-thru 0048
|  |  | Centreville-Church Hill 6710 69kV |  | Piney Grove AT20 230/138kV xfmr (reactive) |  | 1115-2224
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1115-thru 0007
|  |  | Deans 500-2 500/230kV xfmr |  | Deans - Smithburg 5020 500kV |  | 1945-2219
Formulas:
Date = +[Date, row above]+1