## Off-Cost
| Percentage of correct off-cost operations projections Sept 2000: |  |  |  |  | 92.9% (26/28 2 days - no forecast given on OASIS)
Off-Cost Operations - Projection History September 2000
Date | Projected | Occurred |  | Facility | Contingency |  | Duration
2000-09-01 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0821-1211
|  |  | Lewis - Motts 0701 69kV |  | Cedar - Sands Point 0777 69kV |  | 1059-2339
2000-09-02 | Yes | Yes | Cedar - Motts 0702 69kV |  | Cedar - Sands Point 0777 69kV |  | 1002-thru 0108
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1302 & 1522
2000-09-03 | No | Yes | Lewis - Motts 0701 69kV |  | Cedar - Sands Point 0777 69kV |  | 1030-2305
2000-09-04 | No | Yes | Cedar - Motts 0702 69kV |  | Oyster Creek - Sands Point 230kV |  | 0947-2050
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 1515-2050
|  |  | Keeney AT-51 xfmr |  | Keeney AT-50 xfmr |  | 2049-2050
2000-09-05 | N/A | No
2000-09-06 | Yes | Yes | East Towanda Voltage |  | East Towanda #3 230/115kV xfmr (reactive) |  | 0539-thru 0227
|  |  | Red Lion AT-20 230/138kV xfmr |  | Harmony AT-20 230/138kV xfmr |  | 0858-2145
2000-09-07 | Yes | Yes | East Towanda Voltage |  | East Towanda #3 230/115kV xfmr (reactive) |  | 0526-thru 0129
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0823-2254
2000-09-08 | N/A | Yes | East Towanda Voltage |  | East Towanda #3 230/115kV xfmr (reactive) |  | 0548-1649
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0816-1218
|  |  | Branchburg-Reddington M-2265 230kV |  | Roseland - Whippany A-941 230kV |  | 1044-1129
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1538-2042
2000-09-09 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0953-1147
|  |  | Branchburg #2 500/230kV xfmr |  | Branchburg - Deans 5019 500kV |  | 1028-1240;1404-2026
2000-09-10 | Yes | Yes | Mardela - Vienna 6708 69kV |  | Loretto AT-1 138/69kV xfmr |  | 0930-1104
2000-09-11 | Yes | Yes | East Towanda Voltage |  | East Towanda #3 230/115kV xfmr |  | 0705-thru 1239
|  |  | Oak Hall - Hallwood 6790 69kV |  | Oak Hall - Tasley 6778 69kV (reactive) |  | 1426-1502
2000-09-12 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0724-1331
|  |  | Western Transfers |  | Reactive |  | 1014-1214
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1024-1239
|  |  | Lewis - Motts 0701 69kV |  | Oyster Creek - Sands Point 230kV |  | 1052-1331
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 1105-1239
|  |  | Burlington - Croydon 220-30 230kV |  | Cookstown - Lumberton T-2246 230kV |  | 1339-1745
|  |  | Western Transfers |  | Reactive |  | 1448-1751
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 2340-thru 1224
2000-09-13 | Yes | Yes | East Towanda Voltage |  | Reactive |  | 0647-1241
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0701-1241
|  |  | Western Transfers |  | Reactive |  | 0722-0915
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0739-1006
|  |  | Eastern Transfers |  | Reactive |  | 0849-1221
|  |  | Western Voltage |  | Reactive |  | 0915-1221
|  |  | Lewis - Motts 0701 69kV |  | Oyster Creek - Sands Point 230kV |  | 1011-2010
|  |  | Dauphin - Juniata 230kV |  | Conastone - Hunterstown 5013 500kV |  | 1214-1943
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1319-1353
|  |  | Western Voltage |  | Reactive |  | 1346-1508
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 1409-thru 0125
|  |  | East Towanda Voltage |  | Reactive |  | 1826-thru 1525
2000-09-14 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0826-thru 0234
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0848-1131
|  |  | Branchburg - Reddington M-2265 |  | Branchburg - Ramapo 5018 500kV |  | 1048-1150
|  |  | Alburtis - Hosensack 1073 230kV |  | Actual |  | 1121-1230
|  |  | Lewis - Motts 0701 69kV |  | Oyster Creek - Sands Point 230kV |  | 1231-1850
|  |  | Kittatiny - Newton T2298 230kV |  | Roseland - Whippany A-941 |  | 1420-2028
|  |  | Shieldalloy - Monroe 0711 69kV |  | Chambers - Churchtown 2313 230kV |  | 1427-1642
|  |  | Dauphin - Juniata 230kV |  | Conastone-Hunterstown-Conemaugh 5006/13 500kV |  | 1506-2028
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1520-1550
2000-09-15 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | College Road - South Harrington 13704 138kV |  | 0636-0814
|  |  | Eastern Transfers |  | Reactive |  | 0715-0926
|  |  | Western Voltage |  | Reactive |  | 0730-1410
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0841-2030
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0927-1122; 1400-1830
|  |  | Cheswold AT-1 138/69kV xfmr |  | College Road - South Harrington 13704 138kV |  | 1521-1700
|  |  | Western Transfers |  | Reactive |  | 1606-1815
|  |  | Cheswold AT-1 138/69kV xfmr |  | College Road - South Harrington 13704 138kV |  | 1850-2238
2000-09-16 | Yes | Yes | Roseland - Whippany A-941 230kV |  | Branchburg - Ramapo 5018 500kV |  | 0804-1219
|  |  | Trenton - Yardville 138kV |  | Burlington - Bustleton 138kV |  | 1004-1400
|  |  | Cheswold AT-1 138/69kV xfmr |  | College Road - South Harrington 13704 138kV |  | 1024-1703
|  |  | Bayonne - PVSC I-1335 138kV |  | Essex - Newark H-1308 138kV + Essex 11 xfmr |  | 1831-1938
|  |  | Roseland - Whippany A-941 230kV |  | Branchburg - Ramapo 5018 500kV |  | 1923-1941
2000-09-17 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1026-1555;1930-2036;2133-2321
|  |  | Cheswold AT-1 138/69kV xfmr |  | College Road - South Harrington 13704 138kV |  | 1943-2253
2000-09-18 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | College Road - South Harrington 13704 138kV |  | 0635-2241
|  |  | Towanda Area |  | Reactive |  | 0642-thru 9/21 1606
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0805-2222
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0951-1229
2000-09-19 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0611-2350
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0755-1952
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0817-2210
|  |  | Martins Creek - Siegfried 2 230kV |  | Martins Creek - Siegfried 1 230kV |  | 0827-1907
|  |  | Elroy - Branchburg 5017 500kV |  | Deans #2 500/230kV xfmr |  | 1200-1900
2000-09-20 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0610-0939
|  |  | Athenia - Saddlebrook Q-2217 230kV |  | Branchburg - Ramapo 5018 500kV |  | 0729-0939
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0737-2240
|  |  | Eastern Transfers |  | Reactive |  | 0923-1017
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1111-thru 0048
|  |  | Cedar |  | Reactive |  | 1147-1748
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 1152-2240
|  |  | Edison - Brunswick H-1360 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1429-2240
|  |  | Falls - U.S. Steel 130-26 138kV |  | Byberry - Woodbourne 220-22 230kV |  | 1434-2110
|  |  | Gloucester 220-4 230/138kV xfmr |  | New Freedom - Silverlake C-2255 230kV |  | 1534-2231
|  |  | Glade Tap - Lewis Run 230kV |  | Forest #1 230/115kV xfmr |  | 1624-2037
|  |  | Athenia - Saddlebrook Q-2217 230kV |  | Branchburg - Ramapo 5018 500kV |  | 1927-2117
|  |  | Monroe #3 230/138kV xfmr |  | Chambers - Churchtown 2313 230kV |  | 1953-2053
2000-09-21 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0520-2343
|  |  | Western Voltage |  | Reactive |  | 0749-1648
|  |  | Martins Creek - Siegfried 2 230kV |  | Lackawanna - Peckville 230kV |  | 0931-1026
|  |  | Bluegrass - Foxchase 130-33 138kV |  | North Wales - Warrington 220-58 230kV |  | 1054-1232; 1236-2027
2000-09-22 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0811-2342
|  |  | Shieldalloy - Monroe 0711 69kV |  | Chambers - Churchtown 2313 230kV |  | 1159-2158
2000-09-23 | Yes | Yes | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0923-2013
|  |  | Edgemoor - Harmony 23012 230kV |  | Hope Creek - Red Lion 5015 500kV |  | 0957-1033;1357-2350
2000-09-24 | Yes | Yes | Edgemoor - Harmony 23012 230kV |  | Hope Creek - Red Lion 5015 500kV |  | 0837-2330
|  |  | Cheswold AT-1 138/69kV xfmr |  | Chambers - Churchtown 2313 230kV |  | 0948-2330
2000-09-25 | Yes | Yes | Edgemoor - Harmony 23012 230kV |  | Hope Creek - Red Lion 5015 500kV |  | 0651-1455
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0711-1840
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0847-1023
|  |  | Branchburg - Reddington M-2265 |  | Branchburg - Ramapo 5018 500kV |  | 1023-1840
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 2010-2247
2000-09-26 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0525-0633; 1022-1246
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 0649-1242; 1443-2321
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0859-1221
2000-09-27 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0853-2306
|  |  | Alburtis - Hosensack 1073 230kV |  | Alburtis - Branchburg 5016 500kV |  | 1044-1735
|  |  | Martins Creek - Siegfried 2 230kV |  | Martins Creek - Siegfried 1 230kV |  | 1045-1605
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1414-2306
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1441-1706
|  |  | Montville - Roseland E2205 230kV |  | Roseland - Whippany A-941 230kV |  | 1706-2306
2000-09-28 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0606-1734
|  |  | Martins Creek - Siegfried 2 230kV |  | Martins Creek - Siegfried 1 230kV |  | 0827-1301
|  |  | Shieldalloy - Monroe 0711 69kV |  | Sherman - Union 1414 138kV |  | 1241-1534
|  |  | Glasgow - Mt Pleasant 13808 138kV |  | Cedar Creek - Red Lion 23030 230kV |  | 1353-2143
2000-09-29 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0649-1007
|  |  | Martins Creek - Siegfried 2 230kV |  | Martins Creek - Siegfried 1 230kV |  | 1007-1108
2000-09-30 | Yes | Yes | Montville - Roseland E2205 230kV |  | Roseland - Whippany A-941 230kV |  | 1909-1942
Formulas:
Date = +[Date, row above]+1