## Off-Cost
| Percentage of correct off-cost operations projections October 2000: |  |  |  |  | 85.2% (23/27 4 days - no forecast given on OASIS)
Off-Cost Operations - Projection History October 2000
Date | Projected | Occurred |  | Facility | Contingency |  | Duration
2000-10-01 | Yes | No
2000-10-02 | Yes | Yes | Crisfield - Kingston 6725 69kV |  | Kings Creek - Loretto 6703 69kV |  | 0841-1720
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1127-1237
|  |  | Edison - Meadow Road R-1318 138kV |  | Sewaren 220-1 230/138kV transformer |  | 1346-1637
2000-10-03 | N/A | Yes | Martins Creek - Siegfried 2 230kV |  | Martins Creek - Siegfried 1 230kV |  | 0950-1235
|  |  | East Towanda Voltage |  | Farmers Valley - Two Mile 115kV |  | 1030-1600
|  |  | Loretto - Piney Grove 13777 138kV |  | Indian River - Milford 23069 230kV |  | 1300-1333
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1624-1920
2000-10-04 | N/A | Yes | Eastern Transfers |  | Reactive |  | 0914-1002
2000-10-05 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0707-1103
|  |  | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1320-1407
|  |  | Vineland - Shieldalloy 0711 69kV |  | Chambers - Churchtown 2313 230kV |  | 1857-2011
2000-10-06 | Yes | Yes | Oak Hall - Tasley 6778 69kV |  | Oak Hall - Hallwood 6790 69kV (reactive) |  | 1342-1410; 1429-1505
2000-10-07 | Yes | No
2000-10-08 | No | No
2000-10-09 | Yes | No | Facerock - Five Forks 110901 115kV |  | Conastone - Safe Harbor - Manor 2302 230kV |  | 1035-1918
2000-10-10 | Yes | Yes | Facerock - Five Forks 110901 115kV |  | Conastone - Safe Harbor - Manor 2302 230kV |  | 1045-1607
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 1706-2220
2000-10-11 | Yes | Yes | Blairsville East - Social Hall 138kV |  | Homer City - Shelocta - Keystone 230kV |  | 0715-0813
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0852-2336
2000-10-12 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0531-2101
|  |  | Keystone - Shelocta 230kV |  | Ashtabula - Erie West 345kV |  | 0650-1242
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Piney Grove 13764 138kV |  | 0729-1826
|  |  | Keystone #4 500/230kV xfmr |  | Keystone #3 500/230kV xfmr |  | 1248-1530
|  |  | West Volt |  | Reactive |  | 1531-2154
2000-10-13 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0420-0610
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0705-1654
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Piney Grove 13764 138kV |  | 0715-1032
|  |  | Mount Olive - Piney Grove 6729 69kV |  | Oak Hall AT-1 138/69kV xfmr |  | 1032-1321
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1135-2009; 2311-2321
2000-10-14 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0820-thru 0012
|  |  | Farmers Valley - Two Mile 115kV |  | Actual |  | 0939-1609
|  |  | Eastern Transfers |  | Reactive |  | 1825-1911
2000-10-15 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1606-1937
|  |  | Eastern Transfers |  | Reactive |  | 1837-1937
|  |  | Limerick 4A 500/230kV xfmr |  | Cromby - Limerick 220-60 230kV |  | 1909-1949
|  |  | Cromby #5 230/69kV xfmr |  | Cromby - Perkiomen 220-62 230kV |  | 1958-2250
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 2114-thru 0019
2000-10-16 | Yes | Yes | Homer City S. Auto 345/230kV xfmr |  | Homer City - Wayne 345kV |  | 0612-thru 1358
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0628-1313
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0643-0750
|  |  | Cromby #5 230/69kV xfmr |  | Cromby - Perkiomen 220-62 230kV |  | 0729-1642
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Piney Grove 13764 138kV |  | 0917-0952
|  |  | Middletown - Morton 220-26 230kV |  | Actual |  | 0934-1110
|  |  | East Towanda Voltage |  | Reactive |  | 0957-2038
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Piney Grove 13764 138kV |  | 1009-2020
|  |  | Fruitland - North Salisbury 6701 69kV |  | Loretto 1-2-3 138/69kV xfmrs |  | 1405-1642
2000-10-17 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0419-1120
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Oak Hall 13765 138kV |  | 0705-0908
|  |  | West Volt |  | Keystone 500kV |  | 1013-1500
|  |  | Eastern Transfers |  | Reactive |  | 1724-1904
2000-10-18 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 2347-0041; 0534-0900
|  |  | Eastern Transfers |  | Reactive |  | 0639-0712; 1009-1046;1234-1638
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 1203-1710; 2013-2110
2000-10-19 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0018-1534
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0534-thru 0142
|  |  | East Towanda Voltage |  | Reactive |  | 1843-2159
2000-10-20 | N/A* | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0604-1455
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0757-1535; 1824-1910
2000-10-21 | Yes | Yes | East Towanda Voltage |  | Reactive |  | 0517-1825
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1458-1930
2000-10-22 | Yes | Yes | East Towanda Voltage |  | Reactive |  | 0410-1940
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0849-1224; 1739-1830
2000-10-23 | Yes | Yes | East Towanda Voltage |  | Reactive |  | 0605-1454
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0704-0751
|  |  | Plainsboro - Trenton D-1330 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0759-2259
2000-10-24 | Yes | Yes | Edgemoor - Harmony 23012 230kV |  | Peach Bottom - Keeney 5014 500kV |  | 0605-0653
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0645-0730
|  |  | Plainsboro - Trenton D-1330 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0929-2239
2000-10-25 | Yes | Yes | Plainsboro - Trenton D-1330 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0716-2245
|  |  | East Towanda Voltage (230kV) |  | Lackawanna-Oxbow-N Meshoppen-E Towanda 230kV |  | 0843-1106
|  |  | North Meshoppen #3 230/115kV xfmr |  | East Towanda #4 230/115kV xfmr |  | 1106-1504
|  |  | Cheswold AT-1 138/69kV xfmr |  | Dover Tap - South Harrington 13704 138kV |  | 1702-2141
|  |  | East Towanda Voltage |  | Reactive |  | 1755-2208
|  |  | Erie West - Erie South 345kV |  | Actual |  | 2341-0043
2000-10-26 | Yes | Yes | Oak Hall - Pocomoke 6787 69kV |  | Loretto 1-2-3 138/69kV xfmrs |  | 0923-1454
|  |  | Plainsboro - Trenton D-1330 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0941-thru 2100
|  |  | North Meshoppen #3 230/115kV xfmr |  | East Towanda #4 230/115kV xfmr |  | 0950-thru 2353
|  |  | Bayway - Linden Z1352 138kV |  | Bayway - Doremus Place Q1369 138kV |  | 1400-1549
2000-10-27 | N/A | Yes | Martins Creek - Siegfried 2 230kV |  | Martins Creek - Siegfried 1 230kV |  | 0200-0548
2000-10-28 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0939-1345
|  |  | Plainsboro - Trenton D-1330 138kV |  | Sewaren 220-1 230/138kV transformer |  | 0950-1902; 1938-2021
2000-10-29 | Yes | No
2000-10-30 | Yes | Yes | North Meshoppen |  | Reactive |  | 0834-2342
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 1015-1222; 1606-1816
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Piney Grove 13764 138kV |  | 1058-1132
2000-10-31 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0622-1948
|  |  | Mount Olive - Piney Grove 6729 69kV |  | New Church - Piney Grove 13764 138kV |  | 0919-1001
Formulas:
Date = +[Date, row above]+1