## Off-Cost
| Percentage of correct off-cost operations projections December 2000: |  |  |  |  | 85.2% (23/27 4 days - no forecast given on OASIS)
Off-Cost Operations - Projection History December 2000
Date | Projected | Occurred |  | Facility | Contingency |  | Duration
2000-12-01 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1205-1503
2000-12-02 | Yes | Yes | East Towanda |  | Reactive |  | 0703-1326
|  |  | Erie West #1 345/115kV xfmr |  | Wayne - Erie West 345kV |  | 0739-0930; 2311-thru 0536
2000-12-03 | Yes | Yes | Bayonne-Passaic Valley I-1335 138kV |  | Linden - Bayway + Essex - Newark 138kV |  | 0119-0600
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0034-0300; 1551-1948
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0807-1114
|  |  | Bayonne-Passaic Valley I-1335 138kV |  | Essex - Newark 138kV |  | 1206-2135
2000-12-04 | Yes | Yes | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0414-1137
|  |  | Brunner Island - West Hempfield 230kV |  | Conastone #3 500/230kV xfmr |  | 0516-0604
|  |  | Fruitland - Loretto 6711 69kV |  | Loretto 1 138/69kV xfmrs |  | 0749-0855
2000-12-05 | Yes | Yes | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0728-1026
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0927-1049; 1423-1917
2000-12-06 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0330-0410; 0451-0947
|  |  | Branchburg - Reddington M-2265 |  | Branchburg - Ramapo 5018 500kV |  | 0410-0451
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0624-0947; 1955-2347
|  |  | Brunner Island - West Hempfield 230kV |  | Conastone #3 500/230kV xfmr * |  | 0725-1044; 1127-1600
|  |  | Conastone #3 500/230kV xfmr |  | Brighton - Conastone 5011 500kV |  | 0747-0816
2000-12-07 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0050-0414
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0500-0542
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0823-1145
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0919-1104
|  |  | Clifton - Cedar Grove K2263 |  | Cedar Grove - Roseland B2228 230kV |  | 1523-1830
2000-12-08 | N/A | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0600-1108
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0609-0737
|  |  | Clifton - Cedar Grove K2263 |  | Cedar Grove - Roseland B2228 230kV |  | 0928-1342
|  |  | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 1210-1436
2000-12-09 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0255-0557
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0707-1016
|  |  | Alburtis - Hosensack 1073 230kV |  | Alburtis-Hosensack + Alburtis-Branchburg 500kV |  | 1646-1710
2000-12-10 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0001-0003; 0009-0201
|  |  | Erie South - Erie West 345kV |  | Millstone #3 gen |  | 0201-0611
|  |  | Eastern Transfers |  | Reactive |  | 0829-1322; 1620-1755
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0858-0930
2000-12-11 | N/A | Yes | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0659-1058
2000-12-12 | Yes | Yes | Erie West #1 345/115kV xfmr |  | Erie West - Erie South 345kV |  | 0010-0155
|  |  | North Meshoppen #3 230/115kV xfmr |  | East Towanda #4 230/115kV xfmr |  | 0244-0431
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0303-0431
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0639-0715; 2139-2215
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0657-1043; 2128-0040
|  |  | Clifton - Cedar Grove K2263 |  | Cedar Grove - Roseland B2228 230kV |  | 0811-1220
|  |  | Hummelstown - Middletown Jct |  | Brunner Island - West Shore 230kV |  | 0914-2310
|  |  | Athenia - Saddlebrook Q2217 |  | Branchburg - Ramapo 5018 500kV |  | 2223-0020
2000-12-13 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0020-0203; 0605-0821; 1324-1522
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0413-1000; 1839-2216
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0444-0530; 0645-0723
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 1722-1723; 2016-2058
2000-12-14 | N/A | Yes | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0650-0729
|  |  | Alburtis - Hosensack 1073 230kV |  | Alburtis - Branchburg 5016 500kV |  | 0815-1530
|  |  | Blue Grass - Fox Chase 130-33 138kV |  | Burlington - Croydon 220-30 230kV |  | 1038-0105
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1110-1806
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 1737-1816
2000-12-15 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0000-0230
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0540-0618; 0736-0945
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1031-1415; 1608-1733
2000-12-16 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 2355-0302; 0655-1018; 1151-1249
|  |  | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 1640-2115; 2213-thru 0221
|  |  | East Towanda |  | Reactive |  | 1700-2031
2000-12-17 | Yes | Yes | Cedar Grove - Roseland F2206 230kV |  | Cedar Grove - Roseland B2228 230kV |  | 0627-0740
2000-12-18 | Yes | Yes | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0526-0917
|  |  | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0529-0630; 1750-1840
2000-12-19 | N/A | Yes | Oak Hall - Pocomoke 6787 69kV |  | Piney Grove - New Church 13764 138kV |  | 0615-0642; 0731-1011
|  |  | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 1430-1551
|  |  | Mill - Scull 1407 138kV |  | England - Scull 1408 138kV |  | 1530-2200
2000-12-20 | Yes | Yes | Mount Olive - Piney Grove 6729 69kV |  | Oak Hall AT1 138/69kV xfmr |  | 0857-1102
|  |  | TMI - Middletown Jct 1091 230kV |  | TMI - Middletown Jct 1092 230kV |  | 1659-2032
2000-12-21 | Yes | Yes | Cly - Collins 975 115kV |  | Hunterstown - Gardners 99192 115kV |  | 0704-0900
|  |  | Lewis - Motts 701 69kV |  | Sands Point - Cedar 0777 69kV |  | 0919-1012
2000-12-22 | Yes | No
2000-12-23 | Yes | No
2000-12-24 | Yes | Yes | Shieldalloy - Vineland 0711 69kV |  | New Freedom - Cardiff 2310 230kV |  | 1738-2017
2000-12-25 | No | Yes | Bridgeville - Greenwood 6738 69kV |  | Indian River - Milford 23069 230kV |  | 0654-1019
2000-12-26 | Yes | Yes | Church AT2 138/69 xfmr |  | Red Lion - Cedar Creek 23030 230kV |  | 0603-1147; 1735-2010
|  |  | Shieldalloy - Vineland 0711 69kV |  | New Freedom - Cardiff 2310 230kV |  | 0629-0917
2000-12-27 | Yes | Yes | Church AT2 138/69 xfmr |  | Red Lion - Cedar Creek 23030 230kV |  | 0709-1157
2000-12-28 | Yes | Yes | Hunterstown #2 230/115kV xfmr |  | Conastone #2 500/230kV xfmr |  | 0656-0856
|  |  | Church AT2 138/69 xfmr |  | Red Lion - Cedar Creek 23030 230kV |  | 0806-1011
|  |  | Monroe - Shieldalloy 0711 69kV |  | Cardiff - Newfreedom 2310 + Cardiff 1&2 xfmrs |  | 1607-1702
|  |  | Monroe #3 230/138kV xfmr |  | Cardiff-Newfreedom,Cardf-Corson,Cardf-Absecon |  | 1725-1807
|  |  | Monroe #3 230/138kV xfmr |  | Cardiff-Newfreedom,Cardf-Corson,OntTp-Absecon |  | 1849-2302
2000-12-29 | Yes | Yes | Talbot - Trappe Tap 6716 69kV |  | Indian River - Milford 23069 230kV |  | 0339-1011
2000-12-30 | Yes | No
2000-12-31 | Yes | Yes | Indian River AT-20 230/138kV xfmr |  | Indian River-Piney Grove 23002 + Piney Grv AT20 |  | 0951-1115
|  |  | Monroe - Shieldalloy 0711 69kV |  | Cardiff-Newfreedom,Cardf-Corson,OntTp-Absecon |  | 1537-1632; 2015-2150
Formulas:
Date = +[Date, row above]+1