## nov01
Percentage of correct off-cost operations projections November 2001: 80.0% (24/30 0 days - no forecast given on OASIS)
Off-Cost Operations - Projection History November 2001
Date | Projected | Occurred | Facility | Contingency | Begin Time | End Time | Begin Time | End Time
2001-11-01 | Yes | Yes | Keeney AT50 500/230kV xfmr | Red Lion AT50 500/230kV xfmr | 5:30 | 15:30 | 16:15 | 21:33
|  |  | S Lebanon - S Reading 1074 230kV | S Manheim - Brunner Island 230kV | 7:06 | 7:52
|  |  | Branchburg - Readington M2265 230kV | Branchburg - Ramapo 5018 500kV | 7:51 | 16:34
|  |  | Carlisle Pike - Gardners 115kV | Gardners - Hunterstown 115kV | 8:18 | 15:30
|  |  | Monroe #3 230/138kV xfmr | New Freedom - Cardiff 2310 230kV | 9:49 | 10:17 | 16:51 | 19:54
|  |  | Shieldalloy - Vineland 0711 69kV | Monroe-Mickleton 230kV + Monroe xfmr | 10:17 | 13:01
|  |  | Laurel - Woodstown 0740 69kV | Cumberland #1 230/138kV xfmr | 11:02 | 13:00 | 13:24 | 15:10
|  |  | Laurel - Woodstown 0740 69kV | Cumberland #1 230/138kV xfmr | 19:55 | 22:21
|  |  | Martins Creek - Siegfried #2 230kV | Martins Creek - Siegfried #1 230kV | 22:41 | 23:44
2001-11-02 | Yes | Yes | Branchburg - Readington M2265 230kV | Branchburg - Ramapo 5018 500kV | 6:32 | 19:24
|  |  | Keeney AT50 500/230kV xfmr | Red Lion AT50 500/230kV xfmr | 7:05 | 21:32
|  |  | TMI #1 500/230kV xfmr | Brunner Island #3 | 8:10 | 15:11
|  |  | Monroe #3 230/138kV xfmr | New Freedom - Cardiff 2310 230kV | 10:47 | 11:19 | 12:15 | 13:36
|  |  | Alburtis - Branchburg 5016 500kV | Limerick - Peach Bottom 5010 500kV | 11:22 | 15:01
|  |  | Cumberland - Juniata 2235 230kV | Juniata - Dauphin 1087 230kV | 14:08 | 18:12
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 14:37 | 15:31
|  |  | Monroe #3 230/138kV xfmr | Chambers - Churchtown 2313 230kV | 17:25 | 17:52
|  |  | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 21:31 | 23:09
2001-11-03 | Yes | Yes | Cedar Grove - Roseland F2206 230kV | Cedar Grove - Roseland B2228 230kV | 8:51 | 12:48
|  |  | Cedar Grove - Roseland F2206 230kV | Cedar Grove - Roseland B2228 230kV | 16:32 | 18:15
|  |  | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 17:28 | 19:58
|  |  | Cedar Grove - Roseland F2206 230kV | Cedar Grove - Roseland B2228 230kV | 19:26 | 19:59
2001-11-04 | Yes | Yes | Cedar Grove - Roseland F2206 230kV | Cedar Grove - Roseland B2228 230kV | 17:02 | 17:28
2001-11-05 | Yes | Yes | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 6:15 | 19:50
|  |  | Clifton - Cedar Grove K2263 230kV | Cedar Grove - Roseland B2228 230kV | 15:32 | 17:40
|  |  | Western Transfers | Reactive | 23:43 | 23:45
2001-11-06 | Yes | Yes | Fruitland - N Salisbury 6701 69kV | Piney Grove AT20 230/138kV xfmr | 9:15 | 0:40
2001-11-07 | Yes | Yes | Fruitland - N Salisbury 6701 69kV | Piney Grove AT20 230/138kV xfmr | 5:08 | 2:45
|  |  | Keeney AT50 500/230kV xfmr | Keeney AT51 500/230kV xfmr | 10:56 | 13:00 | 16:03 | 18:50
|  |  | Western Transfers | Reactive | 16:49 | 19:09
2001-11-08 | Yes | Yes | Mt Hermon - N Salisbury 6726 69kV | Piney Grove AT20 230/138kV xfmr | 4:48 | 17:47
|  |  | Western Transfers | Reactive | 11:49 | 13:55 | 17:34 | 19:09
2001-11-09 | Yes | Yes | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 8:40 | 11:39
|  |  | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 16:08 | 16:58
2001-11-10 | Yes | No
2001-11-11 | Yes | No
2001-11-12 | Yes | Yes | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 6:04 | 6:35 | 6:48 | 15:29
|  |  | Edgemoor - Harmony 23012 230kV | Keeney - Peach Bottom 5014 500kV | 8:12 | 14:51 | 15:55 | thru
2001-11-13 | Yes | Yes | Delco Tap - Trainer 22038 230kV | Keeney - Peach Bottom 5014 500kV | 6:27 | 7:21
|  |  | Delco Tap - Trainer 22038 230kV | Keeney - Peach Bottom 5014 500kV | 13:42 | 13:55
2001-11-14 | Yes | Yes | Edgemoor - Harmony 23012 230kV | Keeney - Peach Bottom 5014 500kV | thru | 12:00 | 12:49 | 13:55
|  |  | Edgemoor - Harmony 23012 230kV | Keeney - Peach Bottom 5014 500kV | 14:34 | 22:53
|  |  | Delco Tap - Mickleton 22038 230kV | Keeney - Peach Bottom 5014 500kV | 6:59 | 11:09
|  |  | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 7:43 | 8:28
|  |  | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 9:01 | 9:10
|  |  | Seward #9 230/115kV xfmr | Johnstown #2 230/115kV xfmr | 22:02 | 22:40
2001-11-15 | Yes | Yes | Edgemoor - Harmony 23012 230kV | Keeney - Peach Bottom 5014 500kV | 5:01 | 20:57
|  |  | Eastern Transfers | Reactive | 6:31 | 6:51
|  |  | Seward #9 230/115kV xfmr | Johnstown #2 230/115kV xfmr | 7:13 | 15:12 | 15:44 | 21:31
2001-11-16 | Yes | Yes | Seward #9 230/115kV xfmr | Johnstown #2 230/115kV xfmr | 7:02 | 8:10
|  |  | Saxton - Three Springs 1062 115kV | Altoona - Johnstown 2012 230kV | 8:03 | 8:25
|  |  | Altoona - Johnstown 2012 230kV | Homer City - Watercure Rd 345kV | 9:36 | 11:37
|  |  | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 9:57 | 19:24
|  |  | Seward #9 230/115kV xfmr | Johnstown #2 230/115kV xfmr | 11:37 | 20:12
2001-11-17 | Yes | No
2001-11-18 | No | No
2001-11-19 | Yes | Yes | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 11:20 | 12:40
|  |  | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 14:21 | 18:28
2001-11-20 | Yes | No
2001-11-21 | Yes | Yes | Monroe - Shieldalloy 0711 69kV | Chambers - Churchtown 2313 230kV | 17:00 | 18:14
2001-11-22 | No | No
2001-11-23 | Yes | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 16:38 | 19:02
2001-11-24 | No | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 16:30 | 20:22
2001-11-25 | No | Yes | Shieldalloy - Vineland 0711 69kV | Chambers - Churchtown 2313 230kV | 16:48 | 19:35
2001-11-26 | Yes | Yes | Cheswold AT1 138/69kV xfmr | South Harrington - College Rd 138kV | 13:19 | 15:47
2001-11-27 | Yes | Yes | Fruitland - N Salisbury 6701 69kV | Vienna - Loretto 13780 138kV | 9:27 | 23:04
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 17:21 | 21:06
2001-11-28 | Yes | Yes | Mt Hermon - N Salisbury 6726 69kV | Vienna - Loretto 13780 138kV | 6:13 | 22:47
|  |  | Seward #9 230/115kV xfmr | Johnstown #2 230/115kV xfmr | 9:13 | 14:54
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 15:03 | 19:55
2001-11-29 | Yes | Yes | Mt Hermon - N Salisbury 6726 69kV | Vienna - Loretto 13780 138kV | 6:18 | 17:16
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 6:10 | 3:42
2001-11-30 | Yes | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 6:15 | 9:17 | 13:10 | 15:40
|  |  | Milford - S Harrington 13774 138kV | Indian River - Milford 23069 230kV | 11:54 | 16:59
|  |  | Shieldalloy - Vineland 0711 69kV | Bridgeport - Pedrickton 230kV | 18:54 | 20:22
Formulas:
Date = +[Date, row above]+1