## mar
Percentage of correct off-cost operations projections March 2002: 83.3% (25/30 1 day - no forecast given on OASIS)
Off-Cost Operations - Projection History March 2002
Date | Projected | Occurred | Facility | Contingency | Begin Time | End Time | Begin Time | End Time
2002-03-01 | No | Yes | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 6:30 | 7:20
2002-03-02 | No | No
2002-03-03 | No | No
2002-03-04 | Yes | No
2002-03-05 | No | Yes | Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 6:57 | 10:28
|  |  | Brunner Island - West Hempfield 230kV | South Akron - South Manheim 230kV | 8:12 | 10:38
|  |  | Cromby #4 138/69kV xfmr | Cromby - Perkiomen 138kV | 9:30 | 15:20
|  |  | East Towanda #3 230/115kV xfmr | East Towanda #4 230/115kV xfmr | 17:22 | 22:21
|  |  | West Volt | Reactive | 18:15 | 18:40
2002-03-06 | Yes | Yes | East Towanda #3 230/115kV xfmr | East Towanda #4 230/115kV xfmr | 18:23 | 18:47
2002-03-07 | Yes | Yes | Hosensack - N Temple 230kV | Hosensack - North Boyertown 230kV | 11:03 | 11:47
|  |  | Edison - Meadow Rd 138kV | Actual | 11:30 | 15:50
2002-03-08 | Yes | Yes | Shieldalloy - Vineland 69kV | Monroe #3 230/138kV xfmr | 21:57 | 23:11
2002-03-09 | Yes | No
2002-03-10 | Yes | Yes | Cheswold AT-1 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 18:00 | 19:24
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 19:50 | 0:14
2002-03-11 | Yes | Yes | Cheswold AT-1 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 1:14 | 5:57
|  |  | Church AT2 138/69kV xfmr | Cedar Creek - Red Lion 23030 230kV | 5:57 | 7:20
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 0:36 | 5:06
|  |  | Western Transfers | Reactive | 18:05 | 18:40
|  |  | East Towanda #3 230/115kV xfmr | East Towanda #4 230/115kV xfmr | 18:25 | 21:31
|  |  | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 23:25 | 5:00
2002-03-12 | Yes | Yes | Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 7:05 | 20:36
2002-03-13 | Yes | Yes | Western Transfers | Reactive | 6:32 | 6:48 | 9:15 | 13:45
|  |  | East Towanda #3 230/115kV xfmr | East Towanda #4 230/115kV xfmr | 7:33 | 8:14 | 12:44 | 13:58
|  |  | Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 8:14 | 12:44 | 16:54 | 21:20
|  |  | West Volt | Reactive | 13:45 | 19:10
|  |  | Central Transfers | Reactive | 18:00 | 18:49
2002-03-14 | Yes | Yes | Western Transfers | Reactive | 6:16 | 7:58 | 12:21 | 13:17
2002-03-15 | Yes | Yes | East Towanda #3 230/115kV xfmr | East Towanda #4 230/115kV xfmr | 9:04 | 11:36
|  |  | Western Transfers | Reactive | 10:18 | 12:20
2002-03-16 | No | No | None
2002-03-17 | No | No | None
2002-03-18 | Yes | Yes | East Towanda #3 230/115kV xfmr | East Towanda #4 230/115kV xfmr | 6:40 | 8:15
|  |  | West Volt | Reactive | 6:59 | 16:08 | 16:47 | 20:38
|  |  | Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 8:15 | 14:00 | 17:41 | 21:13
2002-03-19 | Yes | Yes | West Volt | Reactive | 5:06 | 6:52 | 11:03 | 15:41
|  |  | West Volt | Reactive | 17:25 | 19:29 | 23:10 | 37334.0111
2002-03-20 | N/A | Yes | Erie West #1 345/115kV xfmr | Erie South - Erie West 345kV | 0:16 | 0:19 | 17:10 | 18:21
|  |  | Western Transfers | Reactive | 5:15 | 7:33
|  |  | Tiffany - Goudey 115kV | East Towanda #3 230/115kV xfmr | 7:32 | 8:09
|  |  | West Volt | Reactive | 7:33 | 23:59
2002-03-21 | No | No
2002-03-22 | No | No
2002-03-23 | No | No
2002-03-24 | No | No
2002-03-25 | No | No
2002-03-26 | No | No
2002-03-27 | No | No
2002-03-28 | No | No
2002-03-29 | No | No
2002-03-30 | No | No
2002-03-31 | No | Yes | Monroe - Shieldalloy 69kV | New Freedom - Cardiff 230kV | 11:15 | 13:40 | 17:52 | 21:43
Formulas:
Date = +[Date, row above]+1