## PJME
Off-Cost Operations - June 2004
Date | Facility | Contingency | Begin Time | End Time
2004-06-01 | Cedar Interface | Reactive | 9:16 | 14:00
| Loretto - Piney Grove 138kV | Piney Grove AT20 230/138kV xfmr | 10:23 | 13:03
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 11:11 | 18:05
| Mount Olive - Piney Grove 69kV | New Church - Piney Grove 138kV | 13:03 | 16:35
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 13:53 | 18:05
2004-06-02 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 6:38 | 7:19
| Beckett - Paulsboro 69kV | Chambers - Churchtown 230kV | 6:46 | 8:50
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 7:00 | 21:00
| Cedar Interface | Reactive | 8:01 | 19:42
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 9:45 | 21:00
| Eastern Transfers | Reactive | 10:10 | 11:40
2004-06-03 | Cedar Interface | Reactive | 7:06 | 17:53
| Mount Olive - Piney Grove 69kV | New Church - Piney Grove 138kV | 9:06 | 11:01
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 10:05 | 21:58
| Mount Olive - Piney Grove 69kV | New Church - Piney Grove 138kV | 11:01 | 15:00
2004-06-04 | Cedar Interface | Reactive | 7:20 | 17:05
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 9:10 | 15:05
| Blue Plains - Palmers Corner 230kV | Burchess Hill - Palmers Corner 230kV | 9:32 | 10:52
| Mount Olive - Piney Grove 69kV | New Church - Piney Grove 138kV | 14:05 | 14:25
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 20:49 | 22:07
2004-06-05 | Lewis - Motts 69kV | Lewis - Motts 69kV | 8:19 | 9:01
2004-06-06 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:50 | 4:00
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 8:25 | 9:28
| Cedar Interface | Reactive | 9:00 | 9:24
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 9:28 | 18:23
2004-06-07 | Cedar Interface | Reactive | 7:04 | 7:42
| Cedar Interface | Reactive | 12:42 | 13:05
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 15:50 | 16:18
| Lewis - Motts 69kV | Lewis - Motts 69kV | 18:19 | 19:53
| Emilie - Falls 138kV | Salem - East Windsor 500kV | 20:05 | 22:10
| Pleasant Valley - Buckingham 230kV | Salem - East Windsor 500kV | 20:23 | 22:10
2004-06-08 | Cedar Interface | Reactive | 7:11 | 9:00
| Churchtown #1 230/69kV xfmr | Mickleton - Bridgeport 230kV | 9:55 | 12:01
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 11:05 | 23:03
| Cedar Interface | Reactive | 11:50 | 12:52
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 15:21 | 19:55
| Cedar Interface | Reactive | 22:08 | 2004-05-09 00:19
2004-06-09 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 1:24 | 3:10
| Cedar Interface | Reactive | 7:46 | 23:59
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 9:45 | 22:20
| Jackson #5 230/115kV xfmr | Hunterstown 230/115kV xfmr | 10:30 | 22:15
| East Towanda - South Troy 115kV | Actual | 11:19 | 13:38
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:06 | 15:40
| Gilbert - Morris Park 230kV | Martins Creek - Portland 230kV | 13:46 | 16:24
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 15:40 | 23:39
| Hudson #2 230/138kV xfmr | Bergen CC | 18:32 | 21:20
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 23:17 | 2004-05-10 00:10
2004-06-10 | Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 1:48 | 3:15
| Branchburg #1 500/230kV xfmr | Actual | 1:48 | 5:02
| Tyrone North - Westfall 115kV | Actual | 2:16 | 6:09
| Garman - Glory 115kV | Glade - Warren 230kV | 2:16 | 6:09
| Cedar Interface | Reactive | 5:33 | 18:44
| Kittatinny - Portland 230kV | Bushkill 230kV Tap | 6:15 | 6:56
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 6:51 | 21:11
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 10:16 | 20:32
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 10:37 | 13:20
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 11:04 | 16:20
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 13:45 | 19:30
| England - Middle Tap 138kV | Cumberland - Churchtown 230kV | 16:20 | 17:55
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 17:55 | 19:09
2004-06-11 | Lewis - Motts 69kV | Lewis - Motts 69kV | 9:02 | 9:32
2004-06-12 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 11:44 | 12:35
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 15:35 | 17:28
| Tyrone North - Westfall 115kV | Actual | 22:13 | 2004-06-13 02:18
| Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 22:16 | 2004-06-13 01:48
2004-06-13 | Lewis - Motts 69kV | Lewis - Motts 69kV | 9:25 | 16:13
| Cedar Interface | Reactive | 16:13 | 16:55
| Tyrone North - Westfall 115kV | Actual | 22:57 | 2004-06-14 08:16
2004-06-14 | Cedar Interface | Reactive | 7:35 | 16:10
| North Hanover - Jackson 230kV | Hunterstown #2 230/115kV xfmr | 12:30 | 13:30
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 15:30 | 18:44
| Brunner Island - Yorkana 230kV | Conastone - Peach Bottom 500kV | 16:44 | 17:52
2004-06-15 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 4:52 | 5:31
| Cedar Interface | Reactive | 8:30 | 8:56
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 9:35 | 23:41
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 9:54 | 14:00
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 11:50 | 18:43
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:04 | 21:39
| Conastone #3 500/230kV xfmr | Conastone #2 500/230kV xfmr | 14:25 | 15:39
| Hudson #2 230/138kV xfmr | Bergen CC | 14:47 | 16:13
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 15:10 | 15:20
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 15:32 | 18:34
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 15:35 | 18:18
| North Philadelphia - Waneeta 230kV | Whitpain - Whitemarsh - Jenkintown 230kV | 15:50 | 18:21
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 16:02 | 19:00
| Bair - Hill 115kV | Yorkana - Yoe - Windsor 115kV | 16:16 | 21:37
| Hudson #2 230/138kV xfmr | Bergen CC | 17:28 | 19:20
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 23:41 | 2004-06-16 01:18
2004-06-16 | Tyrone North - Westfall 115kV | Actual | 0:25 | 5:41
| Branchburg #1 500/230kV xfmr | Actual | 1:18 | 3:05
| Lewis - Motts 69kV | Lewis - Motts 69kV | 6:54 | 15:22
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 7:58 | 21:05
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 8:40 | 11:12
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 11:50 | 19:45
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 12:25 | 19:45
| Bair - Hill 115kV | Yorkana - Yoe - Windsor 115kV | 17:02 | 18:50
2004-06-17 | Tyrone North - Westfall 115kV | Actual | 2:59 | 6:02
| Cedar Interface | Reactive | 6:40 | 22:10
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 9:22 | 11:48
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 9:33 | 21:32
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 10:46 | 19:57
| England - Middle Tap 138kV | Cumberland - Churchtown 230kV | 11:24 | 19:44
| Bair - Hill 115kV | Yorkana - Yoe - Windsor 115kV | 12:40 | 15:50
| North Philadelphia - Waneeta 230kV | Whitpain - Whitemarsh - Jenkintown 230kV | 14:20 | 16:36
| Hudson #2 230/138kV xfmr | Bergen CC | 16:25 | 16:50
| Dupont Seaford - Laurel 69kV | Vienna AT20 230/138kV xfmr | 16:38 | 20:05
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 16:51 | 19:21
2004-06-18 | Cedar Interface | Reactive | 6:53 | 15:30
| Carlls - Sherman 69kV | Deepwater - Quinton 69kV | 9:19 | 17:00
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 10:05 | 2004-06-19 03:25
| Branchburg #1 500/230kV xfmr | Actual | 10:15 | 11:39
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 10:53 | 17:00
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 11:07 | 20:15
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 11:09 | 11:45
| Glasgow - Mt Pleasant 138kV | Red Lion - Cedar Creek 230kV | 11:24 | 14:00
| Bair - Hill 115kV | Yorkana - Yoe - Windsor 115kV | 13:18 | 19:05
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 13:23 | 21:33
| Hudson #2 230/138kV xfmr | Bergen CC | 13:42 | 19:00
| Deepwater - Quinton 69kV | Cumberland - Churchtown 230kV | 17:00 | 19:35
| Beckett - Paulsboro 69kV | Cumberland - Churchtown 230kV | 19:35 | 22:00
| Cedar Interface | Reactive | 19:36 | 19:58
2004-06-19 | Tyrone North - Westfall 115kV | Actual | 3:25 | 5:19
| Cedar Interface | Reactive | 4:17 | 18:38
| Bayonne - Marion 138kV | Newark - Essex 138kV | 7:09 | 8:52
| Western Transfers | Reactive | 9:18 | 10:31
| Eastern Transfers | Reactive | 9:32 | 9:51
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:37 | 12:47
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 10:42 | 18:50
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 11:14 | 17:36
| Cheswold - Jones 138kV | Milford - Cedar Creek 230kV | 12:26 | 18:13
| Keystone #4 500/230kV xfmr | Keystone #3 500/230kV xfmr | 13:26 | 18:56
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 14:16 | 21:49
| Bayonne - Marion 138kV | Newark - Essex 138kV | 19:41 | 20:09
| Cedar Interface | Reactive | 20:15 | 21:32
2004-06-20 | Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 14:58 | 15:46
2004-06-21 | Cedar Interface | Reactive | 8:05 | 8:58
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 9:54 | 13:38
| Cedar Interface | Reactive | 11:01 | 13:05
2004-06-22 | Cedar Interface | Reactive | 8:26 | 17:06
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 9:57 | 15:42
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:56 | 19:09
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 15:42 | 22:35
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 20:45 | 21:38
| Bayonne - Marion 138kV | Newark - Essex 138kV | 20:51 | 2004-06-23 00:47
2004-06-23 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 0:27 | 3:23
| Bayonne - Marion 138kV | Newark - Essex 138kV | 3:23 | 6:31
| Cedar Interface | Reactive | 7:49 | 10:08
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:32 | 15:43
| Branchburg - Readington 230kV | Roseland - Whippany 230kV | 12:20 | 15:13
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 13:11 | 14:41
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 14:04 | 18:44
| Bergen - Homestead 138kV | Hudson 230/138kV xfmr | 14:40 | 20:27
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 16:57 | 19:35
2004-06-24 | Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 8:49 | 19:39
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 13:21 | 19:55
| Delaware #1 69/13kV xfmr | Delaware - Waneeta 138kV | 14:42 | 15:22
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 16:00 | 18:50
2004-06-25 | Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 7:10 | 21:40
| Western Transfers | Reactive | 7:23 | 7:55
| Cedar Interface | Reactive | 11:24 | 11:50
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 12:54 | 17:16
| Green Street - Westport 115kV | Green Street - Concord 115kV | 14:30 | 17:32
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 17:54 | 19:53
2004-06-26 | Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 9:05 | 17:06
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 13:00 | 22:12
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 13:03 | 17:05
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 14:04 | 17:06
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 17:41 | 20:26
2004-06-27 | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 10:45 | 12:10
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 14:17 | 19:46
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 16:20 | 22:00
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 16:32 | 19:46
2004-06-28 | Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 7:19 | 8:45
| Cedar Interface | Reactive | 7:37 | 18:45
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 9:00 | 12:25
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 10:29 | 19:55
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 10:30 | 10:45
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 19:55 | 21:42
2004-06-29 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 0:18 | 0:43
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 7:55 | 21:17
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 11:53 | 19:51
2004-06-30 | Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 6:34 | 2004-07-01 00:39
| Red Lion AT50 500/230kV xfmr | Keeney - Red Lion 500kV | 9:30 | 11:48
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 10:37 | 12:03
| Glasgow - Mt Pleasant 138kV | Red Lion - Cedar Creek 230kV | 13:38 | 17:23
| Edgemoor - Harmony 230kV | Hope Creek - Red Lion 500kV | 16:33 | 17:40
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 17:23 | 22:35
| Red Lion AT50 500/230kV xfmr | Keeney - Red Lion 500kV | 16:06 | 2004-07-01 02:24
Formulas:
Date = [Date, row above]+1

## PJMW
Off-Cost Operations - June 2004
Date | Facility | Contingency | Begin Time | End Time
2004-06-01 | Mitchell - Shepler Hill Jct 138kV | Hatfield - Ronco 500kV | 9:40 | 13:40
2004-06-02 | Mitchell - Shepler Hill Jct 138kV | Hatfield - Ronco 500kV | 7:52 | 16:00
| Mitchell - Shepler Hill Jct 138kV | Hatfield - Ronco 500kV | 19:08 | 19:58
| Mitchell - Shepler Hill Jct 138kV | Hatfield - Ronco 500kV | 21:05 | 21:12
2004-06-03 | Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 8:39 | 9:50
| Bedington - Black Oak 500kV | Reactive | 10:25 | 11:53
| Bedington - Black Oak 500kV | Reactive | 17:48 | 19:41
2004-06-04 | None
2004-06-05 | None
2004-06-06 | None
2004-06-07 | None
2004-06-08 | 116 Goodings - 900 Elwood | 1223 | 11:28 | 17:01
| Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 16:50 | 22:00
2004-06-09 | Doubs - Mt Storm 500kV | Meadowbrook-Morrisville 500kV | 13:29 | 20:40
| 116 Goodings - 900 Elwood | 1223 | 14:00 | 18:03
2004-06-10 | Bedington - Black Oak 500kV | Reactive | 9:10 | 18:55
| Doubs #1 500/230kV xfmr | Doubs #2 & #4 500/230kV xfmrs | 13:40 | 18:11
2004-06-11 | None
2004-06-12 | None
2004-06-13 | None
2004-06-14 | Cheswick - Springdale 138kV | Beaver Valley #2 | 13:41 | 15:41
2004-06-15 | Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 13:03 | 17:05
| Bedington - Black Oak 500kV | Reactive | 13:25 | 17:41
| Doubs - Mt Storm 500kV | Mt Storm - Meadowbrook 500kV | 16:26 | 19:13
| Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 18:42 | 19:13
| Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 20:06 | 20:18
2004-06-16 | Bedington - Black Oak 500kV | Reactive | 10:00 | 18:16
| Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 13:07 | 20:21
| Dresden 345kV Bus | Voltage | 14:49 | 22:04
2004-06-17 | Bedington - Black Oak 500kV | Reactive | 9:22 | 13:30
| Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 11:45 | 20:42
| Doubs - Mt Storm 500kV | Mt Storm - Meadowbrook 500kV | 13:41 | 18:06
| AP South | Reactive | 13:45 | 15:19
| Bedington - Black Oak 500kV | Reactive | 22:46 | 2004-06-18 01:45
2004-06-18 | Bedington - Black Oak 500kV | Reactive | 7:41 | 17:11
| Bedington - Nipetown 138kV | Doubs - Bedington 500kV | 11:54 | 21:05
| Doubs - Mt Storm 500kV | Mt Storm - Meadowbrook 500kV | 12:16 | 19:03
| Bedington #2 500/138kV xfmr | Bedington 1&3 500/138kV xfmrs | 14:56 | 21:05
| Pruntytown - Mt Storm 500kV | Black Oak - Bedington 500kV | 23:36 | 2004-06-19 00:36
| Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 23:41 | 2004-06-19 00:36
2004-06-19 | Bedington - Black Oak 500kV | Reactive | 9:28 | 10:22
| Bedington - Black Oak 500kV | Reactive | 12:20 | 21:30
2004-06-20 | None
2004-06-21 | None
2004-06-22 | Bedington - Black Oak 500kV | Reactive | 6:30 | 7:00
| Bedington - Black Oak 500kV | Reactive | 10:14 | 21:40
2004-06-23 | Bedington - Black Oak 500kV | Reactive | 7:25 | 14:50
| Harrison Tap - Kammer 500kV | Belmont - Harrison 500kV | 8:27 | 12:00
| Harrison Tap - Kammer 500kV | Belmont - Harrison 500kV | 20:12 | 21:26
2004-06-24 | Harrison Tap - Kammer 500kV | Belmont - Harrison 500kV | 10:13 | 23:00
| Doubs #1 500/230kV xfmr | Doubs #2 & #4 500/230kV xfmrs | 16:15 | 21:08
2004-06-25 | Bedington - Black Oak 500kV | Reactive | 4:34 | 21:50
| Harrison Tap - Kammer 500kV | Belmont - Harrison 500kV | 7:08 | 21:50
2004-06-26 | None
2004-06-27 | Bedington - Black Oak 500kV | Reactive | 10:00 | 13:05
| Bedington - Black Oak 500kV | Reactive | 14:08 | 18:58
| Bedington - Black Oak 500kV | Reactive | 20:53 | 21:49
2004-06-28 | Bedington - Black Oak 500kV | Reactive | 8:15 | 9:54
| Bedington - Black Oak 500kV | Reactive | 11:23 | 19:48
2004-06-29 | Bedington - Black Oak 500kV | Reactive | 8:59 | 19:44
2004-06-30 | Bedington - Black Oak 500kV | Reactive | 8:20 | 12:18
Formulas:
Date = [Date, row above]+1