## PJME
Off-Cost Operations - July 2004
Date | Facility | Contingency | Begin Time | End Time
2004-07-01 | Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 1:34 | 3:09
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:55 | 21:33
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 10:28 | 12:28
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 12:28 | 22:37
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 13:30 | 19:19
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 14:56 | 18:55
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 16:10 | 18:54
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 16:32 | 22:37
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 23:40 | 2004-07-02 03:07
2004-07-02 | Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 7:47 | 2004-07-03 01:19
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:28 | 2004-07-03 00:06
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 12:57 | 20:43
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 13:13 | 2004-07-03 01:19
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 13:52 | 19:55
| Cly - Smith 115kV | Jackson - Yorkana 230kV | 15:21 | 20:33
2004-07-03 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 3:33 | 5:19
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 8:48 | 23:10
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:55 | 12:33
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 11:04 | 12:33
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 13:37 | 19:44
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 15:17 | 20:05
| Interface 5004/5005 | Conastone - Hunterstown 500kV + xfmr | 16:02 | 22:06
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 16:10 | 20:45
| Cedar Interface | Reactive | 17:12 | 20:07
2004-07-04 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 1:06 | 5:14
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:11 | 18:36
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 11:22 | 23:36
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 15:38 | 19:03
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 17:10 | 18:23
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 22:28 | 2004-07-05 00:07
| Glasgow - Mt Pleasant 138kV | Red Lion - Cedar Creek 230kV | 22:36 | 22:44
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 22:42 | 2004-07-05 04:00
2004-07-05 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 0:07 | 5:27
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 8:51 | 2004-07-06 01:47
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:05 | 23:44
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 10:17 | 20:13
| Glasgow - Mt Pleasant 138kV | Red Lion - Cedar Creek 230kV | 10:35 | 11:59
| Cedar Interface | Reactive | 10:45 | 22:50
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 10:53 | 11:41
| Cheswold - Jones 138kV | Milford AT20 230/138kV xfmr | 15:09 | 21:15
| Jackson #4 230/115kV xfmr | Jackson - Yorkana 230kV | 15:53 | 21:22
| Central Transfers | Reactive | 19:30 | 19:55
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 21:32 | 2004-07-06 01:47
2004-07-06 | Garman - Glory 115kV | Warren #4 xfmr | 1:20 | 7:20
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 8:00 | 21:45
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 9:16 | 12:00
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:26 | 23:17
| Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 11:16 | 13:59
| Cedar Interface | Reactive | 13:33 | 14:56
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 13:28 | 23:59
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 13:55 | 17:00
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 14:23 | 21:25
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 15:29 | 21:04
2004-07-07 | Garman - Glory 115kV | Warren #4 xfmr | 0:06 | 6:17
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:57 | 23:26
| Garman - Glory 115kV | Altoona - Johnstown 230kV | 10:12 | 11:00
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 10:58 | 16:55
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 11:00 | 11:41
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 11:48 | 18:42
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 12:00 | 2004-07-08 03:25
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 12:21 | 14:12
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 12:21 | 21:34
| Cedar Interface | Reactive | 13:03 | 14:06
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 13:26 | 23:26
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 14:56 | 23:06
| Centerville - Wye Mills 69kV | Church AT2 138/69kV xfmr | 15:23 | 15:40
| Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 15:49 | 20:42
2004-07-08 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:48 | 3:22
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 6:18 | 14:53
| Western Transfers | Reactive | 8:28 | 9:06
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 8:36 | 2004-07-09 00:51
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:23 | 23:55
| Cedar Interface | Reactive | 9:37 | 23:40
| Erie South #1 230/115kV xfmr | Actual | 10:11 | 11:28
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 10:48 | 22:19
| Brandon Shores - Riverside 230kV | Brandon Shores - Riverside 230kV | 12:39 | 19:32
| Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 13:21 | 18:58
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 14:40 | 18:57
| Dupont Seaford - Laurel 69kV | Vienna AT20 230/138kV xfmr | 15:05 | 19:07
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 15:55 | 22:11
| North Waverly - East Sayre 115kV | East Towanda #3 230/115kV xfmr | 18:51 | 22:57
2004-07-09 | Roseland - Whippany 230kV | Branchburg - Ramapo 500kV | 2:11 | 4:06
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 10:33 | 11:45
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:28 | 10:00
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:54 | 21:22
| Dupont Seaford - Laurel 69kV | Vienna AT20 230/138kV xfmr | 12:57 | 19:30
2004-07-10 | Brunswick - Edison 138kV | Sewaren 230/138kV xfmr | 0:02 | 1:38
| Roseland - Whippany 230kV | Branchburg - Ramapo 500kV | 0:53 | 2:34
| Roseland - Whippany 230kV | Branchburg - Ramapo 500kV | 10:30 | 13:00
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 19:03 | 20:00
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:35 | 23:42
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:35 | 18:00
2004-07-11 | Roseland - Whippany 230kV | Branchburg - Ramapo 500kV | 0:20 | 1:00
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:00 | 16:10
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:28 | 23:09
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 13:12 | 19:05
| Cedar - Sands Point 69kV | New Freedom - Cardiff 230kV | 13:35 | 19:24
| Beckett - Paulsboro 69kV | Chambers - Churchtown 230kV | 14:59 | 15:32
| Cedar Interface | Reactive | 19:24 | 21:58
2004-07-12 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 2:15 | 4:00
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 7:40 | 10:11
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:25 | 15:26
| Middletown Jct - Yorkhaven 115kV | Actual | 13:30 | 14:49
| Brunner Island - Yorkana 230kV | Conastone - Peach Bottom 500kV | 14:28 | 19:15
2004-07-13 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 10:07 | 13:33
| DPL South | Reactive | 13:50 | 14:26
| New Church - Piney Grove 138kV | Loretto - Piney Grove 138kV | 14:49 | 20:38
| Brunner Island - Yorkana 230kV | Conastone - Peach Bottom 500kV | 15:55 | 18:43
2004-07-14 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 8:23 | 22:16
| Cedar - Sands Point 69kV | New Freedom - Cardiff 230kV | 12:49 | 21:10
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 13:31 | 21:09
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 13:35 | 19:38
| New Church - Piney Grove 138kV | Loretto - Piney Grove 138kV | 15:27 | 21:03
2004-07-15 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 8:02 | 2004-07-16 00:22
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 8:50 | 10:55
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 13:33 | 20:07
| New Church - Piney Grove 138kV | Loretto - Piney Grove 138kV | 16:23 | 19:03
| Corson - Cumberland 138kV | Union - Cumberland 138kV | 16:41 | 16:55
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 20:07 | 21:38
2004-07-16 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 10:18 | 13:51
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 16:14 | 20:31
| Cecil - Colora Tap 230kV | Hope Creek - Red Lion 500kV | 21:56 | 22:32
| Cecil - Glasgow 138kV | Hope Creek - Red Lion 500kV | 22:32 | 23:46
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 22:58 | 2004-07-17 06:44
2004-07-17 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 4:54 | 6:44
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 7:37 | 12:14
| Garman - Glory 115kV | Erie South #6 xfmr | 8:52 | 11:42
| Center - Westport 115kV | Greene - Westport 115kV | 10:02 | 11:14
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 10:36 | 22:21
| Glasgow - Mt Pleasant 138kV | Red Lion - Cedar Creek 230kV | 11:04 | 21:57
| Cedar Interface | Reactive | 13:37 | 19:30
2004-07-18 | Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 15:09 | 15:55
2004-07-19 | Cedar Grove - Roseland F 230kV | Cedar Grove - Roseland B 230kV | 5:30 | 6:17
| Martins Creek - Siegfried 230kV | Steel City 500/230kV xfmr | 5:56 | 7:00
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 15:30 | 20:07
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 17:23 | 21:16
2004-07-20 | Martins Creek - Siegfried 230kV | Steel City 500/230kV xfmr | 5:40 | 6:57
| Adams - Bennetts 230kV | Deans - Branchburg 500kV + Deans xfmr | 6:20 | 11:30
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 10:43 | 14:08
| Cly - Smith 115kV | Yorkana - Brunner Island 230kV | 11:37 | 22:07
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 12:13 | 22:25
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 12:58 | 14:13
| Crisfield Voltage | Piney Grove AT20 xfmr | 13:31 | 20:12
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 14:08 | 23:25
2004-07-21 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 8:14 | 21:25
| Cedar Interface | Reactive | 10:40 | 21:25
| Beckett - Paulsboro 69kV | Chambers - Churchtown 230kV | 11:24 | 22:11
| Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 12:04 | 23:52
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 13:03 | 21:41
| Kings Creek - Westover 69kV | Reactive | 13:07 | 21:00
| Bellehaven - Tasley 69kV | Reactive | 15:00 | 21:00
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 15:27 | 18:40
2004-07-22 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:08 | 22:07
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:38 | 22:07
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 10:15 | 2004-07-23 02:23
| Beckett - Paulsboro 69kV | Chambers - Churchtown 230kV | 10:34 | 22:07
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 11:23 | 12:16
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 11:34 | 21:24
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 12:31 | 19:56
| Cromby - Moser 69kV | Cromby - Moser 69kV | 12:51 | 20:16
| Hudson #2 xfmr | Bergen #1 Gen | 13:07 | 20:25
| Gardners - Hunterstown 115kV | Lewistown #3 xfmr | 14:00 | 19:30
| Bair - Hill 115kV | Yorkana - Yoe - Windsor 115kV | 14:52 | 20:43
| Cedar Interface | Reactive | 14:56 | 15:22
| Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 15:09 | 19:01
| Portland - Martins Creek 230kV | Morris Park - Martins Creek 230kV | 16:15 | 19:17
| Bellehaven - Tasley 69kV | Reactive | 16:19 | 22:33
2004-07-23 | Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 6:36 | 16:28
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 7:08 | 10:00
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:01 | 22:50
| Cedar Interface | Reactive | 9:35 | 23:46
| Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 13:13 | 20:22
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 13:36 | 18:18
2004-07-24 | None
2004-07-25 | None
2004-07-26 | Branchburg #1 500/230kV xfmr | Branchburg #2 500/230kV xfmr | 9:45 | 18:32
| Edison - Meadow Rd 138kV | Sewaren 230/138kV xfmr | 10:20 | 19:36
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 12:52 | 18:00
2004-07-27 | Kings Creek - Westover 69kV | Reactive | 12:15 | 23:11
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 12:22 | 23:35
| Whitpain #3 500/230kV xfmr | Limerick-Whitpain 500 + Whitpain #2 xfmr | 12:44 | 21:11
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 12:57 | 15:48
2004-07-28 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:30 | 14:30
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 14:37 | 19:01
2004-07-29 | Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:55 | 14:22
| Keeney AT51 500/230kV xfmr | Keeney AT50 500/230kV xfmr | 10:56 | 15:05
| Sickler xfmr | Silver Lake - New Freedom 230kV | 12:48 | 20:05
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 13:29 | 20:05
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 14:12 | 21:17
| Lewis - Motts 69kV | Oyster Creek - Sands Point 230kV | 14:38 | 15:23
| Wye Mills 138/69kV xfmr | Easton - Steele 138kV | 15:10 | 20:10
| Cedar Interface | Reactive | 15:23 | 21:40
2004-07-30 | Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 9:14 | 16:25
| Vineland - Shieldalloy 69kV | Chambers - Churchtown 230kV | 9:30 | 17:24
| Cedar Interface | Reactive | 10:04 | 2004-07-31 00:17
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 11:11 | 19:18
| Dupont Seaford - Laurel 69kV | Vienna - Steele 230kV | 11:53 | 22:00
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 12:01 | 20:05
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 12:47 | 2004-07-31 01:00
| Cedar - Sands Point 69kV | New Freedom - Cardiff 230kV | 15:21 | 2004-07-31 00:17
| Goudey - Laurel Lake 115kV | East Towanda #3 230/115kV xfmr | 16:33 | 19:48
| Branchburg #1 500/230kV xfmr | Actual | 23:00 | 2004-07-25 00:25
2004-07-31 | Tyrone - Westfall | Actual | 4:22 | 6:05
| Vineland - Shieldalloy 69kV | Cumberland - Churchtown 230kV | 7:16 | 23:00
| Branchburg #1 500/230kV xfmr | Deans - Branchburg 500kV + Deans xfmr | 7:53 | 23:50
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 8:40 | 14:45
| Cedar Interface | Reactive | 9:25 | 2004-08-01 00:07
| Wye Mills 138/69kV xfmr | Easton 138/69kV xfmr | 11:31 | 20:55
| Crisfield Voltage | Reactive | 12:25 | 14:35
| Jackson #5 230/115kV xfmr | Hunterstown #2 230/115kV xfmr | 14:03 | 17:58
| Dupont Seaford - Laurel 69kV | Vienna - Steele 230kV | 14:08 | 22:12
| Laurel - Woodstown 69kV | Cumberland - Churchtown 230kV | 17:25 | 2004-08-01 00:20
| Clifton - Cedar Grove K 230kV | Cedar Grove - Roseland B 230kV | 20:59 | 22:12
| Vaughn - Harrington 69kV | Church AT2 138/69kV xfmr | 21:54 | 22:05
Formulas:
Date = [Date, row above]+1

## PJMW
Off-Cost Operations - July 2004
Date | Facility | Contingency | Begin Time | End Time
2004-07-01 | Doubs #1 500/230kV xfmr | Doubs #2 & #4 500/230kV xfmrs | 13:25 | 14:06
2004-07-02 | Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 7:40 | 9:07
| Bedington - Black Oak 500kV | Reactive | 8:18 | 10:05
| 156 Cherry 38TR82 | 345L15616 | 12:43 | 21:36
| Doubs #1 500/230kV xfmr | Doubs #2 & #4 500/230kV xfmrs | 15:22 | 18:57
| Bedington - Black Oak 500kV | Reactive | 19:20 | 2004-07-03 00:56
2004-07-03 | Bedington - Black Oak 500kV | Reactive | 9:02 | 10:35
| Bedington - Black Oak 500kV | Pruntytown - Mt Storm 500kV | 10:35 | 2004-07-04 00:05
2004-07-04 | Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 6:44 | 12:45
| Bedington - Black Oak 500kV | Reactive | 8:24 | 23:19
| Bedington - Black Oak 500kV | Pruntytown - Mt Storm 500kV | 9:07 | 19:41
2004-07-05 | Bedington - Black Oak 500kV | Reactive | 9:15 | 23:59
| Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 9:30 | 13:00
2004-07-06 | Bedington - Black Oak 500kV | Reactive | 7:17 | 14:30
| Bedington - Black Oak 500kV | Reactive | 15:01 | 2004-07-07 03:17
2004-07-07 | Bedington - Black Oak 500kV | Reactive | 4:59 | 2004-07-08 02:35
2004-07-08 | Bedington - Black Oak 500kV | Reactive | 8:26 | 23:44
| Kammer 765/500kV xfmr | Belmont - Harrison 500kV | 9:38 | 13:30
2004-07-09 | Bedington - Black Oak 500kV | Reactive | 7:30 | 2004-07-10 00:30
| Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 23:30 | 2004-07-10 00:30
2004-07-10 | Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 8:11 | 12:05
| Bedington - Black Oak 500kV | Reactive | 8:38 | 12:06
| Bedington - Black Oak 500kV | Reactive | 13:14 | 15:43
2004-07-11 | Bedington - Black Oak 500kV | Reactive | 9:20 | 23:00
| Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 10:40 | 13:33
2004-07-12 | Bedington - Black Oak 500kV | Reactive | 2:45 | 3:37
| Bedington - Black Oak 500kV | Reactive | 7:05 | 9:56
| Bedington - Black Oak 500kV | Reactive | 11:45 | 14:30
2004-07-13 | None
2004-07-14 | Bedington - Black Oak 500kV | Reactive | 3:03 | 3:36
| Bedington - Black Oak 500kV | Reactive | 5:16 | 5:42
| Bedington - Black Oak 500kV | Reactive | 8:16 | 20:20
2004-07-15 | Bedington - Black Oak 500kV | Reactive | 7:28 | 8:16
2004-07-16 | Bedington - Black Oak 500kV | Reactive | 23:48 | 2004-07-17 00:54
2004-07-17 | Bedington - Black Oak 500kV | Reactive | 8:17 | 8:59
| Bedington - Black Oak 500kV | Reactive | 9:33 | 17:20
2004-07-18 | Bedington - Black Oak 500kV | Reactive | 0:28 | 2:07
| Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 1:49 | 2004-07-19 00:24
| Bedington - Black Oak 500kV | Reactive | 9:05 | 10:14
| Bedington - Black Oak 500kV | Reactive | 20:45 | 21:45
2004-07-19 | None
2004-07-20 | Bedington - Black Oak 500kV | Reactive | 6:19 | 7:15
2004-07-21 | Doubs #1 500/230kV xfmr | Doubs #2 & #4 500/230kV xfmrs | 13:30 | 19:55
| Nipetown - Bedington 138kV | Bedington - Doubs 500kV | 13:40 | 17:51
2004-07-22 | 116 Good - Elwood | Dresden - Elect 1223 | 12:14 | 21:28
| Nipetown - Bedington 138kV | Bedington - Doubs 500kV | 12:50 | 18:00
| Meadowbrook #3 500/138kV xfmr | Meadowbrook #3 500/138kV xfmr | 12:50 | 17:52
| Doubs #1 500/230kV xfmr | Doubs #2 & #4 500/230kV xfmrs | 12:50 | 17:35
2004-07-23 | Bedington - Black Oak 500kV | Reactive | 10:15 | 17:19
| Meadowbrook #3 500/138kV xfmr | Meadowbrook #3 500/138kV xfmr | 12:00 | 18:44
| Bedington - Black Oak 500kV | Reactive | 19:21 | 20:15
2004-07-24 | Bedington - Black Oak 500kV | Reactive | 10:00 | 11:46
| Kammer 765/500kV xfmr | Belmont - Harrison 500kV | 10:00 | 20:12
2004-07-25 | Bedington - Black Oak 500kV | Reactive | 9:07 | 18:27
| Wylie Ridge #5 500/345kV xfmr | Wylie Ridge #7 500/345kV xfmr | 9:25 | 10:01
2004-07-26 | Bedington - Black Oak 500kV | Reactive | 12:56 | 17:50
2004-07-27 | Bedington - Black Oak 500kV | Reactive | 7:15 | 2004-07-28 00:41
2004-07-28 | Bedington - Black Oak 500kV | Reactive | 5:50 | 21:48
| Meadowbrook #3 500/138kV xfmr | Meadowbrook #3 500/138kV xfmr | 16:52 | 19:00
2004-07-29 | Bedington - Black Oak 500kV | Reactive | 8:45 | 2004-07-30 01:10
| Meadowbrook #3 500/138kV xfmr | Meadowbrook #3 500/138kV xfmr | 14:09 | 15:47
2004-07-30 | Bedington - Black Oak 500kV | Reactive | 8:26 | 2004-07-31 01:30
| Nipetown - Bedington 138kV | Bedington - Doubs 500kV | 11:40 | 16:39
2004-07-31 | Bedington - Black Oak 500kV | Reactive | 8:07 | 2004-08-01 00:18
Formulas:
Date = [Date, row above]+1