## MIDATL
Off-Cost Operations - November 2005
Date | Facility | Contingency | Begin Time | End Time
2005-11-01 | Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38657.1875 | 38657.2169
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38657.389 | 38657.3936
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38657.4085 | 38657.4277
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 38657.4658 | 38657.6056
| Blairsve-Socialha Bsh 1003 | Keystone-Shelocta-Homer City 230 | 38657.4816 | 38657.5162
| Blairsve-Socialha Bsh 1003 | Keystone-Shelocta-Homer City 230 | 38657.5326 | 38657.5536
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38657.5326 | 38657.5536
| Blairsve-Socialha Bsh 1003 | Keystone-Shelocta-Homer City 230 | 38657.5679 | 38657.5816
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38657.5679 | 38657.5762
| Edison-Meadowrd R-1318 | Deans-Pierson Avenue-Sewaren S-2219 | 38657.5762 | 38657.6005
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38657.5941 | 38657.6174
| Blairsve-Socialha Bsh 1003 | Keystone-Shelocta-Homer City 230 | 38657.6965 | 38657.7836
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38657.7132 | 38657.7658
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38657.7208 | 38657.7388
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38657.7329 | 38657.7505
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38657.8431 | 38657.8837
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38657.8783 | 38657.9049
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38657.9239 | 38657.927
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38657.935 | 38657.9416
2005-11-02 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38658.3245 | 38658.4086
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38658.676 | 38658.6919
| Keystone-Shelocta Khc 2014 | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38658.7145 | 38658.7452
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38658.7172 | 38658.7452
| Waldwick 345-2 Xformer | Waldwick-South Mawa-Ramapo K-3411 345 | 38658.8086 | 38658.8571
| Keystone-Shelocta Khc 2014 | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38658.8505 | 38658.9517
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38658.8701 | 38658.9212
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38658.9292 | 38658.9517
| Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38658.9879 | 38659.0337
2005-11-03 | Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38659.0864 | 38659.0891
| Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38659.131 | 38659.1822
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38659.3932 | 38659.4385
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38659.3932 | 38659.4137
| Branchbu 500-1 Xformer | Branchburg 500-2 2W Transformer | 38659.4532 | 38659.6294
| Keystone-Shelocta Khc 2014 | Erie West #1 345/115 Kv Trans | 38659.4532 | 38659.4613
| Esayre-Nwaverly Esw 1058 | Lackawanna-Oxbow-North Meshoppen & N. Mesh #3 Tx | 38659.4613 | 38659.6231
| Branchbu 500-1 Xformer | Branchburg 500-2 2W Transformer | 38659.6942 | 38659.896
| Eddyston-Scottpap 6658 | Chichester Chi 9Tr 230-138 Transformer | 38659.7286 | 38659.7479
2005-11-04 | Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38660.012 | 38660.0362
| Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38660.0608 | 38660.0659
| Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38660.1793 | 38660.1982
| Branchbu 500-1 Xformer | Branchburg 500-2 2W Transformer | 38660.4064 | 38660.7263
| Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38660.473 | 38660.5491
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38660.5991 | 38660.6036
| Kent-Newmered 6704-2 | Steele-Milford (23076) 230 Kv Line | 38660.6161 | 38660.6207
| Church-Newmered 6704-1 | Steele-Milford (23076) 230 Kv Line | 38660.6434 | 38660.883
| Waldwick 345-2 Xformer | Waldwick-South Mawa-Ramapo K-3411 345 | 38660.7261 | 38660.7798
| Kent-Newmered 6704-2 | Steele-Milford (23076) 230 Kv Line | 38660.8056 | 38660.8258
| Blairsve-Socialha Bsh 1003 | Keystone-Shelocta-Homer City 230 | 38660.8939 | 38660.9829
2005-11-05 | Blairsve-Socialha Bsh 1003 | Keystone-Shelocta-Homer City 230 | 38661.0158 | 38661.0397
| Branchbu 500-1 Xformer | Branchburg 500-2 2W Transformer | 38661.3511 | 38661.3647
| Branchbu 500-1 Xformer | Branchburg 500-2 2W Transformer | 38661.469 | 38661.6503
| Branchbu 500-1 Xformer | Branchburg 500-2 2W Transformer | 38661.6801 | 38661.7478
2005-11-07 | Peachbot P.B.1Tr Xformer | Actual | 38663.0553 | 38663.0601
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38663.3757 | 38663.404
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38663.7103 | 38663.8622
2005-11-08 | Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38664.3572 | 38664.3924
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38664.422 | 38664.4486
| Atlantic-Larrabee R1032 | Branchburg-Flagtown-Somerville 230 Line | 38664.611 | 38664.6139
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38664.7065 | 38664.7193
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38664.7116 | 38664.8144
2005-11-09 | Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38665.2747 | 38665.3074
| Branchbu-Flagtown C-2203 | Atlantic-Larrabee (R-1032) 230 Kv Line | 38665.4521 | 38665.4718
| Branchbu-Flagtown C-2203 | Atlantic-Larrabee (R-1032) 230 Kv Line | 38665.5536 | 38665.6115
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38665.5731 | 38665.603
| Branchbu-Flagtown C-2203 | Atlantic-Larrabee (R-1032) 230 Kv Line | 38665.6276 | 38665.8074
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38665.6501 | 38665.6925
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38665.6501 | 38665.7379
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38665.7112 | 38665.7151
| Delcotap-Mickleto 220-38 | Hope Creek New Freedom 500 Line | 38665.7151 | 38665.7218
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38665.8173 | 38665.8815
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38665.9076 | 38665.9123
2005-11-10 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38666.0073 | 38666.1179
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38666.1376 | 38666.1395
| Etowanda-Stroy Met 1055 | Lewis Run-Farmers Valley 115 Kv Line | 38666.2812 | 38666.2854
| Etowanda-Stroy Met 1055 | Lewis Run-Farmers Valley 115 Kv Line | 38666.3315 | 38666.4769
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38666.349 | 38666.3742
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38666.3906 | 38666.3971
| Branchbu-Flagtown C-2203 | Atlantic-Larrabee (R-1032) 230 Kv Line | 38666.4612 | 38666.5311
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38666.5318 | 38666.5948
| Laurel-Woodstow 0740 | Cumberland Ae-Churchtown 230 Line | 38666.5782 | 38666.6154
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38666.6088 | 38666.6123
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38666.8573 | 38666.8804
2005-11-11 | Delcotap-Mickleto 220-38 | Actual | 38667.6962 | 38667.7292
2005-11-14 | Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 38670.9186 | 38670.9593
2005-11-15 | Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 38671.0039 | 38671.1162
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 38671.6917 | 38671.6967
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38671.6917 | 38671.7163
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38671.6917 | 38671.6967
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 38671.7175 | 38671.7457
| Bergen-Fairlawn M-1339 | Actual | 38671.7321 | 38671.7427
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38671.9602 | 38672.0255
2005-11-16 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38672.0274 | 38672.0371
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38672.0522 | 38672.0671
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38672.0717 | 38672.0977
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38672.2434 | 38672.4498
| Branchbu-Flagtown C-2203 | Branchburg-Readington 230 Line | 38672.4498 | 38672.5326
| Waldwick 345-2 Xformer | Waldwick-South Mawa-Ramapo K-3411 345 | 38672.511 | 38672.5191
| Branchbu-Flagtown C-2203 | Branchburg-Readington 230 Line | 38672.556 | 38672.6543
| Waldwick 345-2 Xformer | Waldwick-South Mawa-Ramapo K-3411 345 | 38672.556 | 38672.5826
| Laurel-Woodstow 0740 | Cumberland-Churchtown (Ae) 230 Kv & Laurel Relay | 38672.6653 | 38672.6747
| Branchbu-Flagtown C-2203 | Branchburg-Readington 230 Line | 38672.689 | 38672.7395
2005-11-17 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38673.6544 | 38673.659
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38673.7078 | 38673.7274
| Keeney At20 Xformer | Harmony At20 230-138 Transformer | 38673.711 | 38673.7323
2005-11-20 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.1317 | 38676.1589
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.1764 | 38676.1794
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.4239 | 38676.479
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.479 | 38676.4953
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.5315 | 38676.5919
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.6145 | 38676.6229
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.6627 | 38676.7375
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38676.7933 | 38676.884
2005-11-21 | Garretap-Garrett | Keystone-Shelocta-Homer City 230 | 38677.0513 | 38677.0578
| Garretap-Garrett | Keystone-Shelocta-Homer City 230 | 38677.0936 | 38677.1113
| Homercit-Quemahon Hch 2024 | Homer City-Johnstown 230 Line | 38677.3939 | 38677.4148
| Blairsve-Socialha Bsh 1003 | Homer City-Johnstown 230 Line | 38677.4223 | 38677.4656
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38677.487 | 38677.4968
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38677.5382 | 38677.5609
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38677.5964 | 38677.7172
| Laurel-Woodstow 0740 | Cumberland-Churchtown (Ae) 230 Kv & Laurel Relay | 38677.6808 | 38677.755
2005-11-22 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38678.5332 | 38678.5575
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38678.5805 | 38678.6172
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38678.6347 | 38678.6513
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38678.6761 | 38678.7183
2005-11-23 | Laurel-Woodstow 0740 | Cumberland-Churchtown (Ae) 230 Kv & Laurel Relay | 38679.7073 | 38679.7491
2005-11-25 | Wyemills At-2 Xformer | Easton 138/69 Kv Transformer | 38681.2606 | 38681.3777
| Cheswold-Kent 6768 | Church 138/69 Kv Transformer | 38681.3413 | 38681.4069
2005-11-26 | Roseland 220-4 Xformer | Roseland-Cedargrove-Clifton-Athen F/K | 38682.7734 | 38682.8404
2005-11-28 | Branchbu 500-1 Xformer | Branchburg Ramapo T Line | 38684.3508 | 38684.5855
| Branchbu 500-1 Xformer | Branchburg Ramapo T Line | 38684.6042 | 38684.6682
| Branchbu 500-1 Xformer | Branchburg Ramapo T Line | 38684.6865 | 38684.7177
| Brynmawr-Plymouth 130-35 | Actual | 38684.7274 | 38684.795
| Keeney At20 Xformer | Harmony At20 230-138 Transformer | 38684.7274 | 38684.8416
| Waldwick 345-2 Xformer | Waldwick-South Mawa-Ramapo K-3411 345 | 38684.7639 | 38684.8585
| Branchbu 500-1 Xformer | Branchburg Elroy & Elroy Transformer | 38684.8795 | 38684.8994
| Waldwick 345-2 Xformer | Waldwick-South Mawa-Ramapo K-3411 345 | 38684.8904 | 38684.8931
| Branchbu 500-1 Xformer | Branchburg Ramapo T Line | 38684.9211 | 38684.9601
2005-11-29 | Branchbu 500-1 Xformer | Branchburg Elroy & Elroy Transformer | 38685.668 | 38685.8661
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38685.9603 | 38685.9631
2005-11-30 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38686.05 | 38686.0913
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38686.1107 | 38686.139
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38686.1614 | 38686.2539
| Branchbu 500-1 Xformer | Branchburg Elroy & Elroy Transformer | 38686.2909 | 38686.6036
| Branchbu 500-1 Xformer | Branchburg Elroy & Elroy Transformer | 38686.6653 | 38686.6662
| Branchbu 500-1 Xformer | Branchburg Elroy & Elroy Transformer | 38686.7047 | 38686.74
| Branchbu 500-1 Xformer | Branchburg Elroy & Elroy Transformer | 38686.9326 | 38686.9682

## RTO
Off-Cost Operations - November 2005
Date | Facility | Contingency | Begin Time | End Time
2005-11-01 | Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38657.7175 | 38657.7388
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38657.7531 | 38657.7558
| Transfer Interface: Bed-Bla | Doubs-Mt. Storm 500 Kv Line | 38657.7705 | 38657.7879
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38657.8031 | 38657.8197
2005-11-02 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38658.5021 | 38658.5145
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38658.7118 | 38658.7371
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38658.7522 | 38658.781
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38658.8187 | 38658.8201
2005-11-03 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38659.2339 | 38659.2462
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38659.54 | 38659.5578
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38659.5852 | 38659.5868
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38659.6119 | 38659.6214
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38659.7118 | 38659.7311
2005-11-04 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.1659 | 38660.1822
| Transfer Interface: Kmf-Pm | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.1659 | 38660.2505
| Transfer Interface: West |  | 38660.2208 | 38660.2265
| Transfer Interface: Kmf-Pm | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.2663 | 38660.3
| Transfer Interface: Kmf-Pm | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.3468 | 38660.446
| Transfer Interface: West |  | 38660.3977 | 38660.4078
| Transfer Interface: West |  | 38660.4316 | 38660.4807
| Transfer Interface: Kmf-Pm | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.4905 | 38660.519
| Transfer Interface: West |  | 38660.519 | 38660.5349
| Transfer Interface: Kmf-Pm | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.5338 | 38660.702
| Transfer Interface: West |  | 38660.6328 | 38660.6674
| Transfer Interface: West |  | 38660.6943 | 38660.783
| Transfer Interface: Kmf-Pm | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.7401 | 38660.7526
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38660.912 | 38660.9177
2005-11-05 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38661.274 | 38661.275
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38661.3161 | 38661.3182
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38661.3698 | 38661.38
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38661.77 | 38661.7717
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38661.7909 | 38661.7967
| Transfer Interface: Bed-Bla | Bedington Blackoak Line | 38661.8611 | 38661.8642
| Transfer Interface: Bed-Bla | Bedington Blackoak Line | 38661.9883 | 38661.9962
2005-11-06 | Transfer Interface: Bed-Bla | Bedington Blackoak Line | 38662.0008 | 38662.0258
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38662.7363 | 38662.7904
| Transfer Interface: Bed-Bla | Bedington Blackoak Line | 38662.8057 | 38662.8252
2005-11-07 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38663.6277 | 38663.6377
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38663.7318 | 38663.7374
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38663.7603 | 38663.7626
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38663.7996 | 38663.8081
2005-11-08 | Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38664.5333 | 38664.5335
| Transfer Interface: Bed-Bla | Hatfield-Ronco 500 Kv | 38664.5617 | 38664.5641
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38664.7785 | 38664.7814
2005-11-09 | Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38665.3185 | 38665.3338
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38665.3561 | 38665.3731
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38665.3909 | 38665.3937
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38665.4718 | 38665.5164
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38665.6 | 38665.6501
| Transfer Interface: Central |  | 38665.7151 | 38665.7255
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38665.7223 | 38665.7379
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38665.8173 | 38665.823
2005-11-10 | Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38666.2854 | 38666.2889
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38666.3442 | 38666.3447
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38666.3648 | 38666.3671
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38666.4243 | 38666.4655
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38666.4809 | 38666.4846
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38666.5811 | 38666.5862
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38666.6173 | 38666.6201
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38666.6433 | 38666.653
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38666.6746 | 38666.6836
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38666.7012 | 38666.7177
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38666.7412 | 38666.7461
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38666.7946 | 38666.8002
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38666.8573 | 38666.8885
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38666.915 | 38666.9247
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38666.947 | 38666.9508
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38666.9657 | 38666.9687
2005-11-11 | Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38667.3424 | 38667.3562
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38667.4367 | 38667.4533
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38667.4703 | 38667.5218
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38667.592 | 38667.5946
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38667.616 | 38667.6197
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38667.6355 | 38667.6793
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38667.7027 | 38667.7214
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38667.792 | 38667.7936
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38667.8352 | 38667.8391
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38667.9213 | 38667.9314
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38667.9549 | 38667.99
2005-11-12 | Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38668.0047 | 38668.0126
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38668.0291 | 38668.0346
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38668.2327 | 38668.2464
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38668.3758 | 38668.3877
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38668.4433 | 38668.4604
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38668.5062 | 38668.5261
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38668.5573 | 38668.5594
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38668.7309 | 38668.7432
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38668.7892 | 38668.8029
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38668.8324 | 38668.8453
2005-11-13 | Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38669.5012 | 38669.5018
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38669.5424 | 38669.5439
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 38669.7025 | 38669.7065
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38669.9067 | 38669.9086
2005-11-14 | Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 38670.253 | 38670.2538
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38670.4022 | 38670.4711
| Transfer Interface: West |  | 38670.4519 | 38670.4535
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38670.4955 | 38670.5133
| Transfer Interface: West |  | 38670.5031 | 38670.5044
| Transfer Interface: West |  | 38670.5536 | 38670.5581
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38670.5838 | 38670.5897
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38670.6213 | 38670.6281
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38670.6728 | 38670.6844
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38670.7246 | 38670.7328
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38670.7518 | 38670.7643
| Transfer Interface: Bed-Bla | Conemaugh-Juniata 500 Line | 38670.8008 | 38670.815
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38670.8861 | 38670.8877
2005-11-15 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38671.3269 | 38671.3358
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38671.3746 | 38671.3781
| Transfer Interface: Bed-Bla | Conemaugh-Juniata 500 Line | 38671.3992 | 38671.4009
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38671.4214 | 38671.4269
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38671.5677 | 38671.6003
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38671.6917 | 38671.6974
| Transfer Interface: Bed-Bla | Conemaugh-Juniata 500 Line | 38671.7235 | 38671.7253
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38671.7561 | 38671.7636
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38671.8321 | 38671.8495
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38671.8788 | 38671.8818
2005-11-16 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38672.3533 | 38672.3561
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38672.3909 | 38672.4167
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38672.4449 | 38672.4475
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38672.5618 | 38672.5713
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38672.616 | 38672.653
| Transfer Interface: West |  | 38672.689 | 38672.6898
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38672.6939 | 38672.6975
| Transfer Interface: Bed-Bla | Calvert Cliffs 1 Gen | 38672.7243 | 38672.7593
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38672.85 | 38672.8517
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38672.88 | 38672.9048
2005-11-17 | Transfer Interface: Central |  | 38673.6884 | 38673.7341
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38673.7059 | 38673.7078
| Transfer Interface: Central |  | 38673.7538 | 38673.7634
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38673.7701 | 38673.8142
| Transfer Interface: Central |  | 38673.893 | 38673.9068
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38673.9713 | 38674.1012
2005-11-18 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.1101 | 38674.1366
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38674.1366 | 38674.2458
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.1558 | 38674.1672
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.1558 | 38674.1647
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.1826 | 38674.3158
| Transfer Interface: 50045005 | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38674.2656 | 38674.2657
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.3416 | 38674.3472
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.3899 | 38674.432
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.4572 | 38674.4721
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.4884 | 38674.4916
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38674.5314 | 38675.0167
| Transfer Interface: East |  | 38674.7081 | 38674.7087
| Transfer Interface: Apsouth | Calvert Cliffs #1 & #2 Gen | 38674.7293 | 38674.7342
| Transfer Interface: Apsouth | Calvert Cliffs #1 & #2 Gen | 38674.7633 | 38674.767
2005-11-19 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.0167 | 38675.2688
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.1894 | 38675.3621
| Transfer Interface: Apsouth | Calvert Cliffs #1 & #2 Gen | 38675.3326 | 38675.3654
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.4163 | 38675.451
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38675.4217 | 38675.4226
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.4658 | 38675.468
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.4658 | 38675.468
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.5099 | 38675.5181
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.533 | 38675.6185
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.5352 | 38675.5902
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38675.5862 | 38675.6004
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38675.6417 | 38675.6572
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.6417 | 38675.6651
| Transfer Interface: Apsouth | Bedington Blackoak Line | 38675.6795 | 38675.6819
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.7298 | 38675.7379
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.7541 | 38675.8101
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.8301 | 38675.8755
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.9185 | 38675.923
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.9185 | 38675.9621
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38675.9417 | 38675.9431
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38675.9873 | 38675.9971
2005-11-20 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38676.0028 | 38676.0366
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38676.0564 | 38676.0603
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38676.1166 | 38676.1858
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38676.228 | 38676.2722
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38676.3443 | 38676.3644
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38676.3735 | 38676.377
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38676.7087 | 38676.7157
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38676.735 | 38676.739
2005-11-21 | Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38677.2819 | 38677.3006
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown(5006) Line & Hunterstown Xfr | 38677.3268 | 38677.3321
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38677.3544 | 38677.3557
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38677.3763 | 38677.408
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38677.4291 | 38677.4329
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38677.46 | 38677.487
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38677.5609 | 38677.6005
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38677.6401 | 38677.6584
| Transfer Interface: 50045005 | Limerick 1 Gen | 38677.6836 | 38677.7022
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38677.6836 | 38677.7306
| Transfer Interface: 50045005 | Juniata Keystone 500 Line | 38677.7172 | 38677.7393
2005-11-22 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38678.4192 | 38678.4359
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38678.4597 | 38678.4628
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38678.4801 | 38678.4842
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38678.5332 | 38678.5602
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38678.5743 | 38678.5859
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38678.6299 | 38678.6526
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 38678.7027 | 38678.73
| Transfer Interface: 50045005 | Juniata Keystone 500 Line | 38678.7183 | 38678.7606
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38678.7635 | 38678.7684
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38678.9812 | 38678.9841
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38678.9841 | 38679.011
2005-11-23 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38679.1053 | 38679.1073
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38679.1883 | 38679.1952
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38679.1883 | 38679.2427
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38679.2524 | 38679.2887
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38679.7195 | 38679.7777
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38679.9279 | 38679.948
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38679.9759 | 38680.0135
2005-11-24 | Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38680.0833 | 38680.2764
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38680.1576 | 38680.2325
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38680.2908 | 38680.3591
| Transfer Interface: Kmf-Bb | Baker Broadford 765Kv Line | 38680.3337 | 38680.3389
2005-11-25 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.0276 | 38681.0292
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.0511 | 38681.0702
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.1373 | 38681.2732
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.2908 | 38681.3041
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.3487 | 38681.3777
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.3958 | 38681.4038
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38681.9806 | 38682.0113
2005-11-26 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38682.062 | 38682.0712
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38682.1676 | 38682.2651
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38682.2804 | 38682.2944
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38682.3256 | 38682.3316
2005-11-27 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38683.2902 | 38683.3076
2005-11-28 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38684.0794 | 38684.0827
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38684.1325 | 38684.1465

## WEST
Off-Cost Operations - November 2005
Date | Facility | Contingency | Begin Time | End Time
2005-11-01 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.0048 | 38657.044
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38657.0226 | 38657.2443
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.071 | 38657.0805
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.1504 | 38657.1551
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.1712 | 38657.1766
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.1959 | 38657.2572
| Elrama Tran Xformer | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 38657.26 | 38657.3164
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38657.26 | 38657.7243
| Elrama Tran Xformer | Dravosburg T1 138/69 Kv Trans & Bus 1 (Duq) | 38657.3437 | 38657.3531
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.3632 | 38657.3675
| Elrama Tran Xformer | Elrama - Dravosburg 69 Kv Line (Duq) | 38657.3713 | 38657.3782
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.386 | 38657.3964
| Brunotis-Mont Duq Z-44 | Collier (Duq) 345/138 Kv #1 Transformer | 38657.389 | 38657.4085
| Elrama Tran Xformer | Elrama - Dravosburg 69 Kv Line (Duq) | 38657.3936 | 38657.4816
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.4277 | 38657.4329
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.4613 | 38657.4658
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.4858 | 38657.5019
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38657.5326 | 38657.7414
| Altavsta Tx3 Xformer | Altavista 138/115 Tx#4 | 38657.6427 | 38657.6652
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38657.7531 | 38657.7964
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38657.8318 | 38658.0057
2005-11-02 | Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38658.0087 | 38658.2368
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.232 | 38658.2657
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.3283 | 38658.3346
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.3489 | 38658.5327
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38658.3788 | 38658.5913
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38658.388 | 38658.4101
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38658.4526 | 38658.6113
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.5518 | 38658.6877
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38658.647 | 38658.7392
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.7042 | 38658.7522
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38658.7219 | 38658.7392
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38658.7522 | 38658.8019
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38658.7522 | 38658.7588
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38658.8477 | 38658.9921
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.8505 | 38658.9078
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38658.8566 | 38658.8701
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38658.9505 | 38659.0275
2005-11-03 | Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38659.0057 | 38659.3453
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.0544 | 38659.0891
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.1071 | 38659.131
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.1523 | 38659.1579
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.1758 | 38659.303
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.3225 | 38659.3405
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.3225 | 38659.3367
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.3593 | 38659.3692
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38659.3692 | 38659.7311
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.3932 | 38659.4014
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.4014 | 38659.4532
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.4171 | 38659.4638
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.4814 | 38659.4957
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38659.5115 | 38659.5338
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.5143 | 38659.6675
| Krendale-Senecaoe138 Kv | Cabot - Wylie Ridge 500 Kv Line | 38659.6294 | 38659.7222
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.6853 | 38659.7286
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.813 | 38659.9091
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 38659.8337 | 38659.8349
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38659.8907 | 38660.0194
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38659.9232 | 38659.9652
2005-11-04 | Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38660.0215 | 38660.1659
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38660.1998 | 38660.2189
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38660.245 | 38660.2615
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38660.2601 | 38660.3359
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.2836 | 38660.287
| Ftmartin-Pruntyto | Harr Aps-Pruntyto | 38660.2984 | 38660.3
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.3118 | 38660.3468
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38660.3745 | 38660.3977
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38660.446 | 38660.4958
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38660.4615 | 38660.5338
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38660.5338 | 38660.5645
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38660.6249 | 38660.6601
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.6328 | 38660.6741
| Krendale-Senecaoe138 Kv | Cabot - Wylie Ridge 500 Kv Line | 38660.6377 | 38660.6741
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38660.6943 | 38660.7401
| Krendale-Senecaoe138 Kv | Cabot - Wylie Ridge 500 Kv Line | 38660.6943 | 38660.7326
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.702 | 38660.707
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.7326 | 38660.7401
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38660.765 | 38660.7673
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.7959 | 38660.8035
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38660.8753 | 38660.8832
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.8753 | 38660.957
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38660.9746 | 38661.0026
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38660.9782 | 38660.9809
2005-11-05 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.0124 | 38661.0434
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38661.0336 | 38661.0397
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38661.0854 | 38661.1231
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38661.1673 | 38661.1957
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.1853 | 38661.1957
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.2393 | 38661.3944
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.4086 | 38661.764
| Wylierid Tran 7 Xformer | Erie West #1 345/115 Kv Trans | 38661.469 | 38661.52
| Mahans Lane-Tidd | Weirton-Carnegie-Tidd (224) 138 Kv | 38661.4708 | 38661.4805
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.538 | 38661.5999
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.6327 | 38661.6378
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.6801 | 38661.7022
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.7315 | 38661.7851
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.7851 | 38661.7909
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.8045 | 38661.8083
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.8232 | 38661.8812
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.8838 | 38661.9376
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38661.9293 | 38661.9331
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38661.9686 | 38662.0091
2005-11-06 | Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.0091 | 38662.0217
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38662.0376 | 38662.0855
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38662.2176 | 38662.2885
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.2337 | 38662.2629
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.2885 | 38662.2923
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38662.314 | 38662.7441
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.3917 | 38662.3919
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.4266 | 38662.6969
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.7156 | 38662.7159
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.7616 | 38662.9372
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38662.9874 | 38663.0057
2005-11-07 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38663.2794 | 38663.3021
| 171 Wemplet 45Tr84 Ct | 345L0621 6_Byron - 158_Cherry 345 Kv Line | 38663.3288 | 38663.3319
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38663.3288 | 38663.3414
| Kammer2 .200 Xformer | Kammer South Canton 765Kv Line & Belmont-Harrison | 38663.3559 | 38663.4847
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38663.5306 | 38664.054
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38663.6153 | 38663.6161
| Altavsta Tx3 Xformer | Altavista 138/115 Tx#4 | 38663.9485 | 38663.969
2005-11-08 | 155 Nels-15508 15508 1 | 345L15502 | 38664.0263 | 38664.0292
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.0589 | 38664.3012
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.3182 | 38664.3423
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.3673 | 38664.4264
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.456 | 38664.4698
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.4904 | 38664.4946
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.5333 | 38664.55
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.7137 | 38664.7248
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.9231 | 38664.9782
| Altavsta Tx3 Xformer | Altavista 138/115 Tx#4 | 38664.9363 | 38664.9515
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38664.9993 | 38665.0152
2005-11-09 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.0771 | 38665.0975
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.1542 | 38665.1568
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.172 | 38665.257
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.312 | 38665.3143
| Tiltonsville-Windsor Aps | Hatfield-Ronco 500 Kv | 38665.4338 | 38665.4718
| Tiltonsville-Windsor Aps | Hatfield-Ronco 500 Kv | 38665.5 | 38665.5433
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.5083 | 38665.5153
| Amos 8-P Xformer | Amos 345-138Kv Xf #7 | 38665.5202 | 38665.5445
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.5351 | 38665.5433
| Tiltonsville-Windsor Aps | Hatfield-Ronco 500 Kv | 38665.5623 | 38665.5905
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.5651 | 38665.6249
| Amos 8-P Xformer | Amos 345-138Kv Xf #7 | 38665.585 | 38665.6276
| Tiltonsville-Windsor Aps | Hatfield-Ronco 500 Kv | 38665.6071 | 38665.7179
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.6607 | 38665.7223
| Tiltonsville-Windsor Aps | Hatfield-Ronco 500 Kv | 38665.735 | 38665.7379
| Otter-Altavist | Smith Mtn - Canders - Opossum Creek 138Kv Line | 38665.7593 | 38665.8009
| Altavsta Tx3 Xformer | Altavista 138/115 Tx#4 | 38665.9469 | 38665.9655
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38665.9655 | 38665.973
| Altavsta Tx3 Xformer | Altavista 138/115 Tx#4 | 38665.9828 | 38665.9913
2005-11-10 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.0073 | 38666.1179
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.1894 | 38666.1936
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.2255 | 38666.2576
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.2812 | 38666.2838
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.4948 | 38666.5782
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38666.5435 | 38666.8733
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.5948 | 38666.6746
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.7012 | 38666.7412
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38666.7622 | 38666.8423
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38666.799 | 38666.823
| Musking2 B-P Xformer | Muskingum River Unit 1 | 38666.8114 | 38666.8885
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38666.8654 | 38666.8858
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38666.8885 | 38667.0138
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38666.9108 | 38666.9984
2005-11-11 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38667.0049 | 38667.2697
| 155 Nels-15508 15508 1 | 345L15502 | 38667.0215 | 38667.3091
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.0238 | 38667.0372
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38667.0522 | 38667.0568
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.0738 | 38667.0811
| Wylierid Tran 7 Xformer | Erie West-Ashtabulatap-Perry & Ashtabu Transformer | 38667.1794 | 38667.2358
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.2697 | 38667.2865
| 155 Nels-15508 15508 1 | 345L15502 | 38667.3352 | 38667.4981
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.3651 | 38667.4139
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38667.4139 | 38667.4751
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38667.4447 | 38667.4833
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.4447 | 38667.4533
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.4833 | 38667.5218
| 155 Nels-15508 15508 1 | 345L15502 | 38667.5218 | 38667.6606
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38667.5218 | 38667.6197
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.5479 | 38667.6022
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38667.5639 | 38667.5766
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38667.592 | 38667.6632
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.6167 | 38667.7252
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38667.6355 | 38667.7687
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.74 | 38667.7412
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38667.7634 | 38667.792
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38667.7845 | 38667.8662
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.7845 | 38667.8801
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38667.8922 | 38668.0291
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38667.9078 | 38667.9692
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38667.9112 | 38667.9947
2005-11-13 | Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38669.335 | 38669.3383
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38669.3715 | 38669.3738
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38669.3972 | 38669.4896
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38669.6076 | 38669.8074
| Wylierid Tran 7 Xformer | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38669.6926 | 38669.7295
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38669.7087 | 38669.7295
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38669.7956 | 38669.798
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38669.8476 | 38669.8836
2005-11-14 | Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38670.2098 | 38670.215
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line & Pleas | 38670.2648 | 38670.2943
| Wylierid Tran 7 Xformer | Ftmartin-Harritap-Harr Aps-Kammer | 38670.4848 | 38670.4912
| Wylierid Tran 7 Xformer | Ftmartin-Harritap-Harr Aps-Kammer | 38670.5113 | 38670.5752
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38670.5155 | 38670.5241
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38670.5838 | 38670.6193
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38670.7184 | 38670.7831
2005-11-15 | Bedingto Tran 2 Xformer | Bedington Doubs Line | 38671.3815 | 38671.4181
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38671.4394 | 38671.4976
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38671.5173 | 38671.7636
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38671.7175 | 38671.8262
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38671.7235 | 38671.7636
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38671.7427 | 38671.7889
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38671.7889 | 38671.8495
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38671.8818 | 38671.9095
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38671.9917 | 38672.048
2005-11-16 | Wylierid Tran 7 Xformer | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38672.048 | 38672.0671
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38672.0522 | 38672.1056
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38672.1222 | 38672.1237
| Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38672.1724 | 38672.1912
| Wylierid Tran 7 Xformer | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38672.2292 | 38672.2343
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38672.2348 | 38672.2392
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38672.2537 | 38672.3415
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38672.4454 | 38672.4592
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38672.5581 | 38672.5895
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38672.6907 | 38672.7395
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38672.7104 | 38672.7215
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38672.717 | 38672.7395
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38672.7395 | 38672.7417
| 143 Wolf-581 Fron 14310 | Actual | 38672.7465 | 38672.7983
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38672.7593 | 38672.8038
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38672.7719 | 38672.8091
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38672.925 | 38672.9515
2005-11-17 | Bedingto Tran 2 Xformer | Bedington Doubs Line | 38673.2354 | 38673.2412
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38673.2598 | 38673.3914
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38673.2952 | 38673.3514
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38673.711 | 38673.805
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38673.7201 | 38673.7538
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38673.7201 | 38673.8625
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38673.7859 | 38673.818
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38673.8796 | 38673.8855
2005-11-18 | Wylierid Tran 7 Xformer | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38674.1328 | 38674.1366
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38674.2528 | 38674.2736
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38674.2711 | 38674.3118
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38674.2826 | 38674.3416
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38674.2956 | 38674.3007
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38674.3986 | 38674.4049
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38674.7237 | 38674.8248
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38674.7589 | 38674.8077
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38674.8246 | 38674.8248
2005-11-19 | Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.0203 | 38675.0466
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.1029 | 38675.1266
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.181 | 38675.2569
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38675.349 | 38675.3589
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38675.4163 | 38675.5028
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.5085 | 38675.533
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38675.5524 | 38675.6983
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.5594 | 38675.5604
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.5777 | 38675.5831
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.6185 | 38675.6363
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.6651 | 38675.6795
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38675.752 | 38675.8566
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38675.7596 | 38675.7864
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38675.836 | 38675.8384
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38675.8384 | 38675.8418
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38675.8755 | 38675.8873
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38675.9138 | 38675.9185
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38675.9185 | 38675.9971
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38675.923 | 38675.9357
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38675.9971 | 38676.0068
2005-11-20 | Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.0028 | 38676.0326
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38676.0068 | 38676.1858
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.044 | 38676.0474
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.0801 | 38676.1659
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.1369 | 38676.1493
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38676.1554 | 38676.1589
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.1659 | 38676.1858
| Sammis-Wylierid | Tidd - Wylierid 345 Kv | 38676.1836 | 38676.2126
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.2126 | 38676.3555
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38676.2126 | 38676.2379
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.2414 | 38676.3146
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38676.3316 | 38676.3337
| Elrama-Mitchell Z-11 | Hatfield-Ronco 500 Kv | 38676.3555 | 38676.3599
| Kanawhar-Mattfun1 | Baker Broadford 765Kv Line | 38676.3555 | 38676.3735
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.3735 | 38676.3805
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38676.3805 | 38676.387
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.4003 | 38676.4114
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38676.4075 | 38676.4261
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.4261 | 38676.4301
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.4535 | 38676.4865
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38676.4707 | 38676.498
| Sammis-Wylierid | Mitchell-Elrama 138 Kv | 38676.4761 | 38676.4953
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38676.4761 | 38676.479
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.5546 | 38676.5702
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.5868 | 38676.716
| Sammis-Wylierid | Actual | 38676.6346 | 38676.6534
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.7028 | 38676.735
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38676.7157 | 38676.716
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38676.7475 | 38676.7817
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38676.7745 | 38676.9369
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.8217 | 38676.8237
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38676.8491 | 38676.8535
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.8628 | 38676.8662
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38676.8817 | 38676.9364
2005-11-21 | Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38677.0596 | 38677.148
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38677.1362 | 38677.1417
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38677.1626 | 38677.1802
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.2329 | 38677.2526
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38677.2396 | 38677.3006
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38677.2526 | 38677.2603
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.2819 | 38677.3358
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.3544 | 38677.3939
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38677.3636 | 38677.5059
| Bedingto-Nipetown Bre1 | Bedington Doubs Line | 38677.3939 | 38677.5472
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.4148 | 38677.4291
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38677.4291 | 38677.4356
| Collier T1 Xformer | Collier (Duq) 345/138 Kv #2 Transformer | 38677.4525 | 38677.4595
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.493 | 38677.509
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38677.493 | 38677.6674
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38677.5277 | 38677.9035
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.5652 | 38677.5742
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.6005 | 38677.6221
| Charlero-Mitchell Mi-Ch-2 | Charlero-Unionjct-Mitchel-Peters | 38677.6332 | 38677.6584
| Elrama-Mitchell Z-11 | Sammis - Wylierid 345 Kv | 38677.6674 | 38677.6757
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38677.6733 | 38677.7172
| Charlero-Mitchell Mi-Ch-2 | Charlero-Unionjct-Mitchel-Peters | 38677.6913 | 38677.7022
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38677.754 | 38677.7967
| Charlero-Mitchell Mi-Ch-2 | Charlero-Unionjct-Mitchel-Peters | 38677.7724 | 38677.856
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38677.815 | 38677.8176
| Charlero-Mitchell Mi-Ch-2 | Charlero-Unionjct-Mitchel-Peters | 38677.8866 | 38677.915
2005-11-22 | Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.2853 | 38678.4345
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38678.3075 | 38678.3358
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38678.3651 | 38678.3698
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38678.4842 | 38678.5531
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.5144 | 38678.6172
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.6674 | 38678.7183
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38678.6761 | 38678.7282
| Altavsta-Dominion 30A | New London Johnsonm Otter Altavist 138 Kv Circuit | 38678.7211 | 38678.7606
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38678.7582 | 38678.7635
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.7764 | 38678.7874
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.8649 | 38678.8705
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.8844 | 38678.9175
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.9395 | 38678.9706
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38678.9861 | 38678.9925
2005-11-23 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.0517 | 38679.1312
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.1464 | 38679.2545
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38679.1952 | 38679.2604
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.2725 | 38679.2805
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38679.2887 | 38679.3078
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38679.2958 | 38679.3
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38679.3242 | 38679.3773
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38679.4409 | 38679.7133
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.5298 | 38679.5964
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.6242 | 38679.7229
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38679.7133 | 38679.795
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.7491 | 38679.8287
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38679.8414 | 38679.9038
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38679.8591 | 38679.9956
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38679.9328 | 38679.9366
2005-11-24 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.0259 | 38680.0605
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.0833 | 38680.1032
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.1333 | 38680.1385
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.1576 | 38680.1652
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38680.1987 | 38680.2015
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.2523 | 38680.2586
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.3093 | 38680.5153
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38680.4106 | 38680.4985
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.5327 | 38680.5578
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.5745 | 38680.6213
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.6445 | 38680.6543
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.7056 | 38680.7246
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38680.827 | 38681.0206
| Charlero-Mitchell Mi-Ch-2 | Mitchell Tx1/Tx2N/Tx2S & Gen 1-2 | 38680.9252 | 38680.9362
2005-11-25 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.023 | 38681.2513
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.2732 | 38681.3041
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38681.2829 | 38681.3463
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 38681.3123 | 38681.3463
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38681.3178 | 38681.4159
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.3463 | 38681.6474
| Bedingto Tran 2 Xformer | ___Bedingto Tran 1 & Tran 3 | 38681.3928 | 38681.4069
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38681.5522 | 38681.5561
| Wylierid Tran 7 Xformer | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38681.6474 | 38681.6584
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.6636 | 38681.6658
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.6892 | 38681.7381
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38681.7212 | 38681.8286
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38681.754 | 38681.7726
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.754 | 38681.83
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.852 | 38681.8526
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38681.8671 | 38682.0029
2005-11-26 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38682.0113 | 38682.1115
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38682.2564 | 38683.0016
2005-11-27 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38683.0059 | 38683.9926
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38683.7612 | 38683.7724
2005-11-28 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38684.0021 | 38684.0109
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38684.0331 | 38684.1508
| Wylierid Tran 7 Xformer | Bel-Harr 500 + Ftm-Harr-Kammer | 38684.1508 | 38684.2106
| Elrama-Mitchell Z-11 | Harr Aps-Pruntyto | 38684.1963 | 38684.2466
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38684.2572 | 38684.3858
| Doubs-Mtstorm | Meadow Brook - Mt. Storm 500 Kv Line | 38684.2647 | 38684.2683
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38684.3339 | 38684.3719
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38684.3882 | 38684.4055
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38684.3923 | 38684.4926
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38684.4469 | 38684.5799
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38684.4566 | 38684.4628
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38684.5629 | 38684.984
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38684.5779 | 38684.6042
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38684.6063 | 38684.7223
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38684.6185 | 38684.6734
| Bedingto Tran 2 Xformer | Bedington Doubs Line | 38684.708 | 38684.7568
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38684.7568 | 38684.7805
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38684.8716 | 38684.8736
2005-11-29 | Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.2262 | 38685.228
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.2536 | 38685.2565
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.2849 | 38685.3049
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.3278 | 38685.6741
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.6999 | 38685.7876
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.8666 | 38685.874
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.8884 | 38685.9045
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38685.9191 | 38685.9384
2005-11-30 | Sammis-Wylierid | Erie W-Ashtabula-Perry & Erie W #1 & Ashtab Trans | 38686.1949 | 38686.2028
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38686.2433 | 38686.4233
| Wylierid Tran 7 Xformer | Belmont-Harrison 500 Kv Line | 38686.2867 | 38686.2909
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38686.3228 | 38686.3259
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38686.3601 | 38686.3762
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38686.3905 | 38686.4233
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38686.5676 | 38686.6182
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38686.7182 | 38686.7443
| Altavsta-Dominion 30A | 13 Line: Altavista-Reusens | 38686.7443 | 38686.8316
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38686.7617 | 38686.7733
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38686.7929 | 38686.7987
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38686.8141 | 38686.8463
| Doubs 500-3 Xformer | ___Doubs 500/230 #2 & #4 | 38686.8784 | 38686.9061