## MIDATL
Off-Cost Operations - October 2006
Date | Facility | Contingency | Begin Time | End Time
2006-10-01 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38991.6828 | 38991.7258
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38991.7402 | 38991.7505
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38991.7828 | 38991.8104
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38991.8933 | 38991.9076
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38991.9921 | 38992.0073
2006-10-02 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38992.0144 | 38992.0539
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38992.2644 | 38992.2649
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38992.2688 | 38992.3861
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 38992.3075 | 38992.3245
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38992.3861 | 38992.5922
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38992.4251 | 38992.4434
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38992.4605 | 38992.503
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 38992.4927 | 38992.5483
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 38992.5922 | 38992.5952
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38992.5922 | 38992.6088
| Homercit-Shelocta Khc 2014 | Johnstown #2 230/115 Kv Transformer | 38992.5981 | 38992.7496
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38992.6237 | 38992.6427
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38992.6295 | 38992.6789
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38992.6589 | 38992.6623
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38992.6772 | 38992.8006
| Homercit-Shelocta Khc 2014 | Johnstown #2 230/115 Kv Transformer | 38992.8006 | 38992.8409
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38992.8665 | 38992.9215
2006-10-03 | Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38993.0138 | 38993.0181
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38993.0765 | 38993.0924
| Bergen-Leonia T-2272 | Bellville-Athenia 230 Line | 38993.2427 | 38993.2815
| Leonia-Newmilfr T-2272 | Bellville-Athenia 230 Line | 38993.2427 | 38993.243
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38993.2711 | 38993.2733
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38993.2711 | 38993.2733
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38993.2711 | 38993.2733
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38993.3053 | 38993.5619
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38993.5647 | 38993.5994
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38993.5931 | 38993.8032
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38993.6059 | 38993.638
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38993.6269 | 38993.6744
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38993.655 | 38993.805
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38993.8177 | 38993.8399
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38993.8572 | 38993.859
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38993.8572 | 38993.8753
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38993.8753 | 38993.8954
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38993.8766 | 38993.8807
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38993.9117 | 38993.9294
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38993.9921 | 38994.0095
2006-10-04 | Philipsbg-Tyronen Fw 1037 | Keystone-Shelocta-Homer City 230 | 38994.0053 | 38994.0979
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38994.0166 | 38994.0422
| Philipsbg-Tyronen Fw 1037 | Keystone-Shelocta-Homer City 230 | 38994.1925 | 38994.256
| Philipsbg-Tyronen Fw 1037 | Keystone-Shelocta-Homer City 230 | 38994.2978 | 38994.2994
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.3356 | 38994.3707
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.3854 | 38994.4795
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.4953 | 38994.5575
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 38994.5575 | 38994.6049
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.5819 | 38994.6599
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 38994.6276 | 38994.6883
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38994.6385 | 38994.7252
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 38994.7037 | 38994.7623
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.7146 | 38994.7966
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.8339 | 38994.864
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38994.8911 | 38994.924
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38994.9009 | 38994.9164
2006-10-05 | Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.3521 | 38995.4876
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38995.3682 | 38995.3845
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38995.3912 | 38995.4059
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38995.5235 | 38995.6262
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38995.5757 | 38995.5926
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.619 | 38995.6411
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38995.6262 | 38995.6411
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.6654 | 38995.7083
| Smawa-Waldwick J-3410 | Actual | 38995.7392 | 38995.7415
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.7425 | 38995.7523
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.8112 | 38995.8124
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.8415 | 38995.8936
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38995.8959 | 38995.9345
| Bergen-Hoboken R-2270 | Hudson-Penhorn-Bellville-N. Bergen-Bergen (X-2250) | 38995.9141 | 38995.9207
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38995.9506 | 38995.9645
2006-10-06 | Brunswic-Edison H-1360 | Devilsbrook-Plainsbrook-Trenton 138 Line | 38996.3557 | 38996.4654
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.3763 | 38996.43
| Meadowrd-Metuchen R-1318 | Devilsbrook-Plainsbrook-Trenton 138 Line | 38996.3924 | 38996.3984
| Buzzard-Ritchie 23016 | Burches Hill-Alabama Avenue (23089/23093) 230 Line | 38996.3984 | 38996.3995
| Edison-Meadowrd R-1318 | Edison-Meadow Road-Metuchen (Q-1317) 138 Kv Line | 38996.3984 | 38996.4173
| Meadowrd-Metuchen R-1318 | Devilsbrook-Plainsbrook-Trenton 138 Line | 38996.4173 | 38996.443
| Buzzard-Ritchie 23016 | Burches Hill-Alabama Avenue (23089/23093) 230 Line | 38996.4203 | 38996.7486
| Edison-Meadowrd R-1318 | Edison-Meadow Road-Metuchen (Q-1317) 138 Kv Line | 38996.4529 | 38996.648
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.4551 | 38996.4568
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.4733 | 38996.4839
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.4998 | 38996.5273
| Meadowrd-Metuchen R-1318 | Devilsbrook-Plainsbrook-Trenton 138 Line | 38996.5194 | 38996.5226
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.5449 | 38996.5826
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.5992 | 38996.6394
| Edison-Meadowrd R-1318 | Devilsbrook-Plainsbrook-Trenton 138 Line | 38996.6854 | 38996.8293
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.7204 | 38996.7786
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.7937 | 38996.8002
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38996.8852 | 38996.9352
2006-10-07 | Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.2732 | 38997.301
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.316 | 38997.32
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.3469 | 38997.3553
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.3812 | 38997.5898
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.6175 | 38997.6229
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.7197 | 38997.7341
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.8279 | 38997.8375
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.8545 | 38997.8728
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.9106 | 38997.913
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.9515 | 38997.9539
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 38997.9769 | 38997.9785
2006-10-08 | Keeney At51 Xformer | Red Lion At50 Transformer 500-230 | 38998.3453 | 38998.3584
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 38998.7862 | 38998.7883
2006-10-09 | Kingscrk-Woverdpl 6725-1 | Actual | 38999.2806 | 38999.2822
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 38999.302 | 38999.322
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 38999.3553 | 38999.4105
| Kingscrk-Woverdpl 6725-1 | Actual | 38999.3594 | 38999.3708
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 38999.4355 | 38999.5116
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line And Church | 38999.4572 | 38999.5635
| Kingscrk-Woverdpl 6725-1 | Actual | 38999.4636 | 38999.7939
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 38999.5863 | 38999.9292
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38999.6673 | 38999.7138
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 38999.8039 | 38999.8207
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 38999.8207 | 38999.826
| Kingscrk-Woverdpl 6725-1 | Actual | 38999.8738 | 38999.9074
2006-10-10 | Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39000.2772 | 39000.3153
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.2879 | 39000.3068
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39000.3815 | 39000.5008
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39000.397 | 39000.5008
| Kingscrk-Woverdpl 6725-1 | Actual | 39000.45 | 39000.5465
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.4861 | 39000.4939
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39000.5411 | 39000.8997
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39000.5498 | 39000.5776
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.6561 | 39000.6765
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39000.7267 | 39000.7304
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.7286 | 39000.7507
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.7915 | 39000.7937
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.8573 | 39000.8602
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39000.8912 | 39000.8997
2006-10-11 | Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39001.2771 | 39001.3122
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39001.2856 | 39001.3193
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39001.3297 | 39001.7116
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39001.4158 | 39001.4172
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39001.5288 | 39001.5591
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39001.6442 | 39001.8134
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39001.6517 | 39001.7344
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39001.7859 | 39001.8114
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39001.8308 | 39001.8463
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39001.8342 | 39001.8963
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39001.8608 | 39001.8892
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39001.9045 | 39001.9192
2006-10-12 | Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.2855 | 39002.2892
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39002.2855 | 39002.3261
| Mardela-Vienna 6708-3 | Vienna-Loretto (13780) 138 Kv Line | 39002.3787 | 39002.4377
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.3842 | 39002.3922
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.41 | 39002.4221
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.4192 | 39002.4221
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.4377 | 39002.4533
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.4691 | 39002.5146
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39002.4856 | 39002.5055
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.5297 | 39002.5346
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.5426 | 39002.5598
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39002.551 | 39002.6502
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.5783 | 39002.5955
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.5888 | 39002.5912
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.619 | 39002.648
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.638 | 39002.6665
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.6626 | 39002.6984
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39002.6853 | 39002.688
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39002.7018 | 39002.7061
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.7147 | 39002.7356
| Whitpain Wht 1Tr Xformer | Elroy Whitpain & 500-3 | 39002.7147 | 39002.7957
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39002.7218 | 39002.7631
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39002.8522 | 39002.885
2006-10-14 | Waneeta-Waynejct 220-42 | Plymouth Meeting-Bala 230 Line | 39004.437 | 39004.5533
2006-10-15 | Kingscrk-Woverdpl 6725-1 | Actual | 39005.2459 | 39005.2641
| Kingscrk-Woverdpl 6725-1 | Actual | 39005.658 | 39005.9319
2006-10-16 | Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39006.2857 | 39006.3658
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.3168 | 39006.3206
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.3496 | 39006.4735
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39006.4784 | 39006.5179
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.4925 | 39006.5466
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39006.5454 | 39006.6541
| Dickersh-Doubs 23102 | Pleasant View-Loundoun (558) 500 Kv & P.View Trans | 39006.5535 | 39006.6788
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.5759 | 39006.7655
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39006.6788 | 39006.6918
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39006.7386 | 39006.7646
| Dickersh-Doubs 23102 | Doubs Brighton | 39006.7491 | 39006.7948
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39006.7701 | 39006.7728
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39006.8305 | 39006.9706
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.8377 | 39006.8411
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39006.867 | 39006.8901
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.8676 | 39006.9015
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39006.9187 | 39006.9451
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39006.9492 | 39006.9586
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39006.9931 | 39006.9979
2006-10-17 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39007.0221 | 39007.0311
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.2908 | 39007.2914
| Brunswic-Edison H-1360 | Sewaren 220-1 230-138 Transformer | 39007.307 | 39007.345
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39007.3288 | 39007.345
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39007.3667 | 39007.4289
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.3667 | 39007.4592
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.4289 | 39007.4293
| Cumb Ae Cumb #2 Xformer | Mickleton-Bridgeport (2315) 230 Kv Line | 39007.4383 | 39007.5013
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.4493 | 39007.4592
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.4808 | 39007.4945
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.4945 | 39007.6241
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.5088 | 39007.548
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.5944 | 39007.7244
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.6864 | 39007.696
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.7108 | 39007.7279
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.7446 | 39007.7479
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.7604 | 39007.7649
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39007.7682 | 39007.7856
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.8403 | 39007.8616
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39007.8768 | 39007.9084
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39007.9124 | 39008.0011
2006-10-18 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.0081 | 39008.0185
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.0325 | 39008.0689
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39008.2186 | 39008.2603
| Athenia-Bellevil Z-2226 | Actual | 39008.2558 | 39008.2698
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39008.2854 | 39008.3148
| Carlls-Sherman 0739 | Deepwater - Quinton 69Kv Line | 39008.2866 | 39008.7131
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.2959 | 39008.3872
| Athenia-Bellevil Z-2226 | Actual | 39008.3434 | 39008.4122
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39008.3493 | 39008.3523
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.3758 | 39008.4432
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39008.3758 | 39008.3872
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.4078 | 39008.5336
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.4631 | 39008.4862
| Athenia-Bellevil Z-2226 | Actual | 39008.4862 | 39008.4878
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.5023 | 39008.5049
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.5503 | 39008.583
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.6026 | 39008.6154
| Athenia-Bellevil Z-2226 | Bergen #2 (2001 Stm/2101 Ct1/2202 Ct2) | 39008.6254 | 39008.6763
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.6418 | 39008.6643
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.6823 | 39008.7372
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.6934 | 39008.7131
| Dickerso-Plvw Vp 23111 | Actual | 39008.7019 | 39008.7208
| Athenia-Bellevil Z-2226 | Bergen #2 (2001 Stm/2101 Ct1/2202 Ct2) | 39008.7148 | 39008.724
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39008.7551 | 39008.7802
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39008.7826 | 39008.7932
| Athenia-Bellevil Z-2226 | Bergen #2 (2001 Stm/2101 Ct1/2202 Ct2) | 39008.8429 | 39008.9324
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.8429 | 39008.8549
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.8861 | 39008.9596
| Athenia-Bellevil Z-2226 | Bergen #2 (2001 Stm/2101 Ct1/2202 Ct2) | 39008.9494 | 39008.9618
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39008.9749 | 39009.0005
| Athenia-Bellevil Z-2226 | Bergen #2 (2001 Stm/2101 Ct1/2202 Ct2) | 39008.9899 | 39009.0071
2006-10-19 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.0071 | 39009.0152
| Athenia-Bellevil Z-2226 | Actual | 39009.0343 | 39009.059
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.0343 | 39009.0422
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.059 | 39009.092
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.2839 | 39009.2905
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.3547 | 39009.5196
| Brunswic-Edison H-1360 | Sewaren 220-1 230-138 Transformer | 39009.3547 | 39009.4954
| Beckett-Paulsboro 0722-2 | Chambers-Churchtown | 39009.4924 | 39009.5169
| Brunswic-Edison H-1360 | Sewaren 220-1 230-138 Transformer | 39009.5196 | 39009.6223
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.5341 | 39009.5571
| Beckett-Paulsboro 0722-2 | Chambers-Churchtown | 39009.5427 | 39009.5743
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.5857 | 39009.9579
| Brunswic-Edison H-1360 | Sewaren 220-1 230-138 Transformer | 39009.6455 | 39009.7709
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39009.7532 | 39009.7575
| Brunswic-Edison H-1360 | Sewaren 220-1 230-138 Transformer | 39009.8151 | 39009.8848
| Edison-Meadowrd R-1318 | Sewaren 220-1 230-138 Transformer | 39009.8182 | 39009.8421
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39009.9773 | 39010.0574
2006-10-20 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39010.0673 | 39010.1437
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39010.1867 | 39010.4287
| Waneeta-Waynejct 220-42 | Plymouth Meeting-Bala 230 Line W/220-65 Open | 39010.3343 | 39010.5866
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39010.4715 | 39010.9716
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39010.9936 | 39011.0012
2006-10-21 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39011.3494 | 39011.3937
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39011.4764 | 39011.5252
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39011.5421 | 39011.5814
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39011.7307 | 39011.7702
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39011.787 | 39011.789
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39011.8259 | 39011.9194
2006-10-22 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39012.0047 | 39012.0097
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39012.6361 | 39012.6916
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39012.7127 | 39012.721
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39012.735 | 39012.7582
| Delcotap-Mickleto 220-38 | Hope Creek New Freedom 500 Line & Deptford Tie | 39012.7462 | 39012.7736
| Rich Pe-Waneeta 220-35 | Hope Creek New Freedom 500 Line & Deptford Tie | 39012.7519 | 39012.8163
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39012.9028 | 39012.9808
2006-10-23 | Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.4001 | 39013.4063
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.4506 | 39013.5921
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39013.5991 | 39013.661
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.6071 | 39013.6679
| Blairsve No.1 Tx Xformer | Actual | 39013.6899 | 39013.7324
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.7495 | 39013.7849
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.8001 | 39013.8063
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.842 | 39013.8731
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39013.9167 | 39013.9296
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.9601 | 39013.971
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39013.9868 | 39014.0818
2006-10-24 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39014.4735 | 39014.5909
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39014.5135 | 39014.5166
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39014.5361 | 39014.6414
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39014.6507 | 39014.6678
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39014.6874 | 39014.6965
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39014.7492 | 39014.7766
| Absecon-Lewis 0702 | Cedar-Cardiff 230 Kv Line | 39014.7806 | 39014.7929
| Absecon-Lewis 0702 | Cedar-Cardiff 230 Kv Line | 39014.8167 | 39014.9186
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39014.8938 | 39014.9081
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39014.9424 | 39014.9995
2006-10-25 | Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.2465 | 39015.2836
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.3342 | 39015.4408
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.5561 | 39015.5615
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.5825 | 39015.6884
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.7338 | 39015.7388
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.8084 | 39015.838
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39015.9186 | 39015.9372
2006-10-26 | Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39016.3037 | 39016.3458
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39016.3881 | 39016.4183
| Center-Westport 110551 | Rvrsd-Brndnshrs 2345 230 Line | 39016.4231 | 39016.5104
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39016.4455 | 39016.4784
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39016.5004 | 39016.5198
| Center-Westport 110551 | Rvrsd-Brndnshrs 2345 230 Line | 39016.5597 | 39016.5657
| Center-Westport 110551 | Rvrsd-Brndnshrs 2345 230 Line | 39016.6078 | 39016.6089
| Center-Westport 110551 | Rvrsd-Brndnshrs 2345 230 Line | 39016.6456 | 39016.6468
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39016.6828 | 39016.6895
| Center-Westport 110551 | Rvrsd-Brndnshrs 2345 230 Line | 39016.6828 | 39016.6861
| Nphilade-Waneeta 220-49 | Plymouth Mtg-Whitemarsh-Pulaski (220-41) 230 Kv | 39016.7356 | 39016.855
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39016.7502 | 39016.7626
| Newfreed 500-3 Xformer | New Freedom 500-2 2W Transformer | 39016.7502 | 39016.8227
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39016.8282 | 39016.9311
| Newfreed 500-3 Xformer | New Freedom 500-2 2W Transformer | 39016.8525 | 39016.877
| Nphilade-Waneeta 220-49 | Plymouth Mtg-Whitemarsh-Pulaski (220-41) 230 Kv | 39016.8735 | 39016.9005
| Newfreed 500-3 Xformer | New Freedom 500-2 2W Transformer | 39016.8969 | 39016.9708
2006-10-27 | Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39017.0326 | 39017.0385
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39017.4591 | 39017.4657
2006-10-28 | Homercit-Watercur Hcwc | Actual | 39018.006 | 39018.0209
| Homercit-Watercur Hcwc | Actual | 39018.0507 | 39018.0712
| Homercit-Watercur Hcwc | Actual | 39018.0886 | 39018.1741
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39018.3549 | 39018.422
| Homercit-Watercur Hcwc | Actual | 39018.3586 | 39018.3867
| Homercit-Watercur Hcwc | Actual | 39018.4121 | 39018.4712
| Homercit-Watercur Hcwc | Actual | 39018.5116 | 39018.5957
| Homercit-Watercur Hcwc | Actual | 39018.6216 | 39018.7188
| Homercit-Watercur Hcwc | Actual | 39018.7519 | 39018.7532
| Homercit-Watercur Hcwc | Actual | 39018.7682 | 39018.7686
2006-10-29 | Homercit-Watercur Hcwc | Actual | 39019.1904 | 39019.1993
| Homercit-Watercur Hcwc | Actual | 39019.2353 | 39019.2402
| Homercit-Watercur Hcwc | Actual | 39019.4162 | 39019.5355
| Homercit-Watercur Hcwc | Actual | 39019.5568 | 39019.6148
| Homercit-Watercur Hcwc | Actual | 39019.6559 | 39019.7246
| Homercit-Watercur Hcwc | Actual | 39019.7772 | 39019.8072
| Homercit-Watercur Hcwc | Actual | 39019.8297 | 39019.9035
2006-10-30 | Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39020.3112 | 39020.3305
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39020.4289 | 39020.4477
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39020.4859 | 39020.5877
| Branchbu-Readingt M-2265 | Branchburg Ramapo T Line | 39020.5113 | 39020.6759
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39020.62 | 39020.6497
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39020.7352 | 39020.8014
| Homercit-Shelocta Khc 2014 | Homer City-Watercure 345 Line | 39020.8227 | 39020.8526
| Waneeta-Waynejct 220-42 | Actual | 39020.8474 | 39020.8734
2006-10-31 | Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39021.8616 | 39021.9006
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39021.9158 | 39021.9203
| Branchbu-Readingt M-2265 | Roseland-Whippany 230 Line | 39021.9486 | 39021.9529

## RTO
Off-Cost Operations - October 2006
Date | Facility | Contingency | Begin Time | End Time
2006-10-01 | Transfer Interface: West |  | 38991.7333 | 38991.8068
| Transfer Interface: West |  | 38991.9327 | 38991.9359
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38991.9938 | 38992.0018
2006-10-02 | Transfer Interface: Kmf | Cloverdale 765-345Kv Xf | 38992.0073 | 38992.0287
| Transfer Interface: Kmf | Broadford Sullivan 500Kv Line | 38992.0662 | 38992.089
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38992.1118 | 38992.1192
| Transfer Interface: Kmf | Cloverdale 765-345Kv Xf | 38992.1475 | 38992.1737
| Transfer Interface: Kmf | Cloverdale 765-345Kv Xf | 38992.2059 | 38992.2107
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38992.2289 | 38992.2389
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38992.3004 | 38992.3159
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.3861 | 38992.4012
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.4605 | 38992.4748
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.5386 | 38992.5483
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.5788 | 38992.5838
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.6439 | 38992.767
| Dumont2 2-S (Irol) | Cook 765-345Kv Xf | 38992.7178 | 38992.9014
| Transfer Interface: Kmf | Wyoming2 Jacksons Ferry 765Kv Line | 38992.8292 | 38992.8325
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.9014 | 38992.9063
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.9215 | 38992.9463
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38992.984 | 38992.9862
2006-10-03 | Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.1865 | 38993.2
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.2223 | 38993.2223
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.3463 | 38993.3482
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.3882 | 38993.4215
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.444 | 38993.4577
| Dumont2 2-S (Irol) | Cook Dumont 765Kv Line | 38993.7055 | 38993.7081
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38993.7898 | 38993.8069
| Dumont2 2-S (Irol) | Cook Dumont 765Kv Line | 38993.8438 | 38993.8807
| Transfer Interface: Kmf | Wyoming2 Jacksons Ferry 765Kv Line | 38993.8636 | 38993.8707
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.924 | 38993.9311
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38993.951 | 38993.9921
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38993.9551 | 38993.9594
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38993.9842 | 38993.9867
2006-10-04 | Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.0042 | 38994.0053
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.026 | 38994.0366
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.2377 | 38994.2962
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.3374 | 38994.3428
| Transfer Interface: Kmf | Wyoming2 Jacksons Ferry 765Kv Line | 38994.3623 | 38994.3696
| Transfer Interface: Kmf | Harr Aps-Pruntyto | 38994.4323 | 38994.4431
| Transfer Interface: Kmf | Wyoming2 Jacksons Ferry 765Kv Line | 38994.4829 | 38994.4863
| Transfer Interface: Kmf | Wyoming2 Jacksons Ferry 765Kv Line | 38994.5112 | 38994.5112
| Transfer Interface: Kmf | Wyoming2 Jacksons Ferry 765Kv Line | 38994.5483 | 38994.5636
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38994.6013 | 38994.6307
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.6223 | 38994.6276
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.6276 | 38994.6692
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.6788 | 38994.7146
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.6894 | 38994.7171
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.731 | 38994.7425
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38994.7719 | 38994.8225
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.7966 | 38994.7997
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.7997 | 38994.8369
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38994.843 | 38994.8543
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.8705 | 38994.924
| Transfer Interface: 50045005 | Hunterstown-Conastone (5013) & Hunterstown #1 Xfmr | 38994.8885 | 38994.8911
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 38994.924 | 38994.927
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 38994.9535 | 38994.9565
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38994.9535 | 38995.0072
2006-10-05 | Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.0321 | 38995.0445
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.0801 | 38995.0835
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38995.2203 | 38995.2247
| Transfer Interface: West |  | 38995.25 | 38995.2527
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38995.2627 | 38995.2986
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.2949 | 38995.3078
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.4867 | 38995.5358
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38995.4867 | 38995.775
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38995.8112 | 38995.8415
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38995.8566 | 38995.859
| Transfer Interface: Kmf | Culloden Wyoming 765Kv Line | 38995.8983 | 38995.9333
| Transfer Interface: Kmf | Harr Aps-Pruntyto | 38995.9476 | 38995.9814
2006-10-06 | Transfer Interface: West |  | 38996.4064 | 38996.412
| Transfer Interface: West |  | 38996.7752 | 38996.7753
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 38996.7753 | 38996.8041
2006-10-07 | Transfer Interface: West |  | 38997.4183 | 38997.4207
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.4252 | 38997.5468
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.4312 | 38997.436
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.5215 | 38997.5494
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.7661 | 38997.8224
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 38997.8375 | 38997.8809
| Transfer Interface: Bed-Bla | Conemaugh-Hunterstown (5006) 500 Kv Line | 38997.895 | 38997.8977
2006-10-09 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38999.7791 | 38999.781
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 38999.8119 | 38999.8207
2006-10-10 | Transfer Interface: West |  | 39000.4161 | 39000.5776
| Fruitland-Pemberton 6701-2 | Vienna-Loretto (13780) 138 Kv Line | 39000.4636 | 39000.468
| Transfer Interface: West |  | 39000.6504 | 39000.6729
| Transfer Interface: West |  | 39000.7064 | 39000.7083
| Transfer Interface: West |  | 39000.7442 | 39000.8056
| Transfer Interface: West |  | 39000.9425 | 39000.9465
2006-10-11 | Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39001.2551 | 39001.2856
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39001.7327 | 39001.7534
| Transfer Interface: Kmf | Pruntytown-Mt. Storm (510) 500 Kv Line | 39001.8821 | 39001.8892
2006-10-12 | Transfer Interface: Kmf | Cloverdale Jacksons Ferry 765Kv Line | 39002.04 | 39002.0503
| Transfer Interface: East |  | 39002.3004 | 39002.3189
| Transfer Interface: East |  | 39002.3499 | 39002.3525
2006-10-15 | Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39005.7745 | 39005.7884
2006-10-16 | Fruitland-Pemberton 6701-2 | Vienna-Loretto (13780) 138 Kv Line | 39006.2541 | 39006.5156
| Fruitland-Pemberton 6701-2 | Vienna-Loretto (13780) 138 Kv Line | 39006.893 | 39006.8979
2006-10-17 | Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39007.2595 | 39007.2893
| Fruitland-Pemberton 6701-2 | Vienna-Loretto (13780) 138 Kv Line | 39007.2833 | 39007.3255
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39007.6864 | 39007.7682
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39007.7108 | 39007.7127
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39007.7227 | 39007.7649
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39007.7856 | 39007.8047
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39007.7856 | 39007.8137
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39007.8202 | 39007.8438
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39007.8511 | 39007.9124
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39007.9032 | 39007.9084
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39007.9908 | 39007.9914
2006-10-18 | Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.0272 | 39008.0284
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.2363 | 39008.2367
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.2589 | 39008.2591
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.2589 | 39008.3135
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.2787 | 39008.2866
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.3056 | 39008.3081
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.357 | 39008.361
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.4168 | 39008.6007
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.4363 | 39008.4432
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.4862 | 39008.5336
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.5503 | 39008.583
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.6154 | 39008.7019
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.6312 | 39008.8488
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39008.6643 | 39008.7188
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.7323 | 39008.7366
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39008.7372 | 39008.7551
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39008.752 | 39008.7529
| Transfer Interface: Bed-Bla | Juniata Keystone 500 Line | 39008.7802 | 39008.7964
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39008.9324 | 39008.9704
2006-10-19 | Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39009.0105 | 39009.0152
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39009.597 | 39009.5979
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39009.7123 | 39009.7215
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39009.7645 | 39009.7682
| Transfer Interface: West |  | 39009.767 | 39009.7832
2006-10-26 | Wylierid Tran 7 (Irol) | Susquehanna 1 & 2 Gens | 39016.2412 | 39016.2448
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39016.2611 | 39016.2631
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39016.2785 | 39016.2827
| Wylierid Tran 7 (Irol) | Wylie Ridge #5 500/345 Kv Transformer - Sps Armed | 39016.9566 | 39016.9574
2006-10-28 | Transfer Interface: West |  | 39018.7556 | 39018.7751
2006-10-30 | Transfer Interface: West |  | 39020.7249 | 39020.7423
2006-10-31 | Transfer Interface: Kmf | Cloverdale Jacksons Ferry 765Kv Line | 39021.9862 | 39021.9959

## WEST
Off-Cost Operations - October 2006
Date | Facility | Contingency | Begin Time | End Time
2006-10-02 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38992.2335 | 38992.2594
| Cheswick-Univers Z-52 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 38992.4221 | 38992.4321
| Cheswick-Univers Z-52 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 38992.467 | 38992.4736
| Cheswick-Univers Z-52 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 38992.5712 | 38992.5788
| 86 Davis Cr 45Tr83 Ct | 345L2004S | 38992.6956 | 38992.7103
| Yadkin4 -Deepcrek 46C | 262 Line: Yadkin-Greenwich | 38992.9014 | 38992.9025
2006-10-03 | L69-Lick | Actual | 38993.414 | 38993.444
2006-10-04 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.2285 | 38994.2447
| L69-Lick | Actual | 38994.3977 | 38994.4064
| Spornaep B Xformer | Sporn L69 Lick 138 Kv Line | 38994.3977 | 38994.4306
| L69-Lick | Actual | 38994.4306 | 38994.4632
| Loudoun4 Tx1 Xformer | Pleasant View-Loundoun (558) 500 Kv & P.View Trans | 38994.5575 | 38994.6501
| Aqueduct-Doubs 23101 | Dickersonh-Doubs 23102 | 38994.5986 | 38994.6677
| Loudoun4 Tx1 Xformer | Pleasant View-Loundoun (558) 500 Kv & P.View Trans | 38994.6677 | 38994.7101
| Mtstorm-Pruntyto | Bedington Blackoak Line | 38994.7101 | 38994.731
| Mtstorm-Pruntyto | Bedington Blackoak Line | 38994.7916 | 38994.7997
| Mtstorm-Pruntyto | Bedington Blackoak Line | 38994.9731 | 38994.9753
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38994.9995 | 38995.0052
2006-10-05 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.0148 | 38995.0484
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.0688 | 38995.1057
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38995.1556 | 38995.2312
| Carnegie-Tidd 138 Kv | Dbl Tidd-Wylieridge 345Kv And Mah-Wei | 38995.3572 | 38995.5069
| Carnegie-Tidd 138 Kv | Tidd - Wylierid 345 Kv | 38995.5235 | 38995.5242
| Carnegie-Tidd 138 Kv | Tidd - Wylierid 345 Kv | 38995.5413 | 38995.5859
| Carnegie-Tidd 138 Kv | Tidd - Wylierid 345 Kv | 38995.6006 | 38995.6509
| Carnegie-Tidd 138 Kv | Tidd - Wylierid 345 Kv | 38995.6733 | 38995.6857
2006-10-06 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38996.0304 | 38996.0616
| Dumont2-Olive | Babcock - Stillwell 345 Kv Line & Xf #1 (Nips) | 38996.032 | 38996.0353
| Dumont2-Olive | Babcock - Stillwell 345 Kv Line & Xf #1 (Nips) | 38996.052 | 38996.0523
| Dumont2-Olive | Jefferson Rockport 765Kv Line | 38996.1212 | 38996.1519
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38996.2081 | 38996.2504
| Dumont2-Olive | Babcock - Stillwell 345 Kv Line & Xf #1 (Nips) | 38996.2628 | 38996.3
| Mahans Lane-Tidd | Dbl--Tidd-Wyl 345 Kv & Weirton-Carnegie | 38996.3474 | 38996.3838
| Mahans Lane-Tidd | Tidd - Wylierid 345 Kv | 38996.3984 | 38996.4733
| Mahans Lane-Tidd | Tidd - Wylierid 345 Kv | 38996.4886 | 38996.6033
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38996.7105 | 38996.7857
2006-10-07 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.2569 | 38997.2575
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.2917 | 38997.3273
| 282 Zion-Lakevie2 28201 | 345L2221 | 38997.3509 | 38997.4415
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.3618 | 38997.4275
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.4537 | 38997.5322
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.5468 | 38997.5898
| 282 Zion-Lakevie2 28201 | 345L2221 | 38997.6175 | 38997.6229
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.6614 | 38997.6677
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.6826 | 38997.7286
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.7469 | 38997.7892
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38997.859 | 38997.9769
2006-10-08 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.0268 | 38998.0472
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.2486 | 38998.3171
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.3426 | 38998.3659
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.3971 | 38998.4817
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.5064 | 38998.7106
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.7329 | 38998.7363
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 38998.7766 | 38998.8046
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.7792 | 38998.7846
| Clover Tx9 Xformer | 570 Line: Carson-Wake | 38998.7948 | 38998.7957
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.886 | 38998.9283
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38998.9958 | 38999.0288
2006-10-09 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38999.0412 | 38999.0527
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38999.2178 | 38999.2354
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38999.2775 | 38999.2894
| Kerrdam -Kerrdp 193D | 556 Line: Carson-Clover | 38999.3209 | 38999.3688
| Layman-Wolfcree 86 | Kammer-Belmont-Mountaineer 765 Kv Line | 38999.3337 | 38999.3849
| Layman-Wolfcree 86 | Kammer-Belmont-Mountaineer 765 Kv Line | 38999.4284 | 38999.4419
| Belmont Tran 3 Xformer | ___Belmont 500/138 #1 & #2 With Bl9 Open | 38999.4636 | 38999.6232
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38999.5508 | 38999.5554
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 38999.636 | 38999.8738
| Layman-Wolfcree 86 | Kammer-Belmont-Mountaineer 765 Kv Line | 38999.734 | 38999.8031
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38999.9201 | 38999.9642
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 38999.9789 | 38999.9922
2006-10-10 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39000.0016 | 39000.0056
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39000.215 | 39000.2611
| Bedingto Tran 3 Xformer | Bedington Doubs Line | 39000.4786 | 39000.6167
| Loudoun4 Tx1 Xformer | Pleasant View-Loundoun (558) 500 Kv & P.View Trans | 39000.6287 | 39000.6434
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39000.9563 | 39000.9643
| 16 Wauke-282 Zion 1609 | 345L2221 | 39000.968 | 39000.9994
2006-10-11 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39001.2178 | 39001.2516
| Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39001.253 | 39001.2793
| 16 Wauke-282 Zion 1609 | 345L2221 | 39001.3342 | 39001.3604
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39001.8041 | 39001.8608
| 16 Wauke-282 Zion 1609 | 345L2221 | 39001.8345 | 39001.8463
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39001.8757 | 39001.9055
| 16 Wauke-282 Zion 1609 | 345L2221 | 39001.9302 | 39001.9419
2006-10-12 | 16 Wauke-282 Zion 1609 | 345L2221 | 39002.0452 | 39002.0603
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39002.5799 | 39002.5858
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39002.64 | 39002.7018
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39002.7356 | 39002.7438
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39002.7679 | 39002.8315
| 16 Wauke-282 Zion 1609 | 345L2221 | 39002.8201 | 39002.8315
2006-10-14 | Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39004.1183 | 39004.1327
| Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39004.1502 | 39004.1989
| Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39004.2229 | 39004.2825
| Elrama-Mitchell Z-11 | Ftmartin-Ronco 500 Kv | 39004.9217 | 39004.9428
2006-10-15 | Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39005.0066 | 39005.0226
| Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39005.1843 | 39005.2951
| Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39005.3336 | 39005.3504
| Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39005.4923 | 39005.4962
2006-10-16 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39006.1792 | 39006.1975
2006-10-17 | Joshuaf2 . 1 Xformer | Cloverdale 345-138Kv #3 Xf | 39007.1807 | 39007.2204
| Mahans Lane-Tidd | Tidd - Wylierid 345 Kv | 39007.6734 | 39007.6768
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39007.9436 | 39007.9798
2006-10-18 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39008.0325 | 39008.1024
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39008.144 | 39008.1694
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39008.1842 | 39008.2481
| Cheswick-Logansfe Z-53 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 39008.4007 | 39008.4783
| Cheswick-Logansfe Z-53 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 39008.4936 | 39008.4987
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39008.5023 | 39008.5503
| Cheswick-Logansfe Z-53 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 39008.5199 | 39008.5503
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39008.5608 | 39008.5629
| Cheswick-Logansfe Z-53 | Cheswick-Evergreen-Wilmerdi Z-50 138 Kv Line (Duq) | 39008.6026 | 39008.6128
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39008.6987 | 39008.8244
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39008.8649 | 39008.8754
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39008.9494 | 39008.9596
2006-10-19 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39009.0152 | 39009.0277
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39009.5427 | 39009.5571
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39009.5771 | 39009.616
| Mahans Lane-Tidd | Sammis - Wylierid 345 Kv | 39009.5961 | 39009.6079
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39009.6704 | 39009.6811
2006-10-22 | Kammer-Natrium | Kammer George Washington 138Kv Line | 39012.339 | 39012.3427
| Kammer-Natrium | Kammer George Washington 138Kv Line | 39012.3652 | 39012.3763
| Kammer-Natrium | Kammer George Washington 138Kv Line | 39012.3914 | 39012.4052
| Kammer-Natrium | Kammer George Washington 138Kv Line | 39012.4522 | 39012.4561
| Kammer-Natrium | Kammer George Washington 138Kv Line | 39012.4765 | 39012.4942
2006-10-23 | Kerrdam -Beechdp 22C | 45 Line: Kerrdam-Henderson | 39013.3652 | 39013.5058
| Garrett Tran 2 Xformer | Keystone-Shelocta-Homer City 230 | 39013.6976 | 39013.7003
| Kerrdam -Beechdp 22C | 45 Line: Kerrdam-Henderson | 39013.789 | 39013.8001
| Kerrdam -Beechdp 22C | 45 Line: Kerrdam-Henderson | 39013.8497 | 39013.8633
2006-10-24 | Garrett Tran 2 Xformer | Keystone-Shelocta-Homer City 230 | 39014.1044 | 39014.1115
| Kerrdam -Beechdp 22C | 45 Line: Kerrdam-Henderson | 39014.2764 | 39014.3048
| Kerrdam -Beechdp 22C | 45 Line: Kerrdam-Henderson | 39014.3336 | 39014.335
2006-10-25 | Dryrun-Mitchell Mi-Ch-1 | Actual | 39015.6317 | 39015.6971
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39015.7332 | 39015.741
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39015.7898 | 39015.9186
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39015.9386 | 39015.9919
2006-10-26 | Layman-Wolfcree 86 | Belmont-Pleasants #1 Line & Pleasants #1 Gen | 39016.2472 | 39016.3356
| Valley4 Tx1 Xformer | 549 Line: Dooms-Valley | 39016.2677 | 39016.328
| Kerrdam -Beechdp 22C | 90 Line: Carolina-Kerr Dam | 39016.2976 | 39016.328
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39016.668 | 39016.6895
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39016.7147 | 39016.7891
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39016.8243 | 39016.8311
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39016.8969 | 39016.9628
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39016.9476 | 39016.964
2006-10-27 | Dryrun-Mitchell Mi-Ch-1 | Actual | 39017.0024 | 39017.0238
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39017.0099 | 39017.0326
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39017.1064 | 39017.1175
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39017.1415 | 39017.1607
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39017.1838 | 39017.3024
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39017.8076 | 39017.8262
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39017.9918 | 39017.9977
2006-10-28 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39018.0005 | 39018.0486
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39018.0005 | 39018.006
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39018.0255 | 39018.0289
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39018.0486 | 39018.1199
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39018.0668 | 39018.1199
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39018.1414 | 39018.2514
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39018.1588 | 39018.1612
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39018.1911 | 39018.2514
| Dravosbu-Ussillin Z-79 | Dravosburg T2 138/69 Kv Trans & Bus 2 (Duq) | 39018.3725 | 39018.3761
| Dravosbu-Ussillin Z-79 | Dravosburg T2 138/69 Kv Trans & Bus 2 (Duq) | 39018.4402 | 39018.4472
| Layman-Wolfcree 86 | Belmont-Pleasants #1 Line & Pleasants #1 Gen | 39018.464 | 39018.5277
| Dravosbu-Ussillin Z-79 | Dravosburg T2 138/69 Kv Trans & Bus 2 (Duq) | 39018.4712 | 39018.5058
| Layman-Wolfcree 86 | Belmont-Pleasants #1 Line & Pleasants #1 Gen | 39018.5453 | 39018.5574
| Dravosbu-Ussillin Z-79 | Dravosburg T2 138/69 Kv Trans & Bus 2 (Duq) | 39018.5644 | 39018.5674
| Layman-Wolfcree 86 | Belmont-Pleasants #1 Line & Pleasants #1 Gen | 39018.5744 | 39018.576
| Dravosbu-Ussillin Z-79 | Dravosburg T2 138/69 Kv Trans & Bus 2 (Duq) | 39018.6044 | 39018.7333
| Layman-Wolfcree 86 | Belmont-Pleasants #1 Line & Pleasants #1 Gen | 39018.6692 | 39018.7751
| Dryrun-Mitchell Mi-Ch-1 | Actual | 39018.9903 | 39018.9957
2006-10-30 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39020.0103 | 39020.2036
| Layman-Wolfcree 86 | Belmont-Pleasants #1 Line & Pleasants #1 Gen | 39020.2559 | 39020.2679
| Garrett Tran 2 Xformer | Keystone-Shelocta-Homer City 230 | 39020.4289 | 39020.4363
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39020.9677 | 39021.0403