## MIDATL
Off-Cost Operations - November 2008
Date | Facility | Contingency | Begin Time | End Time
2008-11-02 | Graysfer-Parrish 220-27 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39754.3512 | 39754.3877
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39754.668 | 39754.7458
| Graysfer-Parrish 220-27 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39754.6868 | 39754.689
2008-11-03 | Dickerso-Plvw Vp 23111 | Doubs Brighton | 39755.2923 | 39755.3646
| Emilie-Falls 130-20 | Mercer-Kuser-Lawrence (A-2201) 230 Kv Line | 39755.3446 | 39755.3567
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39755.3567 | 39755.8715
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39755.4065 | 39755.4795
| Dickerso-Plvw Vp 23111 | Possum Point-Burch Hill-Chalk Point & Doubs-Bright | 39755.4149 | 39755.4755
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39755.464 | 39755.4755
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39755.4971 | 39755.5178
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39755.5457 | 39755.6395
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39755.5922 | 39755.8996
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39755.6471 | 39755.6836
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39755.7022 | 39755.7441
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39755.7183 | 39755.7505
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39755.907 | 39755.9096
2008-11-04 | Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.0443 | 39756.0491
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.2053 | 39756.2245
| Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39756.2172 | 39756.2633
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.2521 | 39756.3124
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39756.2773 | 39756.3226
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.3282 | 39756.411
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39756.3389 | 39756.4279
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.4279 | 39756.4297
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.4731 | 39756.5743
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.6345 | 39756.7704
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39756.6893 | 39756.7971
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.7909 | 39756.8688
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39756.8131 | 39756.8249
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39756.8558 | 39756.9248
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.884 | 39756.9031
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39756.9522 | 39756.955
2008-11-05 | Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.0047 | 39757.0281
| Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39757.1848 | 39757.2231
| Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39757.2393 | 39757.2399
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.2567 | 39757.2605
| Graysfer-Parrish 220-27 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39757.2605 | 39757.285
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39757.2605 | 39757.9427
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.2752 | 39757.3104
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.4053 | 39757.4549
| Emilie Emil7Tr Xformer | Emilie-Eddington-Croydon 230 Kv Line | 39757.4189 | 39757.4229
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.4712 | 39757.4721
| Graysfer-Parrish 220-27 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39757.4934 | 39757.4994
| Emilie Emil7Tr Xformer | Emilie-Eddington-Croydon 230 Kv Line | 39757.5122 | 39757.5275
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.5968 | 39757.6562
| Emilie Emil7Tr Xformer | Emilie-Eddington-Croydon 230 Kv Line | 39757.6085 | 39757.6274
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.6615 | 39757.7477
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39757.6845 | 39757.6864
| Emilie Emil7Tr Xformer | Emilie-Eddington-Croydon 230 Kv Line | 39757.7082 | 39757.7878
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39757.7185 | 39757.7202
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.8145 | 39757.846
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.8677 | 39757.9106
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39757.9505 | 39757.9825
2008-11-06 | Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39758.2232 | 39758.2443
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.3222 | 39758.3466
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39758.3518 | 39758.3735
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39758.3883 | 39758.8935
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.3958 | 39758.4035
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.4176 | 39758.4332
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.4557 | 39758.5971
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.6128 | 39758.6245
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.6641 | 39758.7438
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.8083 | 39758.8146
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39758.8127 | 39758.8139
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39758.8127 | 39758.8342
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39758.8536 | 39758.8879
| Branchbu-Elroy 5017 | Alburtis Branchburg 500 Line | 39758.8879 | 39758.9153
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.9106 | 39758.9131
| Branchbu-Elroy 5017 | Alburtis Branchburg 500 Line | 39758.9323 | 39758.9326
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39758.9964 | 39758.999
2008-11-07 | Dickerso-Plvw Vp 23111 | Doubs Brighton | 39759.2157 | 39759.2641
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39759.281 | 39759.2929
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39759.3421 | 39759.437
| Seward 230 Kv T11 Xformer | Johnstown #2 230/115 Kv Transformer | 39759.4975 | 39759.5931
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39759.5223 | 39759.5538
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39759.5298 | 39759.5349
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39759.6753 | 39759.6898
| Plainsbu-Trenton D-1330 | Sewaren 220-1 230-138 Transformer | 39759.6917 | 39759.726
| Graceton-Peachtap 22008 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39759.6945 | 39759.7277
| Branchbu-Elroy 5017 | Alburtis Branchburg 500 Line | 39759.7018 | 39759.726
| Brighton No.1Tr Xformer | Chalk Point #6 Transformer | 39759.726 | 39759.7277
| Graceton-Peachtap 22008 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39759.8195 | 39759.8759
| Graceton-Peachtap 22008 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39759.9107 | 39759.9374
2008-11-08 | Graysfer-Parrish 220-27 | Rock Springs-Keeney (5025) 500 Kv Line | 39760.2542 | 39760.3146
| Cooper-Rosedale Ht 1070 | Homer City-Johnstown 230 Line | 39760.3616 | 39760.4208
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39760.3687 | 39760.3966
| Graceton-Peachtap 22008 | Rock Springs-Keeney (5025) 500 Kv Line | 39760.4262 | 39760.4435
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39760.4307 | 39760.4678
| Bayonne-Marion L-1338 | Newark-Essex (H-1308) 138 Kv Line & Essex 11 Xfmr | 39760.4435 | 39760.5129
| Bayonne-Marion L-1338 | Newark-Essex (H-1308) 138 Kv Line & Essex 11 Xfmr | 39760.53 | 39760.579
| Bayonne-Marion L-1338 | Newark-Essex (H-1308) 138 Kv Line & Essex 11 Xfmr | 39760.6178 | 39760.6754
| Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39760.6432 | 39760.7153
| Bayonne-Marion L-1338 | Newark-Essex (H-1308) 138 Kv Line & Essex 11 Xfmr | 39760.7002 | 39760.7038
| Bayonne-Marion L-1338 | Newark-Essex (H-1308) 138 Kv Line & Essex 11 Xfmr | 39760.7186 | 39760.8235
| Rich Pe-Waneeta 220-35 | Branchburg-Deans & Deans 500-1 | 39760.7479 | 39760.7593
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39760.8235 | 39760.8893
| Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39760.9779 | 39761.0128
2008-11-09 | Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39761.2541 | 39761.291
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39761.6971 | 39761.6994
| Homercit-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 39761.7448 | 39761.8897
| Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39761.9814 | 39761.9939
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39761.988 | 39762.0101
2008-11-10 | Cecil-Glasgow 13810 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39762.0101 | 39762.0581
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39762.0212 | 39762.0581
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39762.1317 | 39762.1461
| Keystone-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 39762.3415 | 39762.3646
| Keystone-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 39762.3843 | 39762.4271
| Cedargro-Roseland B-2228 | Branchburg Ramapo T Line | 39762.4271 | 39762.4696
| Keystone-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 39762.4566 | 39762.463
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39762.6469 | 39762.6962
| Chr138-Edgemoor 13805 | Rock Springs-Keeney (5025) 500 Kv Line | 39762.7045 | 39762.7291
| Brighton No.1Tr Xformer | Brighton Waugh Chapel | 39762.7692 | 39762.7886
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39762.9008 | 39762.9194
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39762.9556 | 39762.9653
2008-11-11 | Seward 9 Tx Xformer | Johnstown #2 230/115 Kv Transformer | 39763.3787 | 39763.3807
| Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39763.4334 | 39763.5567
| Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-15 | 39763.6327 | 39763.7418
| Plymouth-Whitpain 220-13 | Whitpain-Plymouth Meeting 220-15 | 39763.7662 | 39763.7679
2008-11-12 | Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39764.0778 | 39764.2212
| Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39764.5446 | 39764.9962
2008-11-13 | Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39765.0123 | 39765.1943
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39765.0381 | 39765.0799
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39765.1175 | 39765.1617
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39765.2002 | 39765.2372
| Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39765.2131 | 39765.2372
| Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39765.2513 | 39765.7331
| Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39765.7523 | 39766.178
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39765.9257 | 39765.9316
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39765.9719 | 39765.9927
2008-11-14 | Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39766.0332 | 39766.0477
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39766.0705 | 39766.1983
| Conemaug-Hunterst 5006 | Juniata Keystone 500 Line | 39766.1914 | 39766.4537
| Athenia-Saddlebr Q-2217 | Actual | 39766.8311 | 39766.9688
2008-11-15 | Athenia-Saddlebr Q-2217 | Actual | 39767.1093 | 39767.1519
| Athenia-Saddlebr Q-2217 | Actual | 39767.1684 | 39767.1726
| Athenia-Saddlebr Q-2217 | Actual | 39767.283 | 39767.5037
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39767.3089 | 39767.3459
| Brighton No.1Tr Xformer | Doubs-Pleasant View (543) 500 Kv Line | 39767.4834 | 39767.5071
| Athenia-Saddlebr Q-2217 | Actual | 39767.5179 | 39767.5228
| Brighton No.1Tr Xformer | Doubs-Pleasant View (543) 500 Kv Line | 39767.5438 | 39767.5983
| Dickerso-Plvw Vp 23111 | Doubs Brighton | 39767.6183 | 39767.6746
| Garman-Westover Gbm 991 | Keystone-Shelocta-Homer City 230 | 39767.7083 | 39767.721
| Keystone-Shelocta Khc 2014 | Lewistown #3 230/115 Kv Transformer | 39767.7343 | 39767.7888
| Garman-Westover Gbm 991 | Keystone-Shelocta-Homer City 230 | 39767.7351 | 39767.7376
| Athenia-Saddlebr Q-2217 | Actual | 39767.8447 | 39767.9092
| Athenia-Saddlebr Q-2217 | Actual | 39767.9652 | 39767.9666
2008-11-16 | Garman-Westover Gbm 991 | Altoona-Bearrock 230 Line | 39768.937 | 39768.9731
| Garman-Westover Gbm 991 | Altoona-Bearrock 230 Line | 39768.9882 | 39769.031
2008-11-17 | Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39769.0322 | 39769.0749
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39769.097 | 39769.1006
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39769.1168 | 39769.1285
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39769.1466 | 39769.1805
| Edgemoor At20 Xformer | Harmony-Edgemoor 230 Line | 39769.4534 | 39769.4928
| Edgemoor At20 Xformer | Harmony-Edgemoor 230 Line | 39769.8985 | 39769.9046
2008-11-20 | Dela Pe-Tuna 6 | Grayferry-Parrish 230 Line | 39772.3208 | 39772.3433
| Master-Nphilade 220-44 | Plymouth Meeting-Bala 230 Line | 39772.3241 | 39772.3316
| Dela Pe-Tuna 6 | Grayferry-Parrish 230 Line | 39772.3943 | 39772.4192
| Holmetap-Rich Pe 220-56 | Croydon-Burlingtn-Mt Laurel-Coxes Cornr (D-220-30) | 39772.4014 | 39772.4253
| Burlingt-Croydon D-220-30 | Eddington-Holmsburgtap-Holmesburg-Richmond 230 Kv | 39772.4053 | 39772.4183
| Master-Nphilade 220-44 | Plymouth Meeting-Bala 230 Line | 39772.4084 | 39772.4183
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39772.4204 | 39772.4932
| Seward 9 Tx Xformer | Johnstown #2 230/115 Kv Transformer | 39772.458 | 39772.4641
| Cedargro-Clif Ps K-2263-3 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39772.5085 | 39772.5251
| Readingt-Roseland U-2221 | Roseland-Whippany 230 Line | 39772.5085 | 39772.5925
| Athenia-Bellevil Z-2226 | Hudson-Essex (A-2227) 230 Kv Line | 39772.5251 | 39772.5259
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39772.5303 | 39772.5399
| Athenia-Bellevil Z-2226 | Hudson-Essex (A-2227) 230 Kv Line | 39772.6127 | 39772.6224
| Athenia-Bellevil Z-2226 | Hudson-Essex (A-2227) 230 Kv Line | 39772.6495 | 39772.7164
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39772.672 | 39772.6736
| Cuthbert-Gloucest Q-1343 | New Freedom - East Windsor (5038) 500Kv Line | 39772.7086 | 39772.7425
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39772.8871 | 39772.8971
2008-11-21 | Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39773.3037 | 39773.4822
| Edgemoor At20 Xformer | Harmony-Edgemoor 230 Line | 39773.3377 | 39773.3645
| Cuthbert-Gloucest Q-1343 | New Freedom - East Windsor (5038) 500Kv Line | 39773.3676 | 39773.3694
| Edgemoor At20 Xformer | Harmony-Edgemoor 230 Line | 39773.3978 | 39773.417
| Cuthbert-Gloucest Q-1343 | New Freedom - East Windsor (5038) 500Kv Line | 39773.4708 | 39773.4822
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39773.4708 | 39773.5366
| Blairsve No.1 Tx Xformer | Keystone-Shelocta-Homer City 230 | 39773.5408 | 39773.5477
| Cuthbert-Gloucest Q-1343 | New Freedom - East Windsor (5038) 500Kv Line | 39773.5778 | 39773.5904
| Harmony-Keeney 23010 | Harmony-Keeney 23013-12 | 39773.5869 | 39773.6194
| Cuthbert-Gloucest Q-1343 | New Freedom - East Windsor (5038) 500Kv Line | 39773.6114 | 39773.6131
| Cuthbert-Gloucest Q-1343 | New Freedom - East Windsor (5038) 500Kv Line | 39773.6543 | 39773.6584
2008-11-22 | Conemaug-Keystone 5003 | Juniata Keystone 500 Line | 39774.3956 | 39774.4146
| Conemaug-Keystone 5003 | Juniata Keystone 500 Line | 39774.4658 | 39774.4745
| Conemaug-Keystone 5003 | Juniata Keystone 500 Line | 39774.5196 | 39774.5202
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39774.5557 | 39774.5871
| Conemaug-Keystone 5003 | Juniata Keystone 500 Line | 39774.5557 | 39774.6061
| Conemaug-Keystone 5003 | Juniata Keystone 500 Line | 39774.6225 | 39774.6559
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39774.6579 | 39774.6686
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39774.7759 | 39774.8289
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39774.8441 | 39774.8733
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39774.9007 | 39774.9064
2008-11-23 | Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39775.4526 | 39775.515
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39775.6801 | 39775.704
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39775.8426 | 39775.8528
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39775.9056 | 39775.9213
2008-11-25 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39777.1034 | 39777.1309
| Readingt-Roseland U-2221 | Roseland-Whippany 230 Line | 39777.4718 | 39777.5088
| Garman-Westover Gbm 991 | Summit-Westfall 115 Kv Line (Penelec) | 39777.5088 | 39777.5241
| Garman-Westover Gbm 991 | Summit-Westfall 115 Kv Line (Penelec) | 39777.5473 | 39777.5942
| Garman-Westover Gbm 991 | Summit-Westfall 115 Kv Line (Penelec) | 39777.6412 | 39777.6488
2008-11-26 | Garman-Westover Gbm 991 | Summit-Westfall 115 Kv Line (Penelec) | 39778.0012 | 39778.0148
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39778.0713 | 39778.1905
| Garman-Westover Gbm 991 | Warren #4 230/115 Kv Transformer | 39778.2101 | 39778.2278
2008-11-27 | Dickerso-Plvw Vp 23111 | Doubs Brighton | 39779.4635 | 39779.4875
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39779.5583 | 39779.6074
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39779.624 | 39779.69
| Athenia-Saddlebr Q-2217 | Bellville-Athenia 230 Line | 39779.902 | 39779.9057
2008-11-28 | Cedargro-Roseland F-2206 | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 39780.5171 | 39780.6242
| Athenia-Saddlebr Q-2217 | Branchburg Ramapo T Line | 39780.7069 | 39780.7125
| Athenia-Saddlebr Q-2217 | Branchburg Ramapo T Line | 39780.7651 | 39780.7683
| Athenia-Saddlebr Q-2217 | Hillsdale-Waldwick 230 Line | 39780.8037 | 39780.9037

## RTO
Off-Cost Operations - November 2008
Date | Facility | Contingency | Begin Time | End Time
2008-11-01 | Transfer Interface: Pl North |  | 39753.1239 | 39753.6418
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39753.1346 | 39753.1366
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39753.1595 | 39753.1997
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39753.2686 | 39753.556
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.4022 | 39753.5335
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.5547 | 39753.556
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39753.6493 | 39753.7103
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.6674 | 39753.6793
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39753.7743 | 39753.8757
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.8152 | 39753.8439
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.9006 | 39753.9103
2008-11-02 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.3076 | 39754.3122
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.3649 | 39754.3713
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.4612 | 39754.4702
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.4844 | 39754.4928
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.4961 | 39754.6005
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.5209 | 39754.5233
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.5454 | 39754.5501
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.5657 | 39754.5837
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.6092 | 39754.6304
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.6148 | 39754.6558
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.6742 | 39754.772
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.6825 | 39754.7255
| Transfer Interface: East |  | 39754.7175 | 39754.7364
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.7477 | 39754.9339
| Transfer Interface: East |  | 39754.7867 | 39754.823
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.8398 | 39754.8578
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39754.8773 | 39754.8917
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39754.9504 | 39754.9741
2008-11-03 | Transfer Interface: Apsouth | Black Oak - Hatfield 500 Kv Line | 39755.237 | 39755.2378
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.237 | 39755.2429
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.2585 | 39755.2612
| Transfer Interface: Central | Juniata 500/230 #1 Transformer & 500 Kv Caps | 39755.4223 | 39755.4366
| Transfer Interface: Central | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39755.464 | 39755.4867
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.4691 | 39755.4971
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.5351 | 39755.629
| Transfer Interface: Central | Rock Springs-Keeney (5025) 500 Kv Line | 39755.5457 | 39755.5578
| Transfer Interface: Central | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39755.5981 | 39755.5997
| Transfer Interface: Central | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39755.629 | 39755.6298
| Transfer Interface: Central | Hope Creek 1 Gen Unit | 39755.668 | 39755.6906
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.6805 | 39755.7331
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.7116 | 39755.7364
| Transfer Interface: Central | Rock Springs-Keeney (5025) 500 Kv Line | 39755.7581 | 39755.7582
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.7832 | 39755.9153
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.8087 | 39755.8102
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.8368 | 39755.8967
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39755.8637 | 39755.8658
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39755.9301 | 39755.9589
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39755.9496 | 39755.9589
2008-11-04 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39756.177 | 39756.185
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39756.2013 | 39756.2172
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39756.3479 | 39756.7378
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39756.45 | 39756.4649
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39756.4823 | 39756.4871
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39756.5561 | 39756.5743
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39756.5883 | 39756.6237
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39756.7534 | 39756.7618
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39756.8282 | 39756.9568
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39756.8558 | 39756.9031
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39756.9724 | 39756.9964
2008-11-05 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.0051 | 39757.0292
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.0645 | 39757.0722
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.0896 | 39757.1385
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.1702 | 39757.1821
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.3093 | 39757.7504
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.4113 | 39757.4851
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.4994 | 39757.5057
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.5215 | 39757.5275
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.5472 | 39757.5968
| Transfer Interface: 50045005 | Rock Springs-Keeney (5025) 500 Kv Line | 39757.6183 | 39757.6274
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.6489 | 39757.6562
| Transfer Interface: 50045005 | Peach Bottom-Rock Springs (5014) 500 Kv Line | 39757.7477 | 39757.7562
| Transfer Interface: 50045005 | Susquehanna 1 Gen | 39757.7705 | 39757.7772
| Transfer Interface: Bed-Bla | Cloverdale-Lexingtn (566) 500Kv Line & Lexgtn Tx#3 | 39757.7705 | 39757.7772
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.8145 | 39757.8193
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.846 | 39757.9308
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39757.8865 | 39757.9092
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.9499 | 39757.9825
2008-11-06 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39758.0768 | 39758.0903
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39758.119 | 39758.1346
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.1894 | 39758.2202
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.2584 | 39758.3058
| Transfer Interface: Bed-Bla | Conemaugh Keystone 500 Line | 39758.364 | 39758.3655
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.402 | 39758.4035
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.4946 | 39758.5971
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.8829 | 39758.8935
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.9106 | 39758.923
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.953 | 39758.999
2008-11-07 | Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.0644 | 39759.0823
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.2793 | 39759.2841
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.3109 | 39759.3706
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.4122 | 39759.5052
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.5298 | 39759.565
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.6001 | 39759.6555
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39759.6753 | 39759.6964
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39759.7111 | 39759.7176
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.87 | 39759.9245
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39759.8808 | 39759.9374
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39759.9563 | 39759.9976
2008-11-08 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39760.022 | 39760.0295
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39760.0638 | 39760.0724
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39760.1615 | 39760.2198
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.2597 | 39760.2828
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.2967 | 39760.4927
| Transfer Interface: East |  | 39760.3822 | 39760.4319
| Transfer Interface: East |  | 39760.4662 | 39760.579
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.5067 | 39760.5357
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.5713 | 39760.579
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39760.579 | 39760.7506
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.6902 | 39760.7226
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.7479 | 39760.7969
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39760.7881 | 39760.8235
| Leonia-New Milford O-2293 | Actual | 39760.8124 | 39760.8177
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.8124 | 39760.9428
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39760.8685 | 39760.9412
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39760.9969 | 39761.0228
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39760.9969 | 39761.0128
2008-11-09 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39761.2095 | 39761.2146
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39761.2323 | 39761.2513
| Leonia-New Milford O-2293 | Actual | 39761.26 | 39761.2618
| Leonia-New Milford O-2293 | Actual | 39761.3045 | 39761.3083
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39761.3231 | 39761.5931
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39761.3628 | 39761.4781
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39761.6143 | 39761.7072
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39761.6971 | 39761.753
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39761.753 | 39761.9939
2008-11-10 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39762.0101 | 39762.0262
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39762.0983 | 39762.1177
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39762.1461 | 39762.1923
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39762.5992 | 39762.7061
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39762.617 | 39762.7654
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39762.6908 | 39762.695
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39762.7314 | 39762.7325
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39762.8526 | 39762.9008
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39762.9252 | 39762.9856
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39762.9622 | 39762.9744
2008-11-11 | Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.015 | 39763.0251
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.0392 | 39763.0508
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39763.0413 | 39763.1321
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.0809 | 39763.1196
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39763.0809 | 39763.1482
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.2022 | 39763.2176
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.232 | 39763.236
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39763.3807 | 39763.4567
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39763.8411 | 39763.8631
| Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39763.845 | 39763.9002
| Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39763.9149 | 39763.9183
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39763.9219 | 39763.9234
| Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39763.9805 | 39763.9857
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.9922 | 39763.9961
2008-11-12 | Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39764.0017 | 39764.0098
| Transfer Interface: Central | Juniata 500/230 #1 Transformer & 500 Kv Caps | 39764.0076 | 39764.0633
| Transfer Interface: West | Juniata Keystone 500 Line | 39764.0076 | 39764.0192
| Transfer Interface: Central | Juniata Keystone 500 Line | 39764.09 | 39764.0943
| Transfer Interface: West | Juniata Keystone 500 Line | 39764.0943 | 39764.1104
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39764.1247 | 39764.1494
| Transfer Interface: West | Juniata Keystone 500 Line | 39764.1247 | 39764.1758
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39764.1803 | 39764.1901
| Transfer Interface: Central | Juniata Keystone 500 Line | 39764.1803 | 39764.194
| Transfer Interface: West | Juniata Keystone 500 Line | 39764.1901 | 39764.2078
| Transfer Interface: Central | Juniata Keystone 500 Line | 39764.2262 | 39764.2493
| Transfer Interface: West | Juniata Keystone 500 Line | 39764.2493 | 39764.2669
| Transfer Interface: Central | Conastone-Peach Bottom (5012) 500 Kv Line | 39764.2836 | 39764.296
| Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39764.296 | 39764.3076
| Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39764.3227 | 39764.5446
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39764.3349 | 39764.4323
| Transfer Interface: Central | Conemaugh-Hunterstown (5006) 500 Kv Line | 39764.3858 | 39764.3891
| Transfer Interface: Central | Conastone-Peach Bottom (5012) 500 Kv Line | 39764.4182 | 39764.4382
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39764.4592 | 39764.4608
| Transfer Interface: Central | Juniata 500/230 #1 Transformer & 500 Kv Caps | 39764.4773 | 39764.4912
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39764.4893 | 39764.4912
| Transfer Interface: Central | Juniata Keystone 500 Line | 39764.5195 | 39764.531
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39764.6202 | 39764.6232
| Bearrock-Johnstow Bea-Joh | Juniata Keystone 500 Line | 39764.7367 | 39764.738
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39764.8136 | 39764.8864
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39764.9622 | 39764.9699
2008-11-13 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39765.0568 | 39765.0649
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39765.2838 | 39765.2908
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39765.3755 | 39765.4056
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39765.4371 | 39765.4994
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39765.5309 | 39765.5344
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39765.5494 | 39765.5681
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39765.5905 | 39765.6152
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39765.6354 | 39765.6519
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39765.6755 | 39765.6956
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39765.7106 | 39765.7162
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39765.8431 | 39765.9316
2008-11-14 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39766.4182 | 39766.4925
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39766.5089 | 39766.5166
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39766.534 | 39766.5794
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39766.5372 | 39766.5769
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39766.5945 | 39766.6437
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39766.6126 | 39766.6188
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39766.6437 | 39766.6644
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39766.6826 | 39766.6847
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39766.6826 | 39766.7271
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39766.7135 | 39766.7186
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39766.7416 | 39766.9239
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39766.8294 | 39766.863
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39766.8878 | 39766.9297
| Transfer Interface: 50045005 | Salem 1 Gen | 39766.9794 | 39766.9892
2008-11-15 | Transfer Interface: 50045005 | Limerick 1 Gen (For Tlc) | 39767.0111 | 39767.0278
| Transfer Interface: 50045005 | Limerick 2 Gen (For Tlc) | 39767.0516 | 39767.0682
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39767.1076 | 39767.1301
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.3043 | 39767.313
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.387 | 39767.3915
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39767.387 | 39767.4985
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.4129 | 39767.4389
| Leonia-New Milford O-2293 | Actual | 39767.474 | 39767.4778
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.5037 | 39767.5326
| Leonia-New Milford O-2293 | Actual | 39767.5329 | 39767.5755
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39767.5412 | 39767.5551
| Leonia-New Milford O-2293 | Actual | 39767.5909 | 39767.6285
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39767.5983 | 39767.6285
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.6183 | 39767.6285
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.6615 | 39767.7376
| Leonia-New Milford O-2293 | Actual | 39767.7174 | 39767.719
| Leonia-New Milford O-2293 | Actual | 39767.7524 | 39767.7637
| Leonia-New Milford O-2293 | Actual | 39767.8086 | 39767.8185
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39767.8294 | 39767.8447
| Leonia-New Milford O-2293 | Actual | 39767.8499 | 39767.8614
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39767.859 | 39767.9472
| Leonia-New Milford O-2293 | Actual | 39767.8825 | 39767.8925
2008-11-16 | Leonia-New Milford O-2293 | Actual | 39768.0367 | 39768.0856
| Leonia-New Milford O-2293 | Actual | 39768.2201 | 39768.2233
| Leonia-New Milford O-2293 | Actual | 39768.2515 | 39768.307
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39768.3304 | 39768.3326
| Leonia-New Milford O-2293 | Actual | 39768.3462 | 39768.546
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39768.354 | 39768.3744
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39768.3895 | 39768.5259
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39768.3949 | 39768.4194
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39768.6281 | 39768.7506
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39768.6897 | 39768.6933
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39768.7131 | 39768.7169
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39768.7762 | 39768.7817
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39768.8158 | 39768.8219
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39768.8758 | 39768.8766
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39768.8991 | 39768.903
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39768.9258 | 39768.9437
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39768.937 | 39768.9458
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39768.9731 | 39768.9753
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39768.9974 | 39768.9998
2008-11-17 | Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39769.031 | 39769.0507
| Conaston 500-4 Xformer | Conastone #3 500/230 Kv Transformer | 39769.3037 | 39769.3319
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39769.9212 | 39769.9461
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39769.9784 | 39770.0174
2008-11-18 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39770.0081 | 39770.2141
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39770.2397 | 39770.2594
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39770.3733 | 39770.3793
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39770.4355 | 39770.626
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39770.6495 | 39770.6553
| Sammis-Wylierid Tie | South Canton Sammis(Oe) 345Kv Line | 39770.6851 | 39770.7079
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39770.7347 | 39770.7416
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39770.825 | 39770.8707
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39770.887 | 39770.9398
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39770.9941 | 39771.0014
2008-11-19 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39771.0014 | 39771.0959
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39771.1467 | 39771.1726
| Jefferso-Cliftycr Tie | Hanging Rock Don Marquis 765Kv Line | 39771.2296 | 39771.2474
| Jefferso-Cliftycr Tie | Hanging Rock Don Marquis 765Kv Line | 39771.2669 | 39771.2867
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39771.4258 | 39771.5334
| Jefferso-Cliftycr Tie | Hanging Rock Don Marquis 765Kv Line | 39771.4684 | 39771.474
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39771.5493 | 39771.5547
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39771.5807 | 39771.5841
2008-11-20 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39772.047 | 39772.0962
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39772.1205 | 39772.1624
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39772.19 | 39772.2516
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39772.7086 | 39772.7133
2008-11-21 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39773.1688 | 39773.1714
2008-11-22 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.0567 | 39774.2026
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.2494 | 39774.2861
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.3082 | 39774.3376
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.3664 | 39774.4872
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39774.5202 | 39774.5827
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.6506 | 39774.6914
| Transfer Interface: West | Pruntytown-Mt. Storm (510) 500 Kv Line | 39774.6928 | 39774.7113
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.7152 | 39774.7216
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.8301 | 39774.87
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39774.8333 | 39774.9373
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.8872 | 39774.9137
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39774.9687 | 39775.001
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39774.9687 | 39774.9937
2008-11-23 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.0169 | 39775.0311
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.0397 | 39775.0791
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.0606 | 39775.0661
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.1134 | 39775.1255
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.1163 | 39775.1533
| Leonia-New Milford O-2293 | Actual | 39775.1229 | 39775.1329
| Leonia-New Milford O-2293 | Actual | 39775.1533 | 39775.1569
| Leonia-New Milford O-2293 | Actual | 39775.1709 | 39775.1733
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.1914 | 39775.2482
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.2129 | 39775.3285
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.28 | 39775.3497
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.3424 | 39775.3714
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.3668 | 39775.4822
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.4358 | 39775.4385
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.6973 | 39775.7159
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.7527 | 39775.8984
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.8028 | 39775.8656
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39775.8857 | 39775.9056
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39775.9159 | 39776.0313
2008-11-24 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.0445 | 39776.0474
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.0706 | 39776.2971
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39776.1632 | 39776.1696
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.3517 | 39776.4076
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.4104 | 39776.4117
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39776.433 | 39776.4404
| Krendale-Senecaoe Tie | Cabot - Wylie Ridge 500 Kv Line | 39776.4345 | 39776.5098
| Transfer Interface: Bed-Bla | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.4485 | 39776.471
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.6505 | 39776.6563
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.6836 | 39776.7309
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.793 | 39776.92
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39776.9371 | 39776.9526
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39776.9727 | 39776.979
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39776.9869 | 39776.9885
2008-11-25 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39777.0748 | 39777.1309
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39777.1975 | 39777.2028
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.4718 | 39777.5422
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39777.5214 | 39777.5241
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.5587 | 39777.599
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.6311 | 39777.6686
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.7868 | 39777.7946
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.8398 | 39777.8445
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.8634 | 39777.8857
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.9001 | 39777.9764
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39777.9151 | 39777.9851
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39777.9914 | 39778.04
2008-11-26 | Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39778.0148 | 39778.0804
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.0648 | 39778.0848
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.1064 | 39778.1344
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.1178 | 39778.1673
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.1517 | 39778.1905
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.2139 | 39778.2182
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.3342 | 39778.4437
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.4584 | 39778.5171
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.4639 | 39778.7523
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.5586 | 39778.5743
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.5915 | 39778.6174
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.727 | 39778.9317
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.8717 | 39778.8809
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.9116 | 39778.9355
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39778.9659 | 39778.9892
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39778.9768 | 39778.981
2008-11-27 | Transfer Interface: Apsouth | Bedington Blackoak Line | 39779.0293 | 39779.0638
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39779.0785 | 39779.1861
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39779.1042 | 39779.1061
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39779.1797 | 39779.1812
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39779.2003 | 39779.2025
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39779.2394 | 39779.2946
| Transfer Interface: Apsouth | Bedington Blackoak Line | 39779.3089 | 39779.3527
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39779.4228 | 39779.45
| Leonia-New Milford O-2293 | Actual | 39779.5583 | 39779.5625
| Leonia-New Milford O-2293 | Actual | 39779.5821 | 39779.5916
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39779.6333 | 39779.6573
| Leonia-New Milford O-2293 | Actual | 39779.6959 | 39779.7073
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.8418 | 39779.9433
| Leonia-New Milford O-2293 | Actual | 39779.85 | 39779.902
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.9593 | 39779.9684
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39779.9882 | 39779.9989
2008-11-28 | Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.0047 | 39780.0472
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.0689 | 39780.0884
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.1059 | 39780.1192
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.1445 | 39780.1546
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.2193 | 39780.2368
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39780.2212 | 39780.2382
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.2724 | 39780.2929
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.3074 | 39780.3248
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.3458 | 39780.5116
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39780.4079 | 39780.4314
| Transfer Interface: 50045005 | Conemaugh-Hunterstown (5006) 500 Kv Line | 39780.5342 | 39780.5649
| Transfer Interface: 50045005 | Conemaugh Keystone 500 Line | 39780.5791 | 39780.5822
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.617 | 39780.6242
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.6751 | 39780.677
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.6995 | 39780.8803
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39780.7996 | 39780.8368
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39780.884 | 39780.9037
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39780.8964 | 39780.9233
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.9797 | 39780.9831
2008-11-29 | Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39781.0538 | 39781.0565
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.0798 | 39781.0854
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39781.118 | 39781.1327
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39781.2671 | 39781.2996
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.3156 | 39781.3365
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.3611 | 39781.4012
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39781.3821 | 39781.419
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.419 | 39781.4273
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39781.4553 | 39781.5451
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.4698 | 39781.4852
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.5398 | 39781.5443
| Transfer Interface: 50045005 | Bedington Blackoak Line | 39781.5776 | 39781.5822
| Transfer Interface: 50045005 | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.5992 | 39781.6031
| Sammis-Wylierid Tie | Tidd - Wylierid 345 Kv | 39781.756 | 39781.9348
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39781.9513 | 39781.9633
| Sammis-Wylierid Tie | Erie W-Ashtabula-Perry 345Kv Line | 39781.9778 | 39782.0145

## WEST
Off-Cost Operations - November 2008
Date | Facility | Contingency | Begin Time | End Time
2008-11-01 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.0252 | 39753.0535
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39753.0304 | 39753.2102
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.0304 | 39753.0582
| Dravosbu-Elrama Z-15 | Dravosburg - West Mifflin Z-74 138 Kv Line (Duq) | 39753.0726 | 39753.2102
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.1104 | 39753.1124
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.1124 | 39753.1239
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.1338 | 39753.1595
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.1401 | 39753.1411
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.1782 | 39753.2535
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.2335 | 39753.2686
| Nipetown-Reid Bre2 | Bedington-Doubs & One 500Kv Cap | 39753.2476 | 39753.297
| Nipetown-Reid Bre2 | Bedington-Doubs & One 500Kv Cap | 39753.3126 | 39753.567
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.3489 | 39753.3538
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.3761 | 39753.4288
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.5082 | 39753.556
| Dravosbu-Elrama Z-15 | Dravosburg - West Mifflin Z-74 138 Kv Line (Duq) | 39753.5149 | 39753.5226
| Dravosbu-Elrama Z-15 | Dravosburg - West Mifflin Z-74 138 Kv Line (Duq) | 39753.5425 | 39753.6283
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.556 | 39753.6493
| Nipetown-Reid Bre2 | Bedington-Doubs & One 500Kv Cap | 39753.5861 | 39753.6642
| Dravosbu-Elrama Z-15 | Dravosburg - West Mifflin Z-74 138 Kv Line (Duq) | 39753.6638 | 39753.6674
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.6638 | 39753.6903
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39753.6638 | 39753.7103
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.6674 | 39753.6903
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39753.705 | 39753.706
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39753.706 | 39753.7357
| Dravosbu-Elrama Z-15 | Dravosburg - West Mifflin Z-74 138 Kv Line (Duq) | 39753.7675 | 39753.793
| Dravosbu-Elrama Z-15 | Dravosburg - West Mifflin Z-74 138 Kv Line (Duq) | 39753.9006 | 39753.9281
2008-11-02 | 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39754.1052 | 39754.2017
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39754.2168 | 39754.2438
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39754.2525 | 39754.2578
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39754.2685 | 39754.3014
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39754.3076 | 39754.7082
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39754.3415 | 39754.3465
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39754.3838 | 39754.3877
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39754.4702 | 39754.5233
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39754.5422 | 39754.6726
| 112 Wilton 65Tr93 Ct | Actual | 39754.6726 | 39754.6825
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39754.7175 | 39754.7513
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39754.7255 | 39754.7325
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39754.7867 | 39754.7942
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39754.8563 | 39754.8723
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39754.9513 | 39754.9545
2008-11-03 | 112 Wilton 65Tr93 Ct | Actual | 39755.1035 | 39755.1314
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39755.1142 | 39755.2429
| 112 Wilton 65Tr93 Ct | Actual | 39755.1737 | 39755.1959
| 112 Wilton 65Tr93 Ct | Actual | 39755.2113 | 39755.2378
| 112 Wilton 65Tr93 Ct | Actual | 39755.2585 | 39755.2588
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39755.4867 | 39755.4929
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39755.5351 | 39755.7395
| Pruntyto Tran 1 Xformer | ___Pruntyto Tran 3 & Tran 4 | 39755.7505 | 39755.8335
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39755.7581 | 39755.7915
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39755.8054 | 39755.907
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39755.9312 | 39755.9337
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39755.9496 | 39755.9589
2008-11-04 | Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39756.0002 | 39756.0072
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39756.0481 | 39756.0491
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39756.0481 | 39756.0639
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39756.1127 | 39756.1136
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39756.1664 | 39756.2017
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39756.177 | 39756.228
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39756.2525 | 39756.2545
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39756.2748 | 39756.4798
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39756.2773 | 39756.2849
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39756.726 | 39756.7618
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39756.7888 | 39756.7971
| Pruntyto Tran 1 Xformer | ___Pruntyto Tran 3 & Tran 4 | 39756.8082 | 39756.8282
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39756.8249 | 39756.8994
2008-11-05 | 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39757.0328 | 39757.041
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.0378 | 39757.0567
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39757.0722 | 39757.0896
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39757.1037 | 39757.2324
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39757.1685 | 39757.1745
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39757.2393 | 39757.3476
| 66 E Frn-945 Cret 6607 | 112 Wilton Tr93 | 39757.27 | 39757.3003
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39757.367 | 39757.3883
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39757.4053 | 39757.5057
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39757.5555 | 39757.5595
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39757.5763 | 39757.6964
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39757.7125 | 39757.7477
2008-11-06 | 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39758.0473 | 39758.1126
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39758.0473 | 39758.0903
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39758.1346 | 39758.198
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39758.1829 | 39758.1942
| Kanawhar . B Xformer | Culloden - Wyoming 765Kv Line | 39758.1894 | 39758.198
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39758.213 | 39758.2177
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39758.2202 | 39758.2922
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39758.2773 | 39758.3222
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39758.3429 | 39758.3466
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39758.4765 | 39758.4797
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39758.4946 | 39758.6128
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39758.5077 | 39758.6961
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39758.6365 | 39758.6369
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39758.7201 | 39758.8536
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39758.8627 | 39758.9633
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39758.8716 | 39758.9245
2008-11-07 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39759.0523 | 39759.1435
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39759.0569 | 39759.0644
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39759.129 | 39759.154
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39759.1939 | 39759.207
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39759.2533 | 39759.2549
| Cabot Tran 1 Xformer | Keystone-Cabot (5002) 500 Kv Line | 39759.2773 | 39759.3165
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39759.3109 | 39759.3846
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39759.4184 | 39759.427
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39759.5378 | 39759.5931
| Hami Aps-Weirton 200I | Wind Aps-Tiltonsv-Wbellair | 39759.6153 | 39759.745
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39759.8881 | 39759.9107
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39759.9374 | 39759.9892
2008-11-08 | Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39760.0129 | 39760.0165
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39760.0349 | 39760.0839
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39760.3742 | 39760.4736
| Nipetown-Reid Bre2 | Bedington-Doubs & One 500Kv Cap | 39760.3909 | 39760.4145
| Nipetown-Reid Bre2 | Bedington-Doubs & One 500Kv Cap | 39760.4435 | 39760.4678
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39760.4927 | 39760.579
| Nipetown-Reid Bre2 | Bedington-Doubs & One 500Kv Cap | 39760.516 | 39760.521
| Ruth-Turner | Culloden - Wyoming 765Kv Line | 39760.6178 | 39760.6725
| Messicrd-Morgan Wc3 | Bedington Blackoak Line | 39760.6221 | 39760.881
2008-11-09 | 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39761.1319 | 39761.1417
2008-11-10 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39762.0404 | 39762.162
| Ruth-Turner | Culloden - Wyoming 765Kv Line | 39762.0638 | 39762.2147
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39762.1763 | 39762.1853
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39762.724 | 39762.7291
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39762.8258 | 39762.8687
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39762.9835 | 39762.9889
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39762.9923 | 39763.015
2008-11-11 | Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39763.0065 | 39763.4811
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39763.015 | 39763.017
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.017 | 39763.094
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39763.1033 | 39763.2523
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39763.6115 | 39763.7614
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.6571 | 39763.6889
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39763.9149 | 39764.0192
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39763.9408 | 39764.0264
2008-11-12 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39764.02 | 39764.1995
| Ruth-Turner | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 39764.051 | 39764.0778
| Ruth-Turner | Culloden - Wyoming 765Kv Line | 39764.941 | 39764.9482
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39764.9506 | 39765.0013
| Ruth-Turner | Culloden - Wyoming 765Kv Line | 39764.9699 | 39764.9806
2008-11-13 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39765.0985 | 39765.1943
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39765.1201 | 39765.1943
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39765.2091 | 39765.2256
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39765.2427 | 39765.2626
| 156 Cherry 38Tr81 Ct | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39765.4585 | 39765.4701
| 156 Cherry 45Tr81 Ct | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 39765.4602 | 39765.4735
2008-11-14 | Kammer2-Ormet 1 | Tidd Cardinal Unit 1 | 39766.4227 | 39766.4617
| Kammer2-Ormet 1 | Tidd Cardinal Unit 1 | 39766.5089 | 39767.6787
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39766.6088 | 39766.6131
| Crozet -Dooms4 291A | 553 Line: Elmont-Cunningham & Tx#2 | 39766.744 | 39766.7557
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39766.9517 | 39766.9642
2008-11-15 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.0008 | 39767.0421
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.0575 | 39767.0986
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39767.2771 | 39767.3104
| Kammer2-Ormet 1 | Kammer Unit 3 | 39767.6798 | 39767.7343
| Kammer2-Ormet 1 | Kammer Unit 3 | 39767.8086 | 39767.9214
| Kammer2-Ormet 1 | Kammer Unit 3 | 39767.9927 | 39768.2921
2008-11-16 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39768.3326 | 39768.3549
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39768.3744 | 39768.38
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39768.38 | 39768.4194
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39768.4066 | 39768.409
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39768.4431 | 39768.4484
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39768.456 | 39768.4641
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39768.4968 | 39768.6897
| Kammer2-Ormet 1 | Kammer Unit 3 | 39768.5615 | 39768.6494
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39768.7131 | 39768.7185
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39768.983 | 39769.0477
2008-11-17 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39769.0015 | 39769.0059
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39769.031 | 39769.2871
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39769.0421 | 39769.1118
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39769.0482 | 39769.0649
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39769.0828 | 39769.1168
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39769.1515 | 39769.1618
| Grafton4-Leehall 34C | 2024Line: Chickahomny-Lanexa | 39769.6805 | 39769.6971
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39769.7208 | 39769.7222
| Cres Duq T1 Xformer | Crescent (Duq) 345/138 Kv #2 Transformer | 39769.7661 | 39769.7961
| Yorktow4-Grafton4 34D | 2024Line: Chickahomny-Lanexa | 39769.7814 | 39769.8809
2008-11-18 | Yorktow4-Grafton4 34D | 2024Line: Chickahomny-Lanexa | 39770.2505 | 39770.2895
| Yorktow4-Grafton4 34D | 2024Line: Chickahomny-Lanexa | 39770.322 | 39770.3489
| Middlebo-Willowis 84 | Harr Aps-Pruntyto | 39770.6016 | 39770.6022
2008-11-19 | Hami Aps-Weirton 200I | Harr Aps-Pruntyto | 39771.404 | 39771.4879
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39771.4369 | 39771.4645
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39771.5256 | 39771.5262
| 155 Nels-111 Elec 15502 | 345L0621 6_Byron - 156_Cherry 345 Kv (Spog 1-3-F) | 39771.5493 | 39771.5897
| Kammer2 .100 Xformer | Tidd Cardinal Unit 1 | 39771.6413 | 39771.7153
| 155 Nels-111 Elec 15502 | 345L0621 6_Byron - 156_Cherry 345 Kv (Spog 1-3-F) | 39771.6495 | 39771.6732
| Hami Aps-Weirton 200I | Harr Aps-Pruntyto | 39771.6754 | 39771.7723
| 155 Nels-111 Elec 15502 | 345L0621 6_Byron - 156_Cherry 345 Kv (Spog 1-3-F) | 39771.6905 | 39771.7153
| Harr Aps-Pruntyto | Cabot - Wylie Ridge 500 Kv Line | 39771.7003 | 39771.7191
| 6 Byron -156 Cher 0621 | 345L15502 Nelson-Electric Jct 345 Kv Line | 39771.7321 | 39771.7512
| Hami Aps-Weirton 200I | Harr Aps-Pruntyto | 39771.8113 | 39771.8229
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39771.9746 | 39772.0395
2008-11-20 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39772.0516 | 39772.0648
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39772.0627 | 39772.0648
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39772.0962 | 39772.1311
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39772.1084 | 39772.1311
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39772.1533 | 39772.2287
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39772.1624 | 39772.1773
| Kammer2 .100 Xformer | Actual | 39772.6168 | 39772.6529
| Yukon Tran 4 Xformer | Yukon Tran 2 | 39772.6796 | 39772.6834
| Bedingto-Harmojct Bem | Bedington-Doubs & One 500Kv Cap | 39772.7146 | 39772.7183
| Kammer2 .100 Xformer | Kammer Unit 1 | 39772.7164 | 39772.7218
| Yukon Tran 4 Xformer | Yukon Tran 2 | 39772.7336 | 39772.7739
2008-11-21 | Kammer2 .100 Xformer | Actual | 39773.1139 | 39773.1217
| Kammer2 .100 Xformer | Actual | 39773.1407 | 39773.2586
| Yukon Tran 4 Xformer | Yukon Tran 2 | 39773.4822 | 39773.4882
| Kammer2 .100 Xformer | Kammer Unit 1 | 39773.5869 | 39773.589
2008-11-22 | Wylierid 1Tx Xformer | Wylierid 3Tx | 39774.4848 | 39774.4872
| Kammer2 .100 Xformer | Actual | 39774.5461 | 39774.5981
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39774.6296 | 39774.6419
| Kammer2 .100 Xformer | Kammer Unit 2 | 39774.6829 | 39774.6914
| Kammer2 .100 Xformer | Actual | 39774.8567 | 39774.9577
| Kammer2 .100 Xformer | Actual | 39774.9741 | 39775.0088
2008-11-23 | Kammer2 .100 Xformer | Actual | 39775.0169 | 39775.0189
| Kammer2 .100 Xformer | Actual | 39775.0661 | 39775.0952
| Kammer2 .100 Xformer | Kammer Unit 1 | 39775.1229 | 39775.1985
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39775.1255 | 39775.2129
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39775.1355 | 39775.1363
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39775.2442 | 39775.2568
| Kammer2 .100 Xformer | Actual | 39775.2568 | 39775.3424
| Kammer2 .100 Xformer | Actual | 39775.3596 | 39775.589
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39775.449 | 39775.6973
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39775.514 | 39775.515
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39775.5869 | 39775.589
| Kammer2 .100 Xformer | Actual | 39775.607 | 39775.6346
| Kammer2 .100 Xformer | Kammer Unit 1 | 39775.6674 | 39775.6731
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39775.683 | 39775.7281
| Kammer2 .100 Xformer | Actual | 39775.7195 | 39775.7562
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39775.722 | 39775.7396
| Kammer2 .100 Xformer | Actual | 39775.7831 | 39775.9323
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39775.9184 | 39775.9285
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39775.949 | 39776.0298
| Kammer2 .100 Xformer | Kammer Unit 2 | 39775.9491 | 39775.9738
| Kammer2 .100 Xformer | Actual | 39775.9923 | 39776.0119
2008-11-24 | Kammer2 .100 Xformer | Actual | 39776.0119 | 39776.0622
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.0298 | 39776.0445
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39776.0374 | 39776.2566
| Kammer2 .100 Xformer | Actual | 39776.0791 | 39776.1288
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.0847 | 39776.0866
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.1121 | 39776.1549
| Kammer2 .100 Xformer | Actual | 39776.1455 | 39776.1825
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39776.1984 | 39776.221
| Kammer2 .100 Xformer | Kammer Unit 2 | 39776.2031 | 39776.3324
| Crozet -Dooms4 291A | 553 Line: Elmont-Cunningham & Tx#2 | 39776.2519 | 39776.2646
| Crozet -Dooms4 291A | 553 Line: Elmont-Cunningham & Tx#2 | 39776.2825 | 39776.3104
| Kammer2 .100 Xformer | Kammer Unit 1 | 39776.3692 | 39776.4016
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39776.421 | 39776.4562
| Kammer2 .100 Xformer | Kammer Unit 2 | 39776.4239 | 39776.6534
| Butl Aps-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39776.4418 | 39776.4459
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39776.4494 | 39776.4523
| Butl Aps-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39776.5084 | 39776.5421
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.5585 | 39776.6074
| Butl Aps-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39776.5614 | 39776.5935
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.6269 | 39776.6836
| Kammer2 .100 Xformer | Kammer Unit 2 | 39776.6917 | 39776.762
| Kammer2 .100 Xformer | Actual | 39776.8029 | 39776.8082
| Kammer2 .100 Xformer | Actual | 39776.92 | 39776.9386
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.9536 | 39776.9703
| Kammer2 .100 Xformer | Kammer Unit 2 | 39776.9536 | 39777.0035
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39776.9949 | 39777.0177
2008-11-25 | Kammer2 .100 Xformer | Actual | 39777.0126 | 39777.0595
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39777.0212 | 39777.0348
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39777.0546 | 39777.0595
| Butl Aps-Karnscit Kc-Bt | Erie W-Ashtabula-Perry 345Kv Line | 39777.0737 | 39777.1082
| Kammer2 .100 Xformer | Actual | 39777.1062 | 39777.262
| Butl Aps-Karnscit Kc-Bt | Erie W-Ashtabula-Perry 345Kv Line | 39777.1649 | 39777.1748
| Kammer2 .100 Xformer | Actual | 39777.4959 | 39777.599
| Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39777.527 | 39777.5617
| Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39777.5814 | 39777.586
| Kammer2 .100 Xformer | Actual | 39777.6194 | 39777.6516
| Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39777.6618 | 39777.6686
| Kammer2 .100 Xformer | Actual | 39777.6686 | 39777.7421
| Crozet -Dooms4 291A | 550 Line: Mtstorm-Valley | 39777.6726 | 39777.6789
| Krendale-Shanorma Knd-Bt | Cabot - Wylie Ridge 500 Kv Line | 39777.6937 | 39777.7147
| Crozet -Dooms4 291A | 550 Line: Mtstorm-Valley | 39777.6972 | 39777.7353
| Crozet -Dooms4 291A | Meadow Brook - Greenland Gap 500 Kv Line | 39777.7504 | 39777.7672
| Kammer2 .100 Xformer | Actual | 39777.9485 | 39777.9511
2008-11-26 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39778.0012 | 39778.0148
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39778.0691 | 39778.0752
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39778.0713 | 39778.0752
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39778.1064 | 39778.1178
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39778.1091 | 39778.1344
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39778.1367 | 39778.1801
| Kammer2 .100 Xformer | Actual | 39778.1517 | 39778.1581
| Kammer2 .100 Xformer | Actual | 39778.1875 | 39778.2182
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39778.1995 | 39778.2498
| Kammer2 .100 Xformer | Kammer Unit 1 | 39778.2625 | 39778.2669
| Kammer2 .100 Xformer | Kammer Unit 1 | 39778.3759 | 39778.3818
| Millvill-Oldchape Dt2 | Doubs-Mt. Storm 500 Kv Line | 39778.4881 | 39778.7237
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39778.6174 | 39778.6247
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39778.6394 | 39778.6618
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39778.6537 | 39778.7382
| Kammer2 .100 Xformer | Actual | 39778.7244 | 39778.7274
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39778.9116 | 39778.9197
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39778.9617 | 39778.9997
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39778.9763 | 39778.981
2008-11-27 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.0013 | 39779.0556
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.0293 | 39779.0556
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.0503 | 39779.0747
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39779.057 | 39779.1061
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.1012 | 39779.1039
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.1039 | 39779.1061
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39779.1304 | 39779.2394
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.1606 | 39779.1619
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39779.2551 | 39779.2742
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.2742 | 39779.3012
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39779.2946 | 39779.3089
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.3277 | 39779.3547
| Crozet -Dooms4 291A | 553 Line: Elmont-Cunningham & Tx#2 | 39779.3304 | 39779.3323
| Mtstorm-Pruntyto | Bedington Blackoak Line | 39779.3323 | 39779.3547
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.3655 | 39779.3682
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.3782 | 39779.3866
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.3866 | 39779.3942
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.4184 | 39779.4228
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.4548 | 39779.5484
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.4827 | 39779.5727
| Kammer2 .100 Xformer | Actual | 39779.5503 | 39779.5727
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.5583 | 39779.6183
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.5936 | 39779.5967
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.5967 | 39779.6028
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.6141 | 39779.6223
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.6573 | 39779.682
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.6786 | 39779.6939
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39779.6974 | 39779.7458
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.7073 | 39779.7126
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.7126 | 39779.7479
| Kammer2 .100 Xformer | Actual | 39779.7199 | 39779.7216
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.8116 | 39779.8233
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39779.8386 | 39779.9989
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.85 | 39779.8733
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.8956 | 39779.9095
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39779.9616 | 39779.985
2008-11-28 | Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.0077 | 39780.0499
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39780.0245 | 39780.2212
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39780.045 | 39780.1081
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.0661 | 39780.1081
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39780.1292 | 39780.2724
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.1427 | 39780.1534
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.176 | 39780.2212
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39780.2382 | 39780.4079
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.2396 | 39780.2607
| Kammer2 .100 Xformer | Actual | 39780.3746 | 39780.3824
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.4402 | 39780.547
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39780.4479 | 39780.617
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.5995 | 39780.657
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39780.6445 | 39780.7256
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39780.8368 | 39780.9953
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39780.9533 | 39781.002
| Kammer2 .100 Xformer | Actual | 39780.9582 | 39780.9725
2008-11-29 | Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.002 | 39781.0049
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.0127 | 39781.1386
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.0647 | 39781.1074
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39781.0889 | 39781.1074
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line | 39781.1189 | 39781.1538
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39781.1268 | 39781.1538
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.1268 | 39781.1356
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.1583 | 39781.261
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.1768 | 39781.1815
| 66 E Frn-945 Cret 6607 | Dumont Wilton Center 765Kv Line (L11215) | 39781.2086 | 39781.2328
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.21 | 39781.2525
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line | 39781.21 | 39781.2451
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.2671 | 39781.3493
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.3046 | 39781.3156
| Muskingu-Wolfcreek 138 Kv | Kammer-Belmont-Mountaineer 765 Kv Line | 39781.3156 | 39781.3493
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.3422 | 39781.3672
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.378 | 39781.3821
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.5443 | 39781.5451
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.5451 | 39781.5723
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.5615 | 39781.728
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.6092 | 39781.6245
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.6678 | 39781.6745
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.9147 | 39781.9152
| Cloverda-Lexingto 500Kv | Pruntytown-Mt. Storm (510) 500 Kv Line | 39781.9451 | 39781.9711
| Kammer2 .200 Xformer | Belmont-Harrison 500 Kv Line | 39781.9646 | 39781.9711