## MIDATL
Off-Cost Operations - September 2009
Date | Facility | Contingency | Begin Time | End Time
2009-09-01 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40057.282 | 40057.4024
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40057.4234 | 40057.4596
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40057.4979 | 40057.5427
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40057.5666 | 40057.5877
2009-09-02 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.2979 | 40058.4071
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.4292 | 40058.4572
| Gree Bc-Westport 110553 A 115 K | Westport-Greene Street (110554) 115 Kv Line | 40058.4836 | 40058.5125
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.4948 | 40058.6181
| Cedargro-Clif Ps K-2263-3 B 230 K | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 40058.5216 | 40058.525
| Hillsdal-Waldwick F-2258 B 230 K | Actual | 40058.5216 | 40058.535
| Hillsdal-Waldwick F-2258 B 230 K | Actual | 40058.5566 | 40058.593
| Cedargro-Clif Ps K-2263-3 B 230 K | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 40058.5967 | 40058.6717
| Hillsdal-Waldwick F-2258 B 230 K | Actual | 40058.6141 | 40058.6181
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.643 | 40058.6547
| Hillsdal-Waldwick F-2258 B 230 K | Actual | 40058.6637 | 40058.6896
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.6717 | 40058.6789
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.7431 | 40058.7637
| Cedargro-Clif Ps K-2263-3 B 230 K | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 40058.7461 | 40058.7509
| Hillsdal-Waldwick F-2258 B 230 K | Actual | 40058.8074 | 40058.8119
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.8198 | 40058.849
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40058.8694 | 40058.8874
2009-09-03 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40059.2894 | 40059.2912
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40059.3281 | 40059.3711
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40059.3853 | 40059.4402
| Cedargro-Clif Ps K-2263-3 B 230 K | Roseland-Cedar Grove-Clifton-Athenia (B-2228) 230 | 40059.6463 | 40059.7225
2009-09-05 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40061.3727 | 40061.3777
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40061.4108 | 40061.7386
| Cromby Crom6Tr Xformer H 230 K | Limerick-Cromby-Betzwood-Barbados 220-61/63 | 40061.5079 | 40061.5946
| Cromby Crom6Tr Xformer H 230 K | Limerick-Cromby-Betzwood-Barbados 220-61/63 | 40061.6269 | 40061.6371
| Conaston-Ottcrkpl B 230 K | Hunterstown-Conastone (5013) And Cap | 40061.6734 | 40061.6761
| Cuthbert-Gloucest Q-1343 B 138 K | Actual | 40061.7386 | 40061.7416
| Emilie Emil7Tr Xformer L 138 K | Actual | 40061.7386 | 40061.7968
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40061.7968 | 40061.8014
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40061.8036 | 40061.8229
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40061.8849 | 40061.9034
2009-09-06 | Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40062.0601 | 40062.0635
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40062.4516 | 40063.0039
2009-09-07 | Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40063.3286 | 40063.3475
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40063.3772 | 40063.4395
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40063.5077 | 40063.8474
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40063.9253 | 40063.9967
2009-09-08 | Blairsve No.1 Tx Xformer L 115 K | Hatfield Hat-Yuk | 40064.5211 | 40064.527
| Blairsve No.1 Tx Xformer L 115 K | Hatfield Hat-Yuk | 40064.5415 | 40064.6063
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40064.5841 | 40064.5999
| Blairsve No.1 Tx Xformer L 115 K | Keystone-Cabot (5002) 500 Kv Line | 40064.6366 | 40064.6525
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40064.6366 | 40064.6427
| Emilie Emil7Tr Xformer L 138 K | Actual | 40064.6427 | 40064.7013
| Blairsve No.1 Tx Xformer L 115 K | Hatfield Hat-Yuk | 40064.6817 | 40064.8023
| Blairsve No.1 Tx Xformer L 115 K | Keystone-Cabot (5002) 500 Kv Line | 40064.856 | 40064.9017
2009-09-09 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40065.3229 | 40065.3968
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40065.4184 | 40065.4464
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40065.6306 | 40065.6638
| Collins-Middljct 975-1 B 115 K | Hunterstown-Texaseastern-Gardners (991) 115 Kv Lin | 40065.648 | 40065.6638
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40065.6787 | 40065.7921
| Collins-Middljct 975-1 B 115 K | Hunterstown-Texaseastern-Gardners (991) 115 Kv Lin | 40065.6981 | 40065.6991
| Conaston-Ottcrkpl A 230 K | Hunterstown-Conastone (5013) And Cap | 40065.8591 | 40065.8664
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40065.8591 | 40065.8754
2009-09-12 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40068.8694 | 40068.8988
2009-09-13 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40069.7443 | 40069.7727
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40069.7891 | 40069.7924
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40069.81 | 40069.8897
2009-09-14 | Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40070.284 | 40070.6401
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40070.6854 | 40070.9284
| Edison-Meadowrd Q-1317 B 138 K | Sewaren 220-1 230-138 Transformer | 40070.7996 | 40070.8132
2009-09-15 | Mardela-Vienna 6708-3 B 69 K | Piney Grove (At-20) 230/138 Kv Transformer | 40071.3792 | 40071.3809
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40071.414 | 40071.9292
| Mardela-Vienna 6708-3 B 69 K | Piney Grove (At-20) 230/138 Kv Transformer | 40071.414 | 40071.5228
| Edison-Meadowrd Q-1317 A 138 K | Sewaren 220-1 230-138 Transformer | 40071.6451 | 40071.8777
2009-09-16 | Gelnarm-Windyedge2 110512 A 115 K | Graceton-Raphael Road 230 Line | 40072.535 | 40072.7215
| Graceton-Raphaerd 2313 A 230 K | Brighton-Conastone 500Kv | 40072.5784 | 40072.6157
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40072.7411 | 40072.756
| Holmetap-Rich Pe 220-56 B 230 K | Croydon-Burlingtn-Mt Laurel-Coxes Cornr (D-220-30) | 40072.7519 | 40072.8445
| Emilie Emil7Tr Xformer H 230 K | Emilie-Eddington-Croydon 230 Kv Line | 40072.8445 | 40072.8546
2009-09-18 | Redoaka-Sayrevil A 230 K | Actual | 40074.4806 | 40074.5057
2009-09-23 | Cedargro-Clif Ps K-2263-3 B 230 K | Roseland 220-3 230-138 Transformer | 40079.3404 | 40079.376
| Cedargro-Clif Ps K-2263-3 B 230 K | Roseland 220-3 230-138 Transformer | 40079.446 | 40079.5114
| Cedargro-Clif Ps K-2263-3 A 230 K | Roseland 220-3 230-138 Transformer And 2228 Line | 40079.5114 | 40079.5756
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.5236 | 40079.5351
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.6267 | 40079.6652
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.7027 | 40079.7069
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.7286 | 40079.7751
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.7935 | 40079.822
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.847 | 40079.8663
| Emilie-Falls 130-20 A 138 K | Camden-Richmond (C-220-29) 230 Kv Line | 40079.8823 | 40079.9052
2009-09-25 | Dickersh-Dickerso 23103 A 230 K | Doubs-Pleasant View (543) 500 Kv Line | 40081.2729 | 40081.2768
2009-09-26 | Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40082.8085 | 40082.8525
2009-09-28 | Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40084.5048 | 40084.8071
2009-09-29 | Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40085.5578 | 40085.6473
| Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40085.6647 | 40085.6816
| Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40085.7098 | 40085.714
| Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40085.7413 | 40085.7499
| Lewistow-Raystown Rl 2027 A 230 K | Keystone-Shelocta-Homer City 230 | 40085.8282 | 40085.8299

## WEST
Off-Cost Operations - September 2009
Date | Facility | Contingency | Begin Time | End Time
2009-09-01 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40057.2064 | 40057.2185
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40057.3614 | 40057.4495
| Wolfcree T2 Xformer L 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40057.685 | 40057.714
| Wolfcree T2 Xformer L 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40057.7305 | 40057.7383
| Wolfcree T2 Xformer L 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40057.7593 | 40057.7664
| Wolfcree T2 Xformer L 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40057.7922 | 40057.8415
2009-09-02 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40058.2198 | 40058.237
| Miami-09Northr A 138 K | Greene 345-138Kv Xf #1 North Bus | 40058.593 | 40058.5967
| Trenton2-Collinsv A 138 K | Miami-West Milton-Miami Ft 345Kv Line | 40058.593 | 40058.5985
2009-09-03 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40059.008 | 40059.0324
| 155 Nels-111 Elec 15502 A 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40059.0155 | 40059.0324
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40059.2261 | 40059.2333
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40059.2629 | 40059.2749
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40059.3277 | 40059.3505
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40059.3693 | 40059.4018
| Carbond2-Kanawhar B 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40059.5416 | 40059.663
| Leesvill-Altavist A 138 K | Edanville - Smithmou 138 Kv Line & Dvp Load | 40059.6787 | 40059.6859
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40059.9431 | 40059.9917
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40059.9511 | 40060.0092
| 155 Nels-111 Elec 15502 B 345 K | 345L15616 Cherry Valley-Silver Lake 345 Kv Line | 40059.9945 | 40060.0092
2009-09-04 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40060.037 | 40060.0864
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40060.128 | 40060.1461
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40060.241 | 40060.2926
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40060.332 | 40060.3849
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40060.3532 | 40060.402
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40060.4462 | 40060.4522
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40060.4792 | 40060.4918
| Carbond2-Kanawhar B 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40060.6681 | 40060.6733
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40060.9602 | 40061.007
2009-09-05 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40061.3429 | 40061.4108
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40061.4331 | 40061.4377
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40061.9455 | 40062.0007
2009-09-06 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40062.9334 | 40062.9467
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40062.9798 | 40062.992
2009-09-07 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40063.3655 | 40063.374
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40063.4253 | 40063.4493
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40063.9657 | 40063.9978
2009-09-08 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.0031 | 40064.0186
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.0784 | 40064.0913
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.2267 | 40064.2317
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.2593 | 40064.2687
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.3032 | 40064.3489
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.3774 | 40064.4115
| Cres Duq T1 Xformer H 345 K | Crescent (Duq) 345/138 Kv #2 Transformer | 40064.4957 | 40064.5097
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.9357 | 40064.9388
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.9559 | 40064.9777
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40064.993 | 40065.0043
2009-09-09 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40065.0122 | 40065.0246
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40065.0445 | 40065.0527
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40065.2221 | 40065.239
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40065.2641 | 40065.2725
| Carbond2-Kanawhar B 138 K | Kammer-Belmont-Mountaineer 765 Kv Line | 40065.4747 | 40065.556
| Cabot Tran 1 Xformer H 500 K | ___Cabot 500/138 #2 & #4 | 40065.5701 | 40065.7181
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40065.9997 | 40066.0097
2009-09-10 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40066.0208 | 40066.0264
2009-09-13 | Bedingto-Shepherds Bmvi B 138 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40069.5852 | 40069.6122
| Bedingto-Shepherds Bmvi B 138 K | Pruntytown-Mt. Storm (510) 500 Kv Line | 40069.6267 | 40069.6335
2009-09-14 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40070.2378 | 40070.2448
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40070.372 | 40070.3774
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40070.3934 | 40070.4063
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.422 | 40070.4986
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40070.4299 | 40070.4808
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.5155 | 40070.5177
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40070.5155 | 40070.5448
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40070.5653 | 40070.6643
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.5928 | 40070.5958
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40070.6854 | 40070.8118
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.739 | 40070.7436
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.7606 | 40070.8118
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40070.8402 | 40070.8644
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40070.8881 | 40070.9508
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.8914 | 40070.8975
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40070.9169 | 40071.0439
2009-09-15 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40071.271 | 40071.293
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40071.344 | 40071.3573
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40071.4081 | 40071.4156
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & One 500Kv Cap | 40071.4081 | 40071.5064
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40071.4353 | 40071.4362
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40071.4683 | 40071.5572
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40071.4983 | 40071.499
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40071.5194 | 40071.5289
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40071.5588 | 40071.5813
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40071.5813 | 40071.5967
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40071.5967 | 40071.6631
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & One 500Kv Cap | 40071.6111 | 40071.8932
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40071.6286 | 40071.6406
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40071.6631 | 40071.6717
2009-09-16 | Cloverd2 . 6A Xformer H 500 K | Sps Bath #3 & Pruntytown-Mtstorm | 40072.0565 | 40072.0572
| Cloverda-Lexingto 500Kv A 500 K | Sps Bath #3 & Pruntytown-Mtstorm | 40072.0565 | 40072.1173
| Cloverda-Lexingto 500Kv A 500 K | Sps Bath #3 & Pruntytown-Mtstorm | 40072.1792 | 40072.2369
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40072.2506 | 40072.2521
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40072.2606 | 40072.2663
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40072.2935 | 40072.4787
| Bedingto Tran 3 Xformer H 500 K | Bedington-Doubs & One 500Kv Cap | 40072.3013 | 40072.44
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40072.3097 | 40072.4149
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40072.435 | 40072.4569
| Bedingto Tran 3 Xformer H 500 K | Bedington-Doubs & One 500Kv Cap | 40072.4596 | 40072.8759
| 107 Dixo-176 Stil 15621 2 A 138 K | 06 Byron U2 | 40072.4778 | 40072.4797
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40072.7411 | 40073.0044
| Belmont Tran 3 Xformer H 500 K | ___Belmont 500/138 #1 & #2 | 40072.7719 | 40072.806
| Bedingto Tran 3 Xformer H 500 K | Bedington-Doubs & One 500Kv Cap | 40072.895 | 40072.8959
2009-09-17 | Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40073.0163 | 40073.0186
| Elrama-Mitchell Z-11 A 138 K | Cabot - Wylie Ridge 500 Kv Line | 40073.2054 | 40073.4898
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40073.2217 | 40073.2267
| Belmont Tran 3 Xformer H 500 K | ___Belmont 500/138 #1 & #2 | 40073.6332 | 40073.6886
| Belmont Tran 3 Xformer H 500 K | ___Belmont 500/138 #1 & #2 | 40073.7036 | 40073.7425
| Belmont Tran 3 Xformer H 500 K | ___Belmont 500/138 #1 & #2 | 40073.7873 | 40073.865
2009-09-18 | Belmont Tran 3 Xformer H 500 K | ___Belmont 500/138 #1 & #2 | 40074.5595 | 40074.581
| Belmont Tran 3 Xformer H 500 K | ___Belmont 500/138 #1 & #2 | 40074.6106 | 40074.67
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40074.8961 | 40074.9244
2009-09-19 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40075.0476 | 40075.0502
| 66 E Frn-945 Cret 6607 A 345 K | Dbl: Dumont-Wilton & E. Frankfort-Up North | 40075.4447 | 40075.4563
2009-09-20 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40076.4966 | 40076.5095
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40076.5863 | 40076.6001
2009-09-21 | 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40077.3075 | 40077.3235
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40077.3771 | 40077.3797
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40077.3979 | 40077.4222
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40077.5352 | 40077.8403
| Crozet -Dooms4 291A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40077.5977 | 40077.6209
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40077.6441 | 40077.737
| Crozet -Dooms4 291A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40077.7101 | 40077.7463
| Hollymtp-Charltsv 2054A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40077.7173 | 40077.7552
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40077.7694 | 40077.7702
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40077.7946 | 40077.797
| Hollymtp-Charltsv 2054A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40077.7984 | 40077.848
| Crozet -Dooms4 291A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40077.7998 | 40077.8403
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40077.9317 | 40078.0017
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40077.9534 | 40077.9652
2009-09-22 | Cloverda-Lexingto 500Kv A 500 K | Actual | 40078.0133 | 40078.0334
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40078.056 | 40078.0612
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40078.2695 | 40078.2754
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.3113 | 40078.3463
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40078.3252 | 40078.3625
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40078.3279 | 40078.3296
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40078.3919 | 40078.4243
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.4014 | 40078.5745
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40078.4171 | 40078.5333
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40078.4292 | 40078.4332
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40078.4714 | 40078.5974
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40078.4796 | 40078.5196
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40078.5138 | 40078.5196
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.5974 | 40078.6374
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40078.6133 | 40078.6411
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.6707 | 40078.6887
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.7036 | 40078.7053
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.7228 | 40078.9198
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40078.7266 | 40078.7325
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40078.7266 | 40078.7325
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40078.7565 | 40078.7932
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40078.7685 | 40078.8474
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40078.7932 | 40078.7941
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & One 500Kv Cap | 40078.8062 | 40078.8659
| Hollymtp-Charltsv 2054A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40078.8062 | 40078.8474
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40078.8214 | 40078.8232
| Crozet -Dooms4 291A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40078.825 | 40078.8416
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40078.89 | 40078.9354
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40078.8979 | 40078.9354
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40078.9324 | 40078.9588
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40078.9341 | 40078.9354
| Ruth-Turner B 138 K | Culloden - Wyoming 765Kv Line | 40078.9691 | 40078.9893
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40078.9779 | 40078.9816
2009-09-23 | Cloverda-Lexingto 500Kv A 500 K | Actual | 40079.0067 | 40079.0419
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40079.0211 | 40079.0238
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40079.0396 | 40079.0468
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40079.0691 | 40079.0703
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40079.0865 | 40079.0875
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40079.0888 | 40079.1019
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40079.1446 | 40079.1958
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40079.1755 | 40079.2453
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40079.2644 | 40080.9911
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & One 500Kv Cap | 40079.4211 | 40079.464
| Carbonce-Elko Cacj-Elk B 138 K | Elko #1 230/138Kv Transformer | 40079.4971 | 40079.5018
| Ruth-Turner B 138 K | Kanawha River T-B 345/138Kv Xf (Sectionalized) | 40079.4971 | 40079.5975
| Carbonce-Elko Cacj-Elk B 138 K | Elko #1 230/138Kv Transformer | 40079.5248 | 40079.6405
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40079.5339 | 40079.6405
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40079.5367 | 40079.7768
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.5406 | 40079.6296
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40079.5583 | 40079.5803
| Crozet -Dooms4 291A B 230 K | 553 Line: Elmont-Cunningham & Tx#2 | 40079.5583 | 40079.6405
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40079.5975 | 40079.9508
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.5975 | 40079.6247
| Cloverd2-Ivyhill A 138 K | Cloverdale Joshua Falls 765Kv Line | 40079.6405 | 40079.6445
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.6525 | 40079.6562
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.6525 | 40079.6562
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.6721 | 40079.6765
| Carbonce-Elko Cacj-Elk B 138 K | Elko #1 230/138Kv Transformer | 40079.696 | 40079.7372
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.7105 | 40079.7115
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40079.7105 | 40079.7115
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.7105 | 40079.7115
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40079.7286 | 40079.7453
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.7401 | 40079.7751
| Carbonce-Elko Cacj-Elk B 138 K | Elko #1 230/138Kv Transformer | 40079.7563 | 40079.7565
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.7563 | 40079.7643
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40079.7665 | 40079.7864
| Middlebo-Willowis 84 B 138 K | Harr Aps-Pruntyto | 40079.7985 | 40079.9052
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.8119 | 40079.8144
| Tiltonsville-Windsor Aps A 138 K | Harr Aps-Pruntyto | 40079.847 | 40079.8876
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.9108 | 40079.9234
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.9385 | 40079.939
| Danville-Edanvill A 138 K | Cloverdale-Lexingtn (566) 500Kv Line & Lexgtn Tx#3 | 40079.9598 | 40079.9721
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40079.9668 | 40080.0032
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40079.9747 | 40079.9838
| Danville-Edanvill A 138 K | Cloverdale-Lexingtn (566) 500Kv Line & Lexgtn Tx#3 | 40079.9951 | 40080.0011
2009-09-24 | Cloverda-Lexingto 500Kv A 500 K | Actual | 40080.0209 | 40080.0664
| Danville-Edanvill A 138 K | Cloverdale-Lexingtn (566) 500Kv Line & Lexgtn Tx#3 | 40080.0615 | 40080.0782
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40080.263 | 40080.2651
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.3923 | 40080.428
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40080.4593 | 40080.5594
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.4647 | 40080.4928
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.5134 | 40080.5983
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40080.6085 | 40080.6106
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.6396 | 40080.7033
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40080.6396 | 40080.6479
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40080.6547 | 40080.6572
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40080.6939 | 40080.7152
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.7199 | 40080.7767
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40080.7278 | 40080.7457
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40080.7278 | 40080.7299
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40080.7622 | 40080.8194
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.7973 | 40080.8194
| Kerrdam -Beechdp 22C A 115 K | 90 Line: Carolina-Kerr Dam | 40080.7985 | 40080.8436
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40080.8041 | 40080.8436
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40080.8333 | 40080.8851
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40080.8436 | 40080.8629
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40080.8851 | 40080.9026
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40080.9517 | 40081.0212
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40080.9982 | 40081.0056
2009-09-25 | Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40081.0212 | 40081.2625
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.0232 | 40081.1383
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.1547 | 40081.1597
| Cloverda-Lexingto 500Kv A 500 K | Actual | 40081.2372 | 40081.2382
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.2469 | 40081.3027
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40081.299 | 40081.5909
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40081.4492 | 40081.4643
| 12 Dresd-900 Elwo 1222 A 345 K | 345L1223T Dres-Elect Jct & Dres Tr83 | 40081.5034 | 40081.5058
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.5126 | 40081.5137
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.5337 | 40081.5678
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.5827 | 40081.5842
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40081.6026 | 40081.7616
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40081.6107 | 40081.695
| Bedingto Tran 1 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40081.6332 | 40081.6362
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40081.7113 | 40081.967
2009-09-26 | Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40082.0122 | 40082.0219
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40082.3399 | 40082.3642
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40082.3701 | 40082.4971
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40082.9426 | 40083.0189
2009-09-27 | Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.0109 | 40083.0189
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.0782 | 40083.1315
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.1821 | 40083.1912
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.2491 | 40083.2922
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.3461 | 40083.3748
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40083.3461 | 40083.3804
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.3804 | 40083.4649
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40083.4503 | 40083.5014
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.4958 | 40083.6494
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40083.5443 | 40083.5478
| Garrett Tran 2 Xformer H 138 K | Keystone-Shelocta-Homer City 230 | 40083.5608 | 40083.7609
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.6784 | 40083.8091
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.6874 | 40083.7093
| Garrett Tran 2 Xformer H 138 K | Keystone-Shelocta-Homer City 230 | 40083.7937 | 40083.86
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.819 | 40083.8451
| Garrett Tran 2 Xformer H 138 K | Keystone-Shelocta-Homer City 230 | 40083.8777 | 40083.8801
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.8881 | 40083.9503
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.9161 | 40083.9393
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.9587 | 40083.9603
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.9729 | 40084.0073
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40083.9776 | 40083.9927
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40083.9807 | 40084.0073
2009-09-28 | 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.0192 | 40084.0886
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.1152 | 40084.3154
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40084.2252 | 40084.3037
| Cheswick-Springda Z-58 B 138 K | Harr Aps-Pruntyto | 40084.3416 | 40084.3765
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40084.3416 | 40084.3883
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.3546 | 40084.3883
| 12204 -141 Plea 12204 2 B 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.4307 | 40084.4624
| Cheswick-Springda Z-58 B 138 K | Cabot - Wylie Ridge 500 Kv Line | 40084.4307 | 40084.4539
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40084.4307 | 40084.4359
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40084.528 | 40084.8246
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40084.6683 | 40084.7574
| Bedingto Tran 3 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40084.6828 | 40084.7369
| Cheswick-Springda Z-58 B 138 K | Harr Aps-Pruntyto | 40084.7253 | 40084.7258
| Bedingto Tran 3 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40084.7555 | 40084.7583
| Danville-Edanvill B 138 K | Jacksons Ferry Antioch(Duke) 500Kv Line | 40084.7864 | 40084.7872
| Cheswick-Springda Z-58 B 138 K | Harr Aps-Pruntyto | 40084.7989 | 40084.8099
| Bedingto Tran 3 Xformer L 138 K | Bedington-Doubs & Both 500Kv Caps | 40084.8017 | 40084.8212
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40084.8641 | 40084.9678
| Cheswick-Springda Z-58 B 138 K | Harr Aps-Pruntyto | 40084.9166 | 40084.9252
| Cheswick-Springda Z-58 B 138 K | Harr Aps-Pruntyto | 40084.9485 | 40084.9623
2009-09-29 | Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40085.3545 | 40085.3792
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40085.5145 | 40085.5867
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40085.6175 | 40085.8287
2009-09-30 | 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40086.0487 | 40086.0742
| 66 E Frn-945 Cret 6607 A 345 K | Dumont Wilton Center 765Kv Line (L11215) | 40086.217 | 40086.2925
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40086.3519 | 40086.4279
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40086.4451 | 40086.6108
| Elrama-Mitchell Z-11 A 138 K | Harr Aps-Pruntyto | 40086.6379 | 40086.8262

## RTO
Off-Cost Operations - September 2009
Date | Facility | Contingency | Begin Time | End Time
2009-09-01 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40057.3351 | 40057.7751
| Marquis2-Waverly2 Mar-Wav A 138 K | Actual | 40057.7074 | 40057.7091
| Marquis2-Waverly2 Mar-Wav A 138 K | Actual | 40057.7305 | 40057.7352
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40057.7922 | 40057.8566
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40057.8828 | 40057.887
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40057.9741 | 40057.9785
2009-09-02 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40058.2198 | 40058.237
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40058.2681 | 40058.4994
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40058.5142 | 40058.7167
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40058.7369 | 40058.7431
2009-09-03 | Breed-Wheatlna Tie B 345 K | Jefferson Rockport 765Kv Line | 40059.3691 | 40059.3789
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont-Harrison 500 Kv Line | 40059.4674 | 40059.4783
2009-09-04 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40060.3432 | 40060.3935
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40060.4193 | 40060.9684
2009-09-05 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40061.4056 | 40061.4101
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40061.4408 | 40061.4441
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40061.4595 | 40061.4615
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40061.7238 | 40061.7292
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40061.76 | 40061.7681
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40061.8314 | 40061.8457
2009-09-06 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40062.4671 | 40062.5321
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40062.5546 | 40062.5679
2009-09-08 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40064.8272 | 40064.8292
| 22 Zion -Pleas Pr 2221 Tie B 345 K | Actual | 40064.9359 | 40064.9638
2009-09-09 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40065.3564 | 40065.41
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40065.4764 | 40065.5193
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40065.8044 | 40065.806
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40065.928 | 40065.9479
2009-09-10 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40066.3276 | 40066.375
2009-09-12 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40068.3465 | 40068.3847
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40068.4054 | 40068.4125
2009-09-13 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.2473 | 40069.2519
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.3278 | 40069.3675
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.3869 | 40069.3907
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.4078 | 40069.5728
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.5884 | 40069.5938
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.6335 | 40069.6346
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.9469 | 40069.9746
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40069.9923 | 40070.0011
2009-09-14 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40070.0074 | 40070.0517
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40070.3498 | 40070.3569
| Ewindsor-Wind Jc F2006 A 230 K | Smithburg-East Windsor (E-2005) 230 Kv Line | 40070.5989 | 40070.7053
2009-09-16 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40072.2382 | 40072.2506
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40072.2587 | 40072.2606
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40072.3154 | 40072.3187
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40072.3713 | 40072.3972
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40072.4129 | 40072.492
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40072.5508 | 40072.5535
2009-09-17 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40073.2231 | 40073.2247
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40073.2463 | 40073.2583
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40073.8132 | 40073.817
2009-09-18 | Kammer2 .200 Xfmr (Irol) H 765 K | Hope Creek 1 Gen Unit | 40074.6376 | 40074.7134
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont-Harrison 500 Kv Line | 40074.7704 | 40074.8255
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont-Harrison 500 Kv Line | 40074.8576 | 40075.0282
2009-09-19 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont-Harrison 500 Kv Line | 40075.0549 | 40075.0844
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40075.3611 | 40075.4131
2009-09-20 | Kammer2 .200 Xfmr (Irol) H 765 K | Belmont 765/500Kv Xf (Sectionalized) | 40076.4061 | 40076.7339
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont-Harrison 500 Kv Line | 40076.7508 | 40076.8063
| Kammer2 .200 Xfmr (Irol) H 765 K | Belmont-Harrison 500 Kv Line | 40076.8707 | 40076.9125
2009-09-22 | Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40078.3347 | 40078.3463
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40078.5114 | 40078.5138
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40078.9154 | 40078.9665
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40078.9874 | 40079.0053
2009-09-23 | Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40079.0306 | 40079.0363
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40079.2436 | 40079.2828
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40079.3107 | 40079.3138
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40079.3343 | 40079.3473
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40079.3343 | 40079.3404
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40079.3788 | 40079.3811
| Transfer Interface: Aep/Dom | Cloverdale 765-345Kv Xf Failed Sectionalize | 40079.4081 | 40079.426
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40079.5351 | 40079.5628
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40079.5783 | 40079.6192
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40079.6765 | 40079.7401
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40079.7563 | 40079.7575
2009-09-24 | Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40080.4901 | 40080.794
| Mtstorm4 55472 Breaker B 500 K | Bedington Blackoak Line | 40080.8299 | 40080.8436
2009-09-25 | Transfer Interface: West | Hunterstown-Conastone (5013) And Cap | 40081.6385 | 40081.6687
| Transfer Interface: West | Hunterstown-Conastone (5013) And Cap | 40081.6882 | 40081.695
| Transfer Interface: West | Hunterstown-Conastone (5013) And Cap | 40081.7336 | 40081.7428
2009-09-26 | 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40082.9486 | 40083.0189
2009-09-27 | 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.0201 | 40083.0207
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.095 | 40083.1315
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.3461 | 40083.3771
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.4886 | 40083.7148
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40083.5311 | 40083.5375
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40083.5808 | 40083.5858
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40083.6034 | 40083.646
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40083.6898 | 40083.6978
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.7433 | 40083.7609
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40083.77 | 40083.771
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.7759 | 40083.7796
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40083.7867 | 40083.819
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.819 | 40083.8451
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40083.872 | 40084.0073
2009-09-28 | 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.0192 | 40084.0886
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.1152 | 40084.1198
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.1442 | 40084.3154
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.3416 | 40084.3883
| 113 Waterma 38L11323 Z1 A 138 K | 345L15502 Nelson-Electric Jct 345 Kv Line | 40084.4307 | 40084.4624
| Arsenal -High Duq Ars-Hig9 A 138 K | Arsenal 345/138 Kv T1 Xfmr | 40084.4359 | 40084.4624
| Arsenal -High Duq Ars-Hig9 A 138 K | Arsenal 345/138 Kv T1 Xfmr | 40084.6548 | 40084.6736
| Arsenal -High Duq Ars-Hig9 A 138 K | Arsenal 345/138 Kv T1 Xfmr | 40084.6989 | 40084.7534
| Bramblet-Pleasntv 201A1 B 230 K | 274 Line: Beaumeade - Pleasantv | 40084.6989 | 40084.7583
| Clrksjct-Lardin Cla-Lar A 138 K | Harr Aps-Pruntyto | 40084.8145 | 40084.8156